## Arabsiyo TVET Centre
Annex A.1 Technical Bid
DRC to complete |  |  |  | Bidder to complete
# | Item/Milestone Required | Specification | Quantity required | Item/Milestone offered (name make and model with full specification) | Country of Origin | Quantity offered
1 | Civil Works | Cement - (Specify the Brand of Cement to be used) | Several
2 | Civil Works | Y 14 Steel Rods | Several
3 | Civil Works | Y 12 Steel Rods | Several
3 | Civil Works | Y 10 Steel Rods | Several
4 | Civil Works | Y 8 Steel Rods | Several
4.7 | Pipe Works | G. I. Pipe - (Specify the Brand of Pipe to be used) | Several
5.4 | Civil Works | 5x200mm timber fascia boards | Several
6.1 | Civil Works | 60mmx60mm alluminium ceiling tiles | Several
6.8 | Civil Works | Sliding aluminium window measuring 1500mm high and 1500mm wide, complete with tinted glass and aluminium mosquito net with wire net. | Several
7.5 | Civil Works | Metalic Membrane Double Doors of 2100mm high and 1500mm wide with a complete frame of having hinges and latches | Several
8.2 | Civil Works | Pravesh membrane single doors of 2100mm high and 0.8mm wide with a complete frame of having hinges and latches. | Several
8.9 | Civil Works | Ceramic Ground tiles (60cm*60cm)- anti slipery. | Several
9.6 | Civil Works | Ceramic Ground tiles (30cm*30cm)- anti slipery. | Several
10.3 | Civil Works | Locally made interlock tiles | Several
11 | Civil Works | GI Carrogated iron sheet #28 Guage | Several
11.7 | Pipe Works | GI Pipe Class C | Several
12.4 | Pipe Works | Iron Pipe 3" | Several
13.1 | Pipe Works | High pressure PVC pipe 1.5" | Several
13.8 | Pipe Works | Ventilation pvc 3 inch and 3m long pipe | Several
14.5 | Pipe Works | Ceramic Arabic seats for toilets with fettings. | Several
15.2 | Pipe Works | Ceramic Hand washing facility with soap holder and reflection miror | Several
15.9 | Tank | 10,000 liters (50 barrels) Fiberglass water tank, complete with medium– pressure ball valve inlet, drain cock and all other connections including ball valve and float outlet. | Several
16.6 | Electrict Works | Electric trucker | Several
17.3 | Electrict Works | 10 Watts Lamps | Several
18 | Electrict Works | 25mm electeric conduits | Several
18.7 | Electrict Works | Electrict Cables | Several
19.4 | Electrict Works | Light switches (1 gang, 1 way) | Several
20.1 | Electrict Works | Electrical sockets (13A 2-GANG DP SWITCHED PLUG SOCKET WHITE ) | Several
20.8 | Electrict Works | Ceiling fans with controlers, holders and accessories. | Several
DRC to complete |  |  |  | Bidder to complete
Delivery time required (days after PO signature): |  | 90 Days |  | Delivery time offered (days after PO signature):
Delivery Terms required (Add Incoterm if necessary): |  | DDP (Incoterms 2020) |  | Delivery Terms offered (must include incoterm):
Delivery Destination required: |  | Arabsiyo town |  | Delivery Destination offered:
Minimum bid validity period required: |  | 60 days |  | Bid validity period offfered:
Additional comments to bidders: |  |  |  | Company Name:
Contact Person:
|  |  |  | Address: | Phone number:
|  |  |  | Email Address: | Date:
Signed by a duly authorized company representative:
Title:
Print Name:
Stamp of company