Request for Proposal

FEASIBILITY STUDY,

design and SUPERVISION OF Surface water dams Consultancy

terms of reference

February 2025

INTRODUCTION

Somali landmass is considered as arid semiarid with variable climate, where both average temperature and evaporation remain very high; 300C and 2000mm respectively while the average annual rainfall is 350mm. Moreover, it is considered primarily semi-desert, under this picture, the community living in this kind of intricate environment faces difficulties in livelihood in the continuity of existence without water.

Water is one of the natural resources endowed with the world. Water remains the backbone for the socio-economies development of a community. Furthermore, water is life for every person, and has a right to get clean and safe drinking water. For these reasons, the policy of the QC is to ensure the basic rights of every person by solving the water problems and crisis caused by climate change through close coordination with national and state level actors.

Qatar Charity as an international organization working in Somalia since 2007, aims to establish, rehabilitate, and develop sustained water infrastructure and improve accessibility for both rural villages and pastoralists and Agro-pastoralists to make water supply reliable, clean, and safe. To achieve the goal, QC intends to desing and implement number of dams in the areas where there is a possibility of rainwater harvesting, which can supply sufficient and sustainable water in rural areas by partially harvesting an estimated volume (more than 220 M m3) of rain-flood water that ends up seasonally into the Indian Ocean.  We believe that this initiative would relieve the targeted communities from the harsh livelihood when rainfall delays. Undertaking and establishing these water infrastructure systems would suffice and sustain water demand for both livestock and irrigation for agriculture to produce daily cash crops in the selected sites. Environmental rehabilitation will be part of the water infrastructure systems because without maintaining the environment surrounding water supply systems, the livelihood would not be sustainable.

PURPOSE OF THE CONSULTANCY

The objective of the consultancy is to undertake a feasibility study of two large dams. The objectives also include complementing the knowledge, setting up a feasibility study for dams and providing detailed plans to develop water-related infrastructure for socio-economic development including environmental and social safeguards risks and mitigation measures.

Specifically the Consultant will:

- Caryy out field and desk assesment and conduct hydrological and hydroegeological  surveys, design water infrastructure (including developing BOQs) and

- Provide technical backstopping and  supervision for constrcution works of two dams in Lower Juba of Jubaland and Sanaag region of Somaliland.

SCOPE OF WORK

The consultant will work closely with the government officials particularly ministfy of water, water sector actors, community leaders and members in the two project sites to undertake the following tasks:

- Background desk study of available literature

Acquire and synthesis background information including the design reports of existing infrastructure, hydrogeology for the purpose of improving the quality of assessment and preparing comprehensive assessment, hydro-geological and design reports

- Field Assessment and Design of Surface Dam:

- Topographical survey of the site and the catchment area with clear delineation of the catchment area;

- Geology and soil investigation of the site;

- Collection of meteorological and hydrological data that include rainfall, temperature, evapotranspiration,

- Determining of the number of users (livestock/human population);

- Determining the type of use (livestock or domestic) and quantity required;

- Carrying out environmental and social impact assessments including mitigation measures;

- Establishment of management committee; and

- Identification of training needs for the management committee and operators

- Detailed design of the dams for each site

- Develop BOQs and tendering documents for each sites

Construction Backstoping Supervision

- Provision of an effective and efficient supervisory support to the appointed contractors as per established norm/standards.

  - Maintain physical presence at the site: The supervisor is to maintain a constant physical presence at all times with the contractor’s field staff.

  - Day to day supervision of the appointed contractor(s) in the field and accountable for the provision of technical, operational guidance, payment schedules for contracts works, and completion reports.

- Ensure that the construction works is done according to established standards and contracts.

  - Conduct Quality assurance of work done by providing oversight and ensure standards and norms are adhered to during construction works.

  - Liaison with contracted construction team / management to define and agree the contract objectives.

  - Ensure that construction work is done as per specifications

TIMEFRAME AND DELIVERABLES

The timeframes and deliverables are as follows:

| No. | Deliverables | Time | Proposal and Schedule of Payments |
| --- | --- | --- | --- |
| 1 | Inception Report which includes a proposal of methodologies and detailed work plan | 20 days after signing of the contract | 20% after acceptance and adoption of the inception report |
| 2 | Submission of Final report on - Field surveys and assessment report of chosen sites for dam construction -Preliminary Design report of the two dams -BoQ and documentation for tendering of design/civil/renovation works (includes presentation of the reports) | 90 days after inception report | 30% after acceptance of the assessment, Hydrological report and BoQ and documentation for tendering |
| 3 | Submission of Final report on - Field surveys and assessment report of chosen sites for dam construction -Final Design report of the two dams -Final BoQ and documentation for tendering of design/civil/renovation works | 20 days after receiving comments on the draft Hydrological report and BoQ and documentation for tendering report | 50% after submission and approval of final report. |

Total assignment Duration will be 4 months and 10 days of which potential contractor will be required to present final report.

EVALUATION OF EXPRESSION OF INTEREST

Each criterion shall be marked on a scale of 100. Then the marks shall be weighted to become scores. The following weights are indicative. The figures to be used shall fit the specific assignment and shall be within the percentage indicated below.

| Criterion | Scores |
| --- | --- |
| Lead Consultant experience | 25 |
| Hydrologist | 20 |
| Geotechnical Engineer | 15 |
| Methodology | 30 |
| Transfer of knowledge | 10 |
| Totals | 100 |

Consultants’ specification requirements, qualifications, experiences and skills

The consultancy firm must be registered and licensed in the country of work, with demonstrated experience of at least seven (7) years in the water sector, especially in hydro-geological surveys, of dams and other water harvesting/storage infrastructure assessment and development in rural areas of developing countries particularly in Somalia. In addition, it should have in its team the following expertise with similar years of experience:

Lead Consultant

- Bachelor’s degree in water resources or Environment Engineering or related degree and advanced degree will be an added advantage

- The consultant should have at least 8 years of progressively responsible professional experience in the area of water resource management, design of water resources infrastructure and management of interventions in complex environments.

- Relevance of experience in managing consultancy on hydrological assessments and infrastructure design in the region and monitoring and timely delivery of assignments;

- Proven experience in partnership management, including the establishment of new networks;

- Experience in collection and analysis of information, data and statistics for the production of technical documents and reports to meet fast-paced consultancy deadlines.

- Experience in working in Somalia

- Knowledge of Somali language

Hydrologist

- Bachelor’s degree in Civil, Hydrology, Water resources, Environment or related degree and an advanced degree will be an added advantage

- The consultant should have at least 7-year experience in water engineering, implementing hydrologist surveys, including development of surface water dams and other water harvesting/storage projects in the region;

- Experience in development of terms of references, BoQ, and documentation for tendering of design/civil/renovation works is essential;

- Proficiency in relevant computer software such as surface water modelling, MS Excel, Word, GIS is an advantage;

- Experience in remote sensing for water resource engineering is an added advantage;

- Ability work in a challenging environment and analyse and solve technical/mechanical problems in a timely manner;

- Proven experience on preparation of written technical reports in an accurate and concise manner, and public presentation skills;

- Good knowledge of the language cultural, geographic and rural political context of Somalia is essential;

- Experience in the various project locations and entity registrations required.

Geotechnical Engineer

- Bachelor’s degree in Civil, Geotechnical, Engineering Geology or related degree, an advanced degree will be an added advantage

- The consultant should have at least 7-year experience in water engineering, implementing geotechnical design, including development of surface water dams and other water harvesting/storage projects in the region;

- Experience in development of terms of references, BoQ, and documentation for tendering of design/civil/renovation works is essential;

- Experience in remote sensing for water resource engineering is an added advantage;

- Ability work in a challenging environment and analyse and solve geotechnical problems in a timely manner;

- Proven experience on preparation of written technical reports in an accurate and concise manner, and public presentation skills;

- Good knowledge of the cultural, geographic and rural political context of Somalia is essential;

- Experience in the various project locations and entity registrations required.

Reporting Requirements

The consulting firm will report to the Project Team Leader. The consulting firm will be required to travel to specific project sites in Lower Juba and Sanaag. The consulting firm shall be provided with the relevant project documentation reports as may be required during the consultation process. The Consulting firm shall prepare and submit to the following documents and reports. All field data, contacts and other relevant arising from the consultancy is expected to be annexed to the final report and shall remain the property of the Qatar Charity.

Submission of the Expression of Interest

Qatar Charity now invites eligible consultancy firms to indicate their interest in providing the services described above. Interested Consultancy Firms must provide information on their ability and experience, demonstrating that they are qualified to provide the services (web-linked documentation, reference of similar services, experience in comparable assignments, availability of appropriately qualified personnel including their CVs, etc.) Interested Consultancy Firms may obtain additional information at the address mentioned below during the referred office hours:

- APPLICATION PROCESS

Potential Suppliers having interest the work described above shall submit their Interest and supporting documents.

The Expression of Interest along with accompanying documents must be received by QC no later than Thursday 20rd February 2025 @ 2:00pm.

You are requested to send through the QR by writing the subject line on:

SO/2024/1290 PREQUALIFICATION TO TENDER FOR BUILDING DAM.

Qatar Chairty shall not consider any bid that arrives after the deadline for submission. Any bid received by Council after the deadline for submission of bids shall be declared late and rejected.

N.B:  When sending the application, it must be noted that each company participating the tender should create a file in the name of the company, and within the file it creates two files, “a technical file and a financial file.” Any application that doesn’t comply with the above information, the application submitted by the company will not be considered.

QC reserves the right to enquire compliance with additional conditions/requirements as and when issuing the final solicitation documents. Submitting a reply to a call for EOI does not automatically guarantee receipt of the solicitation documents when issued.

Supplier Authorized Signatory

Name:

Title:

Signature: