## PROJE OZET BILGILERI (hidden)
QUANTITY SURVEY SUMMARY
WORLD TRADE CENTER
Date :
Description |  | Dimensions |  |  |  |  | Quantities
|  | Similar | Unit | Length | Width | Height | Plus(+) | Minus (-) | Total
Types of villas
Type A with only ground floor |  | 6 | m² | 332 |  |  | 1992 | 0
Type B with only ground floor |  | 3 | m² | 167 |  |  | 501 | 0 | 2493
Foundation
Foundation area |  | 1 | m² | 2493 |  |  | 2493 | 0 | 2493
Foundation perimeter |  | 1 | m | 690 |  |  | 690 | 0 | 690
Construction area (m²)
Foundation area |  | 1 | m² | 2493 |  |  |  |  | 2493
Concrete (m³)
Blinding |  |  | m³ | 50 |  |  |  |  | 50
Substructure Normal concrete |  |  | m³ | 577
Superstructure Normal concrete |  |  | m³ | 608
1185
Formwork (m²)
Substructure |  |  | m² | 2044
Superstructure |  |  | m² | 4666
6710
Reinforcement (kg)
Reinforcement in assorted diameters |  | 121080 | kg
Steel mesh |  | 3314.46 | kg
124394.46
Calculated Reinforcement ratios
Reinforcement ratio for substructure |  |  | kg/m3 | 104.9742
Page sum :
General sum :
PREPARED BY | CONTROLLED BY |  |  |  |  | SUB-CONTRACTOR

## ASSISTING ANALYSES (hidden)
1.VISA EXPENSES |  |  | 2. ACCOMODATION |  |  |  |  | 5.TRAVEL EXPENSES
1. Year |  |  | FOR LABOR | PPRoom | 6 |  |  | No of flights per year |  | 2
DESCRIPTION | QTR | USD | DESCRIPTION | QTR | USD |  |  | DESCRIPTION | QTR | USD
Immigration | 220 | 61.1111 | Room per month | 2500 | 694.4444 |  |  | FLIGHT | 2200 | 611.1111
Medical Check | 150 | 41.6667 | Cost per person | 416.6667 | 115.7407 |  |  | TOTAL COST | 4400 | 1222.2222
Labour Dept | 100 | 27.7778 | TURKISH TECHNICAL STAFF | PPRoom | 5 |  |  | COST PER MONTH | 366.6667 | 101.8519
Resident Permit | 1102 | 306.1111 | DESCRIPTION | QTR | USD
TOTAL | 1572 | 436.6667 | House per month | 17500 | 4861.1111
Per Month | 131 | 36.3889 | Cost per person per month | 3500 | 972.2222 |  |  | 6. FOOD EXPENSES
|  |  | LOCAL TECHNICAL STAFF | PPRoom | 5 |  |  |  |  | PER DAY | 5 | USD
2nd and Following years |  |  | DESCRIPTION | QTR | USD |  |  |  | TURKISH/month |  | INT./month
DESCRIPTION | QTR | USD | House Allowance per month | 2000 | 555.5556 |  |  | DESCRIPTION | QTR | USD | QTR | USD
Resident Permit | 1102 | 306.1111 | [5 empty] | PER DAY | 25 | 6.9444
Labour Dept | 100 | 27.7778 | [5 empty] | PER MONTH | 750 | 208.3333
TOTAL | 1202 | 333.8889 | 3. LABOUR SALARIES
Per Month | 100.1667 | 27.8241
|  |  |  | TURKISH/month |  | INT./month |  | 7. TOTAL COST PER LABOUR
TURKISH LABOURS |  |  | DESCRIPTION | QTR | USD | QTR | USD
DESCRIPTION | QTR | USD | SKILLED | 5400 | 1500 | 800 | 222.2222 |  | TURKISH/month |  | INT./month |  | COST RATIO
Passport | 227 | 63.0556 | UN SKILLED | 4320 | 1200 | 650 | 180.5556 | DESCRIPTION | QTR | USD | QTR | USD | TR / INT.
Pass extension | 378 | 105 | FORMAN | 8100 | 2250 | 1000 | 277.7778 | SKILLED | 8182 | 2272.7778 | 1572.6667 | 436.8519 | 5.2026
Labour Dept | 51 | 14.1667 | OPERATOR | 7200 | 2000 | 1200 | 333.3333 | UN SKILLED | 7102 | 1972.7778 | 1422.6667 | 395.1852 | 4.992
TOTAL | 656 | 182.2222 | [5 empty] | FORMAN | 10882 | 3022.7778 | 1772.6667 | 492.4074 | 6.1388
Per Month | 54.6667 | 15.1852 | [5 empty] | OPERATOR | 9982 | 2772.7778 | 1972.6667 | 547.963 | 5.0602
4. SOCIAL SECURITY EXPENSES
|  |  |  | TURKISH/month |  | INT./month
|  |  | DESCRIPTION | QTR | USD | QTR | USD
|  |  | TURKEY | 838 | 232.7778
|  |  | LOCAL* | 225 | 62.5 | 225 | 62.5
* Analysis per month 500 qtr salary*30 days*12 months*0,015 ratio
|  |  | Per year | 2700
|  |  | Per month | 225

## MANPOWER (hidden)
TECHNICAL STAFF COST ANALYSES | [7 empty] | TECHNICAL STAFF COST ANALYSES | [8 empty] | RESOURCE PLANNING
TURKISH | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LOCAL | Salary | Accomodation | Food | SSK | Travel | Visa | Total |  | S.No. | Turkish | LOCAL | TOTAL
| Month | Month | Month | Month | Month | Month | Month |  | Month | Month | Month | Month | Month | Month | Month | TECHNİCAL PERSONNEL | Project Manager | 1 |  | 1
Project Manager | 8000 | 2500 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 11058.1481 | Project Manager | [8 empty] | Construction Manager | 1 |  | 1
Construction Manager | 6000 | 2500 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 9058.1481 | Construction Manager | 4000 | 555.5556 | - | 62.5 | - | 36.3889 | 4654.4444 |  | Finishing works Manager |  |  | 0
Finishing works Manager | 6000 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 7530.3704 | Finishing works Manager | [8 empty] | Site Engineers | 1 | 1 | 2
Site Engineers | 4000 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5530.3704 | Site Engineers | 1500 | 555.5556 | - | 62.5 | - | 36.3889 | 2154.4444 |  | Technical office engineer/Planning engineer | 1 |  | 1
Tech office engineer | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | Structural Engineer | [8 empty] | Architects |  |  | 0
Architects | 4000 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5530.3704 | Architects | [6 empty] | 0 |  | Electrical Engineers |  |  | 0
Electrical Engineers | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | Electrical Engineers | [8 empty] | Mechanical Engineers |  |  | 0
Mechanical Engineers | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | Mechanical Engineers | [8 empty] | QA/QC Engineers |  | 1 | 1
QA/QC Engineers | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | QA/QC Engineers | 1500 | 555.5556 | - | 62.5 | - | 36.3889 | 2154.4444 |  | Planning engineer |  |  | 0
Planning engineer | 4000 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5530.3704 | Planning engineer | [8 empty] | Cost Control Engineers | 1 |  | 1
Cost Control Engineers | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | Cost Control Engineers | [8 empty] | Health & Safety Engineer (HSE) |  | 1 | 1
Health & Safety Engineer (HSE) | [6 empty] | 0 | Health & Safety Engineer (HSE) | 2000 | 555.5556 |  | 62.5 |  | 36.3889 | 2654.4444 |  | Land Surveyer |  | 1 | 1
Land Surveyer | [6 empty] | 0 | Land Surveyer | 750 | 555.5556 | - | 62.5 | - | 36.3889 | 1404.4444 |  | Technicians |  | 2 | 2
Technicians | 3000 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 4530.3704 | Technicians | 750 | 555.5556 | - | 62.5 | - | 36.3889 | 1404.4444 |  | Draughtsman |  | 2 | 2
Draughtsman | [7 empty] | Draughtsman | 750 | 555.5556 | - | 62.5 | - | 36.3889 | 1404.4444 |  | SUB TOTAL | 5 | 8 | 13
[16 empty] | ADMINISTRATION OFFICE | Administrative Manager | 1 | 0 | 1
[17 empty] | Accountant |  |  | 0
ADMINISTRATIVE STAFF COST ANALYSES | [7 empty] | ADMINISTRATIVE STAFF COST ANALYSES | [8 empty] | Purchase officer |  |  | 0
TURKISH | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LOCAL | Salary | Accomodation | Food | SSK | Travel | Visa | Total |  | Translator | 1 |  | 1
| Month | Month | Month | Month | Month | Month | Month |  | Month | Month | Month | Month | Month | Month | Month |  | Personel Chief |  |  | 0
Administrative Manager | 3500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 5030.3704 | Administrative Manager | [8 empty] | Stock officer |  | 1 | 1
Accountant | 2500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 4030.3704 | Accountant | [8 empty] | Secretary |  | 1 | 1
Purchase officer | [7 empty] | Purchase officer | 3000 | 555.5556 | - | 62.5 | - | - | 3618.0556 |  | Tea boy |  | 1 | 1
Translator | 500 | - | - | - | - | - | 500 | Translator | [8 empty] | Health Officer (doctors) |  |  | 0
Personel Chief | [7 empty] | Personel Chief | [8 empty] | Lawyer |  |  | 0
Stock officer | 1000 | 115.7407 | 208.3333 | 232.7778 | - | 15.1852 | 1572.037 | Stock officer | 500 | 115.7407 | - | 62.5 | - | 36.3889 | 714.6296 |  | SUB TOTAL | 2 | 3 | 5
Secretary | [7 empty] | Secretary | 500 | 115.7407 | - | 62.5 | - | 36.3889 | 714.6296 | GENERAL OFFICE TEAM EXPENSES | General Manager | 1 |  | 0.25 | YARISI PROJE İÇİN ŞARJ EDİLDİ | 0.25
Tea man/Lady | [7 empty] | Tea man/Lady | 300 | 115.7407 | - | 62.5 | - | 36.3889 | 514.6296 |  | Accountant |  | 1 | 0.25
Health Officer(doctors) | [7 empty] | Health Officer (doctors) | 500 | - | - | - | - | - | 500 |  | Purchase officer |  | 1 | 0.25
Lawyer | 500 | - | - | - | - | - | 500 | Lawyer | [8 empty] | Technical Office Engineers | 1 |  | 0.25
[17 empty] | Planning engineer | 1 |  | 0.25
ADMINISTRATIVE STAFF COST ANALYSES | [7 empty] | ADMINISTRATIVE STAFF COST ANALYSES | [8 empty] | Secretary |  | 1 | 0.25
TURKISH | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LOCAL | Salary | Accomodation | Food | SSK | Travel | Visa | Total |  | Tea boy |  | 1 | 0.25
| Month | Month | Month | Month | Month | Month | Month |  | Month | Month | Month | Month | Month | Month | Month |  | SUB TOTAL | 3 | 4 | 1.75
General Manager | 5000 | 2000 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 7558.1481 | General Manager | [7 empty] | CAMP & OPERATIONAL STAFF | Site Chief |  |  | 0
Accountant | 2500 | 972.2222 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 4030.3704 | Accountant | 500 | [7 empty] | Camp supervisor | 1 |  | 1
Purchase officer | [7 empty] | Purchase officer | 3700 | 1000 | - | 62.5 | - | - | 4762.5 |  | Securities | 1 |  | 1
Technical Office Engineers | 2700 | 1000 | - | - | - | - | 3700 | Technical Office Engineers | [8 empty] | Cook & Kitchen Personnel | 1 | 1 | 2
Planning engineer | 3000 | 1000 | - | - | - | - | 4000 | Planning engineer | [8 empty] | Drivers |  | 2 | 2
Secretary | [7 empty] | Secretary | 400 | 100 | - | 62.5 | - | - | 562.5 |  | Crane operator | 3 | 2 | 5
Tea boy | [7 empty] | Tea boy | 150 | 30 | - | 62.5 | - | 36.3889 | 278.8889 |  | Formen (Turkish) | 2 |  | 2
[17 empty] | Cleaning staff |  | 3 | 3
CAMP STAFF COST ANALYSES | [7 empty] | CAMP STAFF COST ANALYSES | [8 empty] | SUB TOTAL | 8 | 8 | 16
TURKISH | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LOCAL | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LABOUR GROUP 1 | Skilled Labour Carpenter | 15 |  | 15
| Month | Month | Month | Month | Month | Month | Month |  | Month | Month | Month | Month | Month | Month | Month |  | Skilled Labour Steel fixer | 10 |  | 10
Site Chief | [7 empty] | Site Chief | [8 empty] | Skilled Labour Blockwork | 10 |  | 10
Camp supervisor | 2000 | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 2673.8889 | Camp supervisor | [8 empty] | Skilled Labour Painter |  |  | 0
Securities | [7 empty] | Securities | 250 | 115.7407 | - | 62.5 | - | 36.3889 | 464.6296 |  | Un-Skilled Labour |  | 10 | 10
Cooker& Kitchen Personnel | 3000 | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 3673.8889 | Cooker& Kitchen Personnel | 500 | 115.7407 | - | 62.5 | - | 36.3889 | 714.6296 |  | SUB TOTAL | 35 | 10 | 45
Drivers | [7 empty] | Drivers | 500 | 115.7407 | - | 62.5 | - | 36.3889 | 714.6296 | LABOUR GROUP 2 | Skilled Labour Carpenter
Crane operator | 2500 | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 3173.8889 | Crane operator | 400 | 115.7407 | - | 62.5 | - | 36.3889 | 614.6296 |  | Skilled Labour Steel fixer
Formen | 2500 | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 3173.8889 | Formen | 400 | 115.7407 | - | 62.5 | - | 36.3889 | 614.6296 |  | Skilled Labour Blockwork
Cleaning staff | [7 empty] | Cleaning staff | 250 | 115.7407 | - | 62.5 | - | 36.3889 | 464.6296 |  | Skilled Labour Painter
Un-Skilled Labour
[17 empty] | SUB TOTAL | 0 | 0 | 0
LABOR COST ANALYSES | [7 empty] | LABOR COST ANALYSES | [8 empty] | TOTAL | 53 | 33 | 80.75
TURKISH | Salary | Accomodation | Food | SSK | Travel | Visa | Total | LOCAL | Salary | Accomodation | Food | SSK | Travel | Visa | Total
| Month | Month | Month | Month | Month | Month | Month |  | Month | Month | Month | Month | Month | Month | Month
Skilled Labour Carpenter |  | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 673.8889 | Skilled Labour Carpenter | [6 empty] | 0
Skilled Labour Steel fixer |  | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 673.8889 | Skilled Labour Steel fixer | [6 empty] | 0
Skilled Labour Mason |  | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 673.8889 | Skilled Labour Mason | [6 empty] | 0
Skilled Labour Painter |  | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 673.8889 | Skilled Labour Painter | [6 empty] | 0
Un-Skilled Labour |  | 115.7407 | 208.3333 | 232.7778 | 101.8519 | 15.1852 | 673.8889 | Un-Skilled Labour | 200 | 116 | - | 62.5 |  | 36.3889 | 414.8889

## reinforcement (hidden)
TABLE OF REINFORCEMENT | [5 empty] | TOTAL LENGTH
| DESCRIPTION | REINFORCEMENT |  |  |  | 0.395 | 0.617 | 0.888 | 1.208 | 1.578 | 1.998 | 2.466 | 2.719 | 2.984 | 3.551 | 3.853 | 4.168 | 4.834 | 5.549 | 6.313 | WEIGHT (kg)
|  | diameter | similar | pieces | length (m) | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 21 | 22 | 24 | 25 | 26 | 28 | 30 | 32
FOOTINGS
| F1 | [19 empty] | 0 | bar: 8 to 32
|  | 14 | 5 | 9 | 1.8 | - | - | - | 81 | - | - | - | - | - | - | - | - | - | - | - | 97.848
|  | 14 | 5 | 7 | 1.7 | - | - | - | 59.5 | - | - | - | - | - | - | - | - | - | - | - | 71.876
| F2 | [19 empty] | 0 | bar: 8 to 32
|  | 16 | 8 | 10 | 2 | - | - | - | - | 160 | - | - | - | - | - | - | - | - | - | - | 252.48
|  | 16 | 8 | 9 | 2.2 | - | - | - | - | 158.4 | - | - | - | - | - | - | - | - | - | - | 249.9552
| F3 | [19 empty] | 0 | bar: 8 to 32
|  | 16 | 1 | 12 | 2.3 | - | - | - | - | 27.6 | - | - | - | - | - | - | - | - | - | - | 43.5528
|  | 16 | 1 | 10 | 2.5 | - | - | - | - | 25 | - | - | - | - | - | - | - | - | - | - | 39.45
COLUMNS
| C1 | [19 empty] | 0 | bar: 8 to 32
|  | 14 | 5 | 6 | 5.2 | - | - | - | 156 | - | - | - | - | - | - | - | - | - | - | - | 188.448
|  | 8 | 5 | 26 | 1 | 130 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 51.35
| C2 | [19 empty] | 0 | bar: 8 to 32
|  | 16 | 9 | 6 | 5.2 | - | - | - | - | 280.8 | - | - | - | - | - | - | - | - | - | - | 443.1024
|  | 8 | 9 | 26 | 1.2 | 280.8 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 110.916
| GROUND BEAMS | [19 empty] | 0 | bar: 8 to 32
| GB1 | 14 | 1 | 2 | 5.7 | - | - | - | 11.4 | - | - | - | - | - | - | - | - | - | - | - | 13.7712
|  | 14 | 1 | 2 | 5.7 | - | - | - | 11.4 | - | - | - | - | - | - | - | - | - | - | - | 13.7712
|  | 8 | 1 | 57 | 1.2 | 68.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 27.018
| GB2 | 16 | 1 | 2 | 7.8 | - | - | - | - | 15.6 | - | - | - | - | - | - | - | - | - | - | 24.6168
|  | 16 | 1 | 1 | 7.8 | - | - | - | - | 7.8 | - | - | - | - | - | - | - | - | - | - | 12.3084
|  | 16 | 1 | 2 | 7.8 | - | - | - | - | 15.6 | - | - | - | - | - | - | - | - | - | - | 24.6168
|  | 16 | 1 | 1 | 7.8 | - | - | - | - | 7.8 | - | - | - | - | - | - | - | - | - | - | 12.3084
|  | 8 | 1 | 78 | 1.2 | 93.6 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 36.972
| GB3 | 16 | 1 | 2 | 24.3 | - | - | - | - | 48.6 | - | - | - | - | - | - | - | - | - | - | 76.6908
|  | 16 | 1 | 1 | 24.3 | - | - | - | - | 24.3 | - | - | - | - | - | - | - | - | - | - | 38.3454
|  | 16 | 1 | 2 | 24.3 | - | - | - | - | 48.6 | - | - | - | - | - | - | - | - | - | - | 76.6908
|  | 16 | 1 | 1 | 24.3 | - | - | - | - | 24.3 | - | - | - | - | - | - | - | - | - | - | 38.3454
|  | 8 | 1 | 243 | 1.4 | 340.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 134.379
| GB4 | 16 | 1 | 2 | 10.76 | - | - | - | - | 21.52 | - | - | - | - | - | - | - | - | - | - | 33.9586
|  | 16 | 1 | 2 | 10.76 | - | - | - | - | 21.52 | - | - | - | - | - | - | - | - | - | - | 33.9586
|  | 16 | 1 | 2 | 10.76 | - | - | - | - | 21.52 | - | - | - | - | - | - | - | - | - | - | 33.9586
|  | 16 | 1 | 2 | 10.76 | - | - | - | - | 21.52 | - | - | - | - | - | - | - | - | - | - | 33.9586
|  | 8 | 1 | 107.6 | 1.4 | 150.64 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 59.5028
| GB5 | 16 | 1 | 3 | 31.9 | - | - | - | - | 95.7 | - | - | - | - | - | - | - | - | - | - | 151.0146
|  | 16 | 1 | 2 | 31.9 | - | - | - | - | 63.8 | - | - | - | - | - | - | - | - | - | - | 100.6764
|  | 16 | 1 | 2 | 31.9 | - | - | - | - | 63.8 | - | - | - | - | - | - | - | - | - | - | 100.6764
|  | 16 | 1 | 2 | 31.9 | - | - | - | - | 63.8 | - | - | - | - | - | - | - | - | - | - | 100.6764
|  | 8 | 1 | 425.3333 | 1.4 | 595.4667 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 235.2093
0 | bar: 8 to 32
[5 empty] | TOTAL LENGTH (m) : | 1659.1067 | 0 | 0 | 319.3 | 1217.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2962.4028
[5 empty] | FROM PREVIOUS PAGE (m) : | 1659.1067 | 0 | 0 | 319.3 | 1217.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2962.4028
| GB6 | 16 | 1 | 3 | 22.35 | - | - | - | - | 67.05 | - | - | - | - | - | - | - | - | - | - | 105.8049
|  | 16 | 1 | 2 | 22.35 | - | - | - | - | 44.7 | - | - | - | - | - | - | - | - | - | - | 70.5366
|  | 16 | 1 | 3 | 22.35 | - | - | - | - | 67.05 | - | - | - | - | - | - | - | - | - | - | 105.8049
|  | 16 | 1 | 3 | 22.35 | - | - | - | - | 67.05 | - | - | - | - | - | - | - | - | - | - | 105.8049
|  | 10 | 1 | 2 | 22.35 | - | 44.7 | - | - | - | - | - | - | - | - | - | - | - | - | - | 27.5799
|  | 8 | 1 | 298 | 1.4 | 417.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 164.794
| GB7 | 16 | 1 | 3 | 5.76 | - | - | - | - | 17.28 | - | - | - | - | - | - | - | - | - | - | 27.2678
|  | 16 | 1 | 3 | 5.76 | - | - | - | - | 17.28 | - | - | - | - | - | - | - | - | - | - | 27.2678
|  | 16 | 1 | 3 | 5.76 | - | - | - | - | 17.28 | - | - | - | - | - | - | - | - | - | - | 27.2678
|  | 16 | 1 | 3 | 5.76 | - | - | - | - | 17.28 | - | - | - | - | - | - | - | - | - | - | 27.2678
|  | 10 | 1 | 2 | 5.76 | - | 11.52 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.1078
|  | 8 | 1 | 76.8 | 1.4 | 107.52 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 42.4704
| NORMAL BEAMS | [19 empty] | 0 | bar: 8 to 32
| B1 | 14 | 1 | 2 | 0 | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | 0
|  | 14 | 1 | 2 | 0 | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | 0
|  | 8 | 1 | 0 | 1.2 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
| B2 | 16 | 1 | 2 | 15.74 | - | - | - | - | 31.48 | - | - | - | - | - | - | - | - | - | - | 49.6754
|  | 16 | 1 | 1 | 15.74 | - | - | - | - | 15.74 | - | - | - | - | - | - | - | - | - | - | 24.8377
|  | 16 | 1 | 2 | 15.74 | - | - | - | - | 31.48 | - | - | - | - | - | - | - | - | - | - | 49.6754
|  | 16 | 1 | 1 | 15.74 | - | - | - | - | 15.74 | - | - | - | - | - | - | - | - | - | - | 24.8377
|  | 8 | 1 | 78.7 | 1.2 | 94.44 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 37.3038
| B3 | 16 | 1 | 2 | 22.46 | - | - | - | - | 44.92 | - | - | - | - | - | - | - | - | - | - | 70.8838
|  | 16 | 1 | 2 | 22.46 | - | - | - | - | 44.92 | - | - | - | - | - | - | - | - | - | - | 70.8838
|  | 16 | 1 | 2 | 22.46 | - | - | - | - | 44.92 | - | - | - | - | - | - | - | - | - | - | 70.8838
|  | 16 | 1 | 2 | 22.46 | - | - | - | - | 44.92 | - | - | - | - | - | - | - | - | - | - | 70.8838
|  | 8 | 1 | 112.3 | 1.4 | 157.22 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 62.1019
| B4 | 16 | 1 | 3 | 18.35 | - | - | - | - | 55.05 | - | - | - | - | - | - | - | - | - | - | 86.8689
|  | 16 | 1 | 2 | 18.35 | - | - | - | - | 36.7 | - | - | - | - | - | - | - | - | - | - | 57.9126
|  | 16 | 1 | 3 | 18.35 | - | - | - | - | 55.05 | - | - | - | - | - | - | - | - | - | - | 86.8689
|  | 16 | 1 | 2 | 18.35 | - | - | - | - | 36.7 | - | - | - | - | - | - | - | - | - | - | 57.9126
|  | 8 | 1 | 122.3333 | 1.4 | 171.2667 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 67.6503
| B5 | 16 | 1 | 3 | 11.96 | - | - | - | - | 35.88 | - | - | - | - | - | - | - | - | - | - | 56.6186
|  | 16 | 1 | 2 | 11.96 | - | - | - | - | 23.92 | - | - | - | - | - | - | - | - | - | - | 37.7458
|  | 10 | 1 | 2 | 11.96 | - | 23.92 | - | - | - | - | - | - | - | - | - | - | - | - | - | 14.7586
|  | 16 | 1 | 3 | 11.96 | - | - | - | - | 35.88 | - | - | - | - | - | - | - | - | - | - | 56.6186
|  | 16 | 1 | 2 | 11.96 | - | - | - | - | 23.92 | - | - | - | - | - | - | - | - | - | - | 37.7458
|  | 8 | 1 | 79.7333 | 1.4 | 111.6267 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 44.0925
| B6 | 16 | 1 | 3 | 27.66 | - | - | - | - | 82.98 | - | - | - | - | - | - | - | - | - | - | 130.9424
|  | 16 | 1 | 3 | 27.66 | - | - | - | - | 82.98 | - | - | - | - | - | - | - | - | - | - | 130.9424
|  | 10 | 1 | 2 | 27.66 | - | 55.32 | - | - | - | - | - | - | - | - | - | - | - | - | - | 34.1324
|  | 16 | 1 | 3 | 27.66 | - | - | - | - | 82.98 | - | - | - | - | - | - | - | - | - | - | 130.9424
|  | 16 | 1 | 3 | 27.66 | - | - | - | - | 82.98 | - | - | - | - | - | - | - | - | - | - | 130.9424
|  | 8 | 1 | 184.4 | 1.4 | 258.16 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 101.9732
| B7 | 18 | 1 | 3 | 0 | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0
|  | 18 | 1 | 3 | 0 | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0
|  | 10 | 1 | 2 | 0 | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
|  | 18 | 1 | 3 | 0 | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0
|  | 18 | 1 | 3 | 0 | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0
|  | 8 | 1 | 0 | 1.4 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
| SLABS | [19 empty] | 0 | bar: 8 to 32
| S1 | 10 | 38.18 | 20 | 1.18 | - | 901.048 | - | - | - | - | - | - | - | - | - | - | - | - | - | 555.9466
| S2 | 10 | 22.95 | 22 | 1.18 | - | 595.782 | - | - | - | - | - | - | - | - | - | - | - | - | - | 367.5975
| S3 | 10 | 87.2 | 26 | 1.18 | - | 2675.296 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1650.6576
0 | bar: 8 to 32
[5 empty] | TOTAL LENGTH (m) : | 2976.54 | 4307.586 | 0 | 319.3 | 2441.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8072.2151
[5 empty] | UNIT WEIGHT (Kg/m) : | 0.395 | 0.617 | 0.888 | 1.208 | 1.578 | 1.998 | 2.466 | 2.719 | 2.984 | 3.551 | 3.853 | 4.168 | 4.834 | 5.549 | 6.313
[5 empty] | WEIGHT (Kg) : | 1175.7333 | 2657.7806 | 0 | 385.7144 | 3852.9868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | TOTAL WEIGHT (Ton) : | 8: 8.0722

## جدول الكميات
BOQ FORM 150M BOREHOLE DRILLING IN SOMALIA
No | Description | Unit | Qty | Rate($) | Amount($)
1 | preliminary work
| Hydro geological survey | Sum | 1 |  | 0
2 | DRILLING WORKS |  |  |  | 0
1 | Mobilization costs to drilling area, transport of drilling unit, test pumping equipment, store, personnel, material and other supplies including drilling permit, set up on site and make all requisite preparations such as storage and handling of supplies and equipment during the drilling and well development period | Sum | 1 |  | 0
2 | Demobilization of drilling and test pumping equipment from site including for personnel, store and other materials | Sum | 1 |  | 0
3 | Drilling of 8 inch & Enlarging to 12 inch | M | 150 |  | 0
4 | Supply and installation of 8 inch Pvc casing | pcs | 26 |  | 0
5 | Supply and installation of good quality graver back | bags | 200 |  | 0
6 | 2 inch galvanized iron pipes includind distribution pipes | pcs | 30 |  | 0
7 | Pentonte /Mud | bags | 70 |  | 0
3 | Borehole Development |  |  |  | 0
3.1 | Water recharge testing(testing of the well using electrical submersible pump, the contractor to provide necessary power, etc and proper record every one hour interval at least 24 continous hours) | Sum | 1 |  | 0
3.2 | Analysis of Water, using field test kits;2 water sample for each of the tests including Chemical, bacterial and Turbidity tests | Sum | 1 |  | 0
4 | MECHANICAL WORKS |  |  |  | 0
1 | Supply and installation of Diesel driven generator set, water cooled, skid mounted, capable of delivering up to 40 kVA at 1500 rpm, with spare fuel, oil and air filters) Generator (Perkins generator set or equivalent approved meeting the following minimum specifications:- diesel driven, 3 phase, water cooled, dual staring with alternator and complete with 10 spare oil filters, 10 spare fuel filters and 2 spare air filters) | pcs | 1 |  | 0
2 | Supply and installation of 1 submersible pump capable of discharging (insert flow rate, m3/hr, on basis of borehole yield and water demand) at a total pumping head of (insert the computed total pumping head) | pcs | 1 |  | 0
4 | SERVICE WORKS |  |  |  | 0
1 | Construction of Rcc elevated water tank base 6 M height and 20 M3 capacity | pcs | 1 |  | 0
2 | Construction of Generator Room, | pcs | 1 |  | 0
3 | Construction of Animal troughs | Sum | 2 |  | 0
4 | Construction of WATER KIOSK | Sum | 1 |  | 0
6 | OTHER DIRECT COST
6.1 | Visibilty and Donor Logo | LS | 1 |  | 0
6.2 | Field Trip Expences | Trip | 4 |  | 0
TOTAL OF BASIC AMOUNT |  |  |  |  | 0

## fw (hidden)
TABLE OF CALCULATION
#REF!
#REF! | [7 empty] | Date : |  | #REF!
Pose Number : | Work type: | [8 empty] | Unit
| FORMWORK | [8 empty] | m2
Location |  |  | Dimensions |  |  |  |  | Quantities
|  |  | Similar | Number | Length | Width | Height | Plus(+) | Minus (-) | Total
Blinding
F1
F2
F3
F4
F5
F6
F7
F8
F9 FOR THE LIFT
0
Footings
F1
F2
F3
F4
F5
F6
F7
F8
F9 FOR THE LIFT
0
Ground Beams
GB1
GB2
GB3
GB4
GB5
GB6
0
COLUMNS
C1
C2
C3
C4
C5
C6
C7
C8
C8" ( completion )
SHATF WALL
0
BEAMS
GROUND FLOOR CEILING BEAMS :
B1
B2
B3
B4
B4'
B5
B5'
B6
B7
B8
B9
B10
B11
B11'
0
BEAMS
TYPICAL FLOOR CEILING BEAMS :
B1
B2
B3
B4
B4'
B5
B5'
B6
B7
B8
B9
B10
B11
B11'
0
SLABS
GROUND FLOOR CEILING SLABS :
S1
0
PARAPET
0
Page sum :
General sum :
PREPARED BY |  | CONTROLLED BY |  |  |  |  | SUB-CONTRACTOR

## EQUIPMENT & PLANT RATES (hidden)
ABC GROUP GULF
EQUIPMENTS & PLANTS RATES
NO | EKİPMAN | BRM | B.FİYAT
1 | Roller compactor | sa | 75
2 | Exvacator | sa | 120
3 | Loader | sa | 90
4 | Truck | gün | 350
5 | Crane | sa | 80
Bus

## MATERIAL PRICE LIST (hidden)
ABC GROUP GULF
MATERIALS PRICE LIST | [6 empty] | 2008-05-11
NO | DESCRIPTION | MARKA & ÖZELLİK | LİS.TARİHİ | UNIT | LİS.B.FİYATI | İSK. | PRICE
[5 empty] | ( B ) | ( C )
REINFORCING STEEL BARS & CONSUMABLES
1 | 8 mm dia.6 meter length | İÇDAŞ | 2000-01-07 | ton | 106838 | 0 | 5000
2 | 10 mm dia , 12 meter length |  |  | ton |  |  | 4830
3 | 12 mm dia , 12 meter length |  |  | ton |  |  | 3480
4 | 14 mm dia , 12 meter length |  |  | ton |  |  | 3460
5 | 16 mm - 32 mm dia , 12 meter length |  |  | ton |  |  | 3420
| WIRE MESH |  |  | ton
1 | Wire mesh A 142 ( 2.4 * 4.8 ) 6 mm |  |  | Sheet |  |  | 165
2 | Wire mesh A 193 ( 2.4 * 4.8 ) 7 mm |  |  | Sheet |  |  | 195
3 | Wire mesh A 252 ( 2.4 * 4.8 ) 8 mm |  |  | Sheet |  |  | 255
4 | Wire mesh A 393 ( 2.4 * 4.8 )10 mm |  |  | Sheet |  |  | 395
5 | Nails |  | 2000-01-07 | kg | 250000 | 0
12 | CONCRETE
13 | C 20 OPC | NUH BETON | 1999-12-20 | m³ | 18800000
14 | C 20 SRC
15 | C 30 OPC
16 | C 30 SRS
17 | C 40 OPC
18 | C 40 SRC
19 | C50 OPC
20 | C50 SRS
21 | MESH REINFORCEMENT
22
|  | ÇESAN | 1999-12-28 | m2 | 150000
DRENAJ & KANAL & YAĞMUR
8 | Drenflex Ø 200 | FIRAT | 1999-11-15 | mt | 2265700 |  | 7
9 | Çelik yağmur iniş borusu Ø 150 | FIRAT | 1999-11-15 | mt | 3252800 |  | 27
10 | Ø 250 PVC (corige) boru |  |  | mt | 3252800 |  | 10
KALIP MALZEMELERİ
11 | Film kaplı kontraplak ( plywood ) | BALCIOĞLU | 1999-12-01 | m³ | 330000000 | 0 | 1400
12 | 2. Sınıf çam kereste |  | 1999-12-30 | m³ | 63000000 | 0 | 360
SAC VE PROFİLLER
13 | Profil demiri,sac (kayıplarıyla) |  |  | kğ | 190000 |  | 1.07
14 | Bulon,Perçin |  |  | kg |  |  | 1.1
ZEMİN KAPLAMASI
15 | Emeryplate | EGESİN | 2000-01-02 | kğ | 0.31 | 0 | 0.5
16 | Probeton curıng | EGESİN | 2000-01-02 | kğ | 2.48 | 0 | 5
ÇATI İŞLERİ
17 | (0,5+50+0,4) Boyalı sac sandviç çatı paneli ( nakliye dahil ) | ASSAN | 2000-01-02 | m² | 9100000 | 0 | 27
MERMER VE GRANİT
18 | 3cm Muğla mermeri denizlik (15 cm genişliğinde) | KARTAL MERMER |  | mt | 5000000 | 0 | 17
SERAMİK VE KAROSERAMİK
19 | 20x20Anti asidik seramik |  |  | m² | 2602 |  | 15.5
20 | Granit Yapıştırıcı |  |  | kğ |  |  | 0.85
21 | Epofuga derz dolgusu (Epox esaslı) |  |  | kğ |  |  | 7.9
MUHTELİF
22 | Mıcır (Ocak mıcırı) | SELTAŞ | 1999-12-30 | m³ | 2450000 |  | 17.6
23 | Kum (Nakliye dahil) | SELTAŞ | 1999-12-30 | m³ | 3000000 |  | 33
24 | Stabilize | SELTAŞ | 1999-12-30 | m³ | 2550000 |  | 16
25 | Kalıp iskelesi |  |  | m² |  |  | 1.25
26 | Graut harcı |  |  | kğ |  |  | 1.2
27 | UDM2 |  |  | kğ |  |  | 2.5
28 | Fırça ve rulo |  |  | adet |  |  | 0.12
29 | 5 cm xps |  |  | m3 |  |  | 175
30 | 200gr/m² Geotextil keçe |  |  | m² |  |  | 0.95
31 | Döküm kapak |  |  | adet |  |  | 165
32 | Naylon örtü 110gr/m2 | LİBRA | 1999-12-29 | m² | 2600 |  | 0.6
33 | 19x19x18,5'luk delikli tuğla |  |  | adet |  |  | 0.14
34 | 19x19x13,5'luk delikli tuğla |  |  | adet |  |  | 0.125
35 | 25'lik Bims Blok |  |  | adet |  |  | 1
36 | Sıvamatik dış harcı (20 mm) |  |  | kğ |  |  | 0.145
37 | Alçımatik harcı (20 mm) |  |  | kğ |  |  | 0.175
38 | Çuhadaroğlu İzo-67 serisi profil |  |  | mt |  |  | 40
39 | 4+12+4 ısıcam |  |  | m2 |  |  | 27
40 | NP1 mastik |  |  | adet |  |  | 8.4
41 | Poliüretan Köpük |  |  | adet |  |  | 7.5

## LABOURSHIP RATES (hidden)
ABC GROUP GULF
GENERAL LABUR RATES
1 | EXCAVATION | M3 | 30
2 | BLOCKWORK | M2 | 5
3 | STEEL FIXING PER TON | TON | 5
4 | CONCRETE PER M3 | M3 | 12.5
5 | CARPENTERY | m³ | 3.5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27

## Calculation (hidden)
1 | EXCAVATION :
EXCAVATION FOR 2 ATTACHED VILLAS
| ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | Depth
| Villas | 1 | 10 |  | 29.5 | 16 | 1.2 | 5664 | 4720
Out Building
| TERMITE CONTROL | 1 | 10 |  | 25.5 | 12 |  |  | 3060
| TOTAL | [6 empty] | 5664
| LOSSES 5 % FOR BLINDING | [7 empty] | 153
| TOTAL WITH LOSSES | [6 empty] | 5664 | 3213
| EXCAVATION FOR FOUNDATIONS 1.2 m DEPTH | 5664
2 | TERMITE CONTROL TREATMENT
| Termite Control | m2 | 3213
3 | FOUNDATIONS:
1- BLINDING FOR 4 NOS. VILLAS ( TOW ATTACHED * 2)
| F | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | thickness
| F1 | 1 | 10 | 5 | 1.4 | 1.7 | 0.1 | 11.9 | 119 | 31
| F2 | 1 | 10 | 12 | 1.7 | 2 | 0.1 | 40.8 | 408 | 88.8
| F3 | 1 | 10 | 12 | 1.8 | 2.2 | 0.1 | 47.52 | 475.2 | 96
F4
F5
F6
| TOTAL | [6 empty] | 100.22 | 1002.2 | 215.8
| LOSSES 10 % FOR BLINDING | [6 empty] | 10.022 | 100.22 | 21.58
| TOTAL WITH LOSSES | [6 empty] | 110.242 | 1102.42 | 237.38
[6 empty] | FORMWORK |  |  | 237.38
1- R/C CONCRETE FOR 20 NOS. VILLAS 30 N/ mm2 OPC Gabro
| F | 2 attached Villas | 4- Villas | Nos. | DAIMENSION |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | thickness
| F1 | 1 | 10 | 5 | 1.2 | 1.5 | 0.4 | 36 | 90 | 108
| F2 | 1 | 10 | 12 | 1.5 | 1.8 | 0.4 | 129.6 | 324 | 316.8
| F3 | 1 | 10 | 12 | 1.6 | 2 | 0.45 | 172.8 | 384 | 388.8
F4
F5
F6
| TOTAL | [6 empty] | 338.4 | 798 | 813.6
| LOSSES 5 % FOR BLINDING | [6 empty] | 16.92 | 39.9 | 40.68
| TOTAL WITH LOSSES | [6 empty] | 355.32 | 837.9 | 854.28
[6 empty] | FORMWORK |  |  | 854.28
COLLECTION ( BLINDING ) : | 20 N/mm2 SRC GABRO , BLINDING : | 110.242
COLLECTION ( FOUNDATIONS) : | 30 N/mm2 SRC GABRO , R/C FOUNDATION: | 355.32
FORMWORK :FOUNDATIONS: | FORMWORK FOR FOUNDATION | 1091.66
4 | GROUN BEAMS :
GROUND BEAMS FOR20 NOS. VILLAS ( TOW ATTACHED *10)
| GB | 2 attached Villas | 10- Nos. | Length | Daimensions |  | Wall Hight | Sides | m3 | m2 | Block W
[5 empty] | b | d
| GB1 | 1 | 10 | 8.4 | 0.2 | 0.4 | 3 | 2 | 6.72 | 67.2 | 252
| GB2 | 1 | 10 | 51.1 | 0.2 | 0.6 | 3 | 2 | 61.32 | 613.2 | 1533
| GB3 | 1 | 10 | 57.95 | 0.2 | 0.6 | 3 | 2 | 69.54 | 695.4 | 1738.5
| GB3* | 1 | 10 | 33.4 | 0.2 | 0.6 | 3 | 2 | 40.08 | 400.8 | 1002
| GB4 | 1 | 10 | 35.4 | 0.2 | 0.6 | 3 | 2 | 42.48 | 424.8 | 1062
|  |  |  | 186.25 | [6 empty] | 5587.5
| TOTAL | [7 empty] | 220.14 | 2201.4
| LOSSES 10 % FOR BLINDING | [7 empty] | 11.007 | 110.07
| TOTAL WITH LOSSES | [7 empty] | 231.147 | 2311.47 | 5587.5
|  | BLOCK WORK |  | 74.5 |  | FORMWORK |  |  | 2311.47
COLLECTION ( GROUND BEAMS) : | 30N/mm2 SRC , R/C GROUN BEAMS | 231.147
FORMWORK :GROUNDBEAMS | FORMWORK FORGROUNDBEAMS | 2311.47
Expansion Joint | Allow for all expansion joints using 12 mm Flexcel Sheets between Ground beams enternal edges & the salbs on grade | 372.5
| BLOCK FILLED WITH CONCRETE UNDER G.BEAMS ( m2) | 74.5
5 | SELECTED EXCAVATED BACKFILL MATERIALS (35% FROM THE TOTAL EXCAVATION |  |  |  |  | 1982.4
6 | IMPORTED BACKFILL MATERIALS |  |  |  |  | 3270.96
7 | REMOVE SURPLUS EXCAVATED MATERIALS FROM SITE |  |  |  |  | 3270.96
8 | 10 CM THICK R.C. SLAB ON GRADE :
| ITEM | 2 attached Villas | 10- Nos. | Nos. | Daimensions |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | Thickness
| SLAB ON GRADE FOR THE VILLAS | 1 | 10 |  | 25.5 | 12 | 0.1 | 306 | 3060
| TOTAL | [6 empty] | 306 | 3060
| LOSSES 5 % FOR BLINDING | [6 empty] | 15.3 | 153
| TOTAL WITH LOSSES | [6 empty] | 321.3 | 3213
COLLECTION ( SLABS ON GRADE ) : | 30N/mm2 OPC , R/C SLAB ON GRADE | 321.3
STEEL MESH A 142 | A142 STEEL MESH OVER WELL COMPACTED SOIL | 3213
SLABS :
9 | 1- SLABS FOR20 NOS VILLAS ( GROUND FLOOR CEILING ):
10 | ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | Thickness
| SLAB S1 | 1 | 10 | 2 | 6.6 | 1.8 | 0.14 | 33.264 | 237.6
| SLAB S1 | 1 | 10 | 2 | 4 | 4 | 0.14 | 44.8 | 320
| SLAB S1 | 1 | 10 | 2 | 2.6 | 3 | 0.14 | 21.84 | 156
| SLAB S2 | 1 | 10 | 2 | 4 | 4.2 | 0.15 | 50.4 | 336
| SLAB S2 | 1 | 10 | 2 | 4.1 | 4.2 | 0.15 | 51.66 | 344.4
| SLAB S2 | 1 | 10 | 2 | 4.6 | 4.95 | 0.15 | 68.31 | 455.4
| SLAB S3 | 1 | 10 | 2 | 12.9 | 1.5 | 0.18 | 69.66 | 387
| TOTAL | [6 empty] | 339.934 | 2236.4
| LOSSES 5 % FOR BLINDING | [6 empty] | 16.9967 | 111.82
| TOTAL WITH LOSSES | [6 empty] | 356.9307 | 2348.22
2- SLABS FOR20 NOS VILLAS ( FIRST FLOOR CEILING ):
| ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  | Thickness | m3 | H. Area | V. Area
[5 empty] | a | b
| SLAB S1 | 1 | 10 | 2 | 2.2 | 2.2 | 0.14 | 13.552 | 96.8
| SLAB S2 | 1 | 10 | 1 | 4 | 4.2 | 0.15 | 25.2 | 168
| SLAB S2 | 1 | 10 | 2 | 2.6 | 3 | 0.15 | 23.4 | 156
| TOTAL | [6 empty] | 62.152 | 420.8
| LOSSES 5 % FOR BLINDING | [6 empty] | 3.1076 | 21.04
| TOTAL WITH LOSSES | [6 empty] | 65.2596 | 441.84
3- SLABS FOR 20 NOS VILLAS ( FPENT HOUSE CEILING ) :
| ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  |  | m3 | H. Area | V. Area
[5 empty] | a | b | Thickness
| SLAB S1 | 1 | 10 | 2 | 3 | 2.2 | 0.14 | 18.48 | 132
| SLAB S2 | 1 | 10 | 2 | 4 | 2.2 | 0.15 | 26.4 | 176
| SLAB S2 | 1 | 10 | 2 | 3.8 | 3.2 | 0.15 | 36.48 | 243.2
| SLAB S2 | 1 | 10 | 2 | 2.6 | 6.2 | 0.15 | 48.36 | 322.4
| TOTAL | [6 empty] | 81.36 | 551.2
| LOSSES 5 % FOR BLINDING | [6 empty] | 4.068 | 27.56
| TOTAL WITH LOSSES | [6 empty] | 85.428 | 578.76
11
COLLECTION ( SLABS ) : | 30N/mm2 OPC , R/C SLAB | 737.8623
FORMWORK :SLABS | FORMWORK FOR SLABS | 3213
13 | HORDI SLABS (GROUND FLOOR CEILING ) 20 Nos.VILLAS :
| ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  | Thickness | m3 | H. Area | V. Area
[5 empty] | a | b
| HORDI Block SLAB 1 | 1 | 10 | 2 | 2.15 | 2.6 | 0.1 | 11.18 | 111.8
| HORDI SLAB 2 | 1 | 10 | 1 | 12.9 | 3 | 0.1 | 38.7 | 387
| TOTAL | [6 empty] | 49.88 | 498.8
| LOSSES 5 % FOR BLINDING | [6 empty] | 2.494 | 24.94
| TOTAL WITH LOSSES | [6 empty] | 52.374 | 523.74
HORDI SLABS (FIRST FLOOR CEILING ) 20 Nos.VILLAS :
| ITEM | 2 attached Villas | 10- Nos. | Nos. | DAIMENSION |  | Thickness | m3 | H. Area | V. Area
[5 empty] | a | b
| HORDI SLAB 1 | 1 | 10 | 2 | 4 | 4 | 0.1 | 32 | 320
| HORDI SLAB 2 | 1 | 10 | 2 | 7 | 2 | 0.1 | 28 | 280
| HORDI SLAB 3 | 1 | 10 | 2 | 4.3 | 2.2 | 0.1 | 18.92 | 189.2
| HORDI SLAB 4 | 1 | 10 | 2 | 5.4 | 2.6 | 0.1 | 28.08 | 280.8
| HORDI SLAB 5 | 1 | 10 | 2 | 6.5 | 4.8 | 0.1 | 62.4 | 624
| TOTAL | [6 empty] | 169.4 | 1694
| LOSSES 5 % FOR BLINDING | [6 empty] | 8.47 | 84.7
| TOTAL WITH LOSSES | [6 empty] | 177.87 | 1778.7
COLLECTION ( HORDI BLOCK ) : | HORDI BLOCK | 2302.44
| CONCRETE SLABS OVER HORDI BLOCKS | 230.244
BEAMS :
BEAMS ( FIRST FLOOR CEILING BEAMS ) :
1- FOR 20 NOS. VILLAS
| GB | 2 attached Villas | 10- Nos. | Length | DAIMENSION |  | Wall Hight | Side | m3 | V. Area | H. Area | Block W
[5 empty] | a | b
| B1 | 1 | 10 | 8 | 0.2 | 0.4 | 3 | 2 | 6.4 | 64 | 16 | 240
| B2 | 1 | 10 | 48 | 0.2 | 0.6 | 3 | 2 | 57.6 | 576 | 96 | 1440
| B2* | 1 | 10 | 4 | 0.2 | 0.6 | 3 | 2 | 4.8 | 48 | 8 | 120
| B3* | 1 | 10 | 61.4 | 0.2 | 0.6 | 3 | 2 | 73.68 | 736.8 | 122.8 | 1842
| B3 | 1 | 10 | 14.4 | 0.2 | 0.6 | 3 | 2 | 17.28 | 172.8 | 28.8 | 432
| B4 | 1 | 10 | 22.5 | 0.2 | 0.6 | 3 | 2 | 27 | 270 | 45 | 675
| B5 |  |  | 158.3 | [7 empty] | 4749
CB1
| TOTAL | [6 empty] | 12 | 186.76 | 1867.6
| LOSSES 5 % | [6 empty] | 0.6 | 9.338 | 93.38
| TOTAL WITH LOSSES | [6 empty] | 12.6 | 196.098 | 1960.98 |  | 4749
[6 empty] | FORMWORK |  |  | 2157.078
BEAMS ( GROUND FLOOR CEILING BEAMS ) :
2- FOR 20 NOS. VILLAS
| GB | 2 attached Villas | 10- Nos. | Length | DAIMENSION |  | Wall Hight | Side | m3 | V. Area | H. Area | Block W
[5 empty] | a | b
| B1 | 1 | 10 | 7.2 | 0.2 | 0.4 | 3 | 2 | 5.76 | 57.6 | 14.4 | 216
| B2 | 1 | 10 | 33.42 | 0.2 | 0.6 | 3 | 2 | 40.104 | 401.04 | 66.84 | 1002.6
| B2* | 1 | 10 | 4 | 0.2 | 0.6 | 3 | 2 | 4.8 | 48 | 8 | 120
| B3* | 1 | 10 | 17.1 | 0.2 | 0.6 | 3 | 2 | 20.52 | 205.2 | 34.2 | 513
| B3 | 1 | 10 | 22.75 | 0.2 | 0.6 | 3 | 2 | 27.3 | 273 | 45.5 | 682.5
| B4 | 1 | 10 | 56.2 | 0.2 | 0.6 | 3 | 2 | 67.44 | 674.4 | 112.4 | 1686
| B5 | 1 | 10 | 17.6 | 0.2 | 0.6 |  | 2 | 21.12 | 211.2 | 35.2 | 4220.1
| CB1 | 1 | 10 | 5 | 0.2 | 0.6 |  | 2 | 6 | 60 | 10
|  |  |  | 163.27 |  |  |  | 165.924 | 1930.44 | 326.54
| TOTAL | [6 empty] | 8.2962 | 96.522 | 16.327
| LOSSES 5% | [6 empty] | 174.2202 | 2026.962 | 342.867 |  | 4220.1
| TOTAL WITH LOSSES |  |  |  |  | FORMWORK |  |  | 2369.829
14 | BEAMS ( PENT HOUSE CEILING BEAMS ) :
3- FOR 20 NOS. VILLAS
| GB | 2 attached Villas | 10- Nos. | Length | DAIMENSION |  | Side | m3 | V. Area | H. Area
[5 empty] | a | b
| B1 | 1 | 10 | 4.4 | 0.2 | 0.4 | 2 | 3.52 | 35.2 | 8.8
| B2 | 1 | 10 | 21.2 | 0.2 | 0.6 | 2 | 25.44 | 254.4 | 42.4
| B3* | 1 | 10 | 13.2 | 0.2 | 0.6 | 2 | 15.84 | 158.4 | 26.4
| B3 | 1 | 10 | 33.6 | 0.2 | 0.6 | 2 | 40.32 | 403.2 | 67.2
| CB1 | 1 | 10 | 7.2 | 0.2 | 0.6 | 2 | 8.64 | 86.4 | 14.4
|  |  |  | 79.6 |  |  |  | 93.76 | 937.6 | 159.2
| TOTAL | [6 empty] | 9.376 | 93.76 | 15.92
| LOSSES 10 % FOR BLINDING | [6 empty] | 103.136 | 1031.36 | 175.12
| TOTAL WITH LOSSES |  |  |  |  | FORMWORK |  |  | 1206.48
COLLECTION ( BEAMS ) :
| 30N/mm2 OPC GABRO R/C | 289.9562
| FORMWORK FOR BEAMS | 5733.387
COLUMNS :
COLUMNS ( GROUND FLOOR ):
1- FOR 20 NOS. VILLAS
| C | 10 No. attached Villas | 10- Nos. | Length | DAIMENSION |  |  | m3 | V.(a) Area | V.(b) Area
[5 empty] | a | b | Side
| C1 | 10 | 17 | 3 | 0.2 | 0.5 | 2 | 51 | 408 | 510
| C2 | 10 | 12 | 3 | 0.2 | 0.6 | 2 | 43.2 | 288 | 432
| TOTAL | [6 empty] | 94.2 | 696 | 942
| LOSSES 10 % FOR BLINDING | [6 empty] | 9.42 | 69.6 | 94.2
TOTAL BLOCK WORK | TOTAL WITH LOSSES | [6 empty] | 103.62 | 765.6 | 1036.2
[6 empty] | FORMWORK |  |  | 1801.8
COLUMNS ( FIRST FLOOR ):
2- FOR 20 NOS. VILLAS
| C | NOS | 4- Villas | Length | DAIMENSION |  | Side | m3 | V.(a) Area | V.(b) Area
[5 empty] | a | b
| C1 | 10 | 17 | 3 | 0.2 | 0.5 | 2 | 51 | 408 | 510
| C2 | 10 | 12 | 3 | 0.2 | 0.6 | 2 | 43.2 | 288 | 432
| TOTAL | [6 empty] | 94.2 | 696 | 942
| LOSSES 10 % FOR BLINDING | [6 empty] | 4.71 | 34.8 | 47.1
| TOTAL WITH LOSSES | [6 empty] | 98.91 | 730.8 | 989.1
[6 empty] | FORMWORK |  |  | 1719.9
COLUMNS ( PENT HOUSE ) :
3- FOR 20 NOS. VILLAS
| C | NOS | 4- Villas | Length | DAIMENSION |  |  | m3 | V.(a) Area | V.(b) Area
[5 empty] | a | b | Side
| C1 | 10 | 4 | 3 | 0.2 | 0.5 | 2 | 12 | 96 | 120
| C2 | 10 | 8 | 3 | 0.2 | 0.6 | 2 | 28.8 | 192 | 288
| C3 | 10 | 12 | 3 | 0.2 | 0.2 | 2 | 14.4 | 288 | 144
| TOTAL | [6 empty] | 55.2 | 576 | 552
| LOSSES 10 % FOR BLINDING | [6 empty] | 5.52 | 57.6 | 55.2
| TOTAL WITH LOSSES | [6 empty] | 60.72 | 633.6 | 607.2
[6 empty] | FORMWORK |  |  | 1240.8
COLLECTION ( COLUMNS ) : | 30N/mm2 OPC GABRO R/C | 263.25
FORMWORK :COLUMNS : | FORMWORK FOR COLUMNS | 4762.5
COLLECTION FOR STAIRS & LANDINGS | STAIRS & LANDINGS : | 57.3
FORMWORK FOR STAIRS & LANDINGS | FORMWORK FOR THE STAIRCASE | 822.4
CONCERET TOTAL | TOTAL CONCRETE | 2165.0795
| STEEL IN ASSORTED DIA.( TON ) | 303.1111
| 1000 Gauge polythene protective membrane. | 6616.13
| Two coats of bituminous paint To horizontal & Vertical surfaces of concrete.. | 6616.13
| WATER PROOFING SYSTEM FOR FLAT AREA OF THE ROOF | 3213
| UP STANDS FOR THE ROOFm' | 1447.6
23 | WATER PROOFING SYSTEM FOR WET AREAS | 475.2
| UPSTANDS FOR THE WET AREAS | 818.4
| PRECAST IN-SITU CONCRETE |  | Nos. | m2 | m3
24 | LENTLE FOR DOOR D1 ( 1.6 * 2.2 m )= 0.2*0.2*2.0 |  | 40 | 140.8 | 3.2
| LENTLE FOR DOOR D2 ( 1.0 * 2.2 m )= 0.2*0.2*1.4 |  | 200 | 440 | 11.2
| LENTLE FOR DOOR D3 ( 1.0 * 2.2 m )= 0.2*0.2*1.3 |  | 160 | 352 | 8.96
25 | Total Nos. Of DOORS : |  | 400 | 932.8
| LENTLE FOR WINDOW W1 ( 1.0 * 1.5 m )= 0.2*0.2*1.8 |  | 140 | 210 | 7.84
| LENTLE FOR WINDOW W2 ( 1.0 * 1.2 m )= 0.2*0.2*1.4 |  | 60 | 72 | 3.36
26 | LENTLE FOR WINDOW W3 ( 0.8 * 0.8 m )= 0.2*0.2*1.0 |  | 140 | 89.6 | 6.72
| LENTLE FOR WINDOW W4 ( 0.6 * 1.8 m )= 0.2*0.2*1 |  | 40 | 64.8 | 1.6
27 | Total Nos. Of WINDOWS : |  | 380 | 436.4 | 42.88
28 | BLOCKWORK | m2
| 200 , 150 & 100 mm for enternal & external Walls. | 14556.6
29
| INTERNAL PLASTER | 24713.5
30
31 | EXTERNAL PLASTER | 9881.1
32
| INTERNAL PAINT | 24713.5
33
| EXTERNAL AINT | 9881.1
34
| PORCILIAN TILE 30 * 30 tile for all floorings | 4372.28
34
| CERAMIC FOR BATHS & KITCHENS : FLOORS | 1123.8
35
| CERAMIC FOR BATHS & KITCHENS :WALLS | 4646.4
36
| MARBLE FOR THE STAIR LANDINGS | 411.84
37
| GRANITE FOR THE STEPS & ENTRANCES | 1056
| GRC Cover To all A/C ( window type as Covers ) | 0
| Clear site of all debris, loose material, rubbish, trees, shrubs and ground cover.(m2) | 992
| Imported back fill ( dune sand for the external works | 694.4
| 200 x 100 x 60 mm Interlocking precast concrete paviors in approved colours set to approved pattern; laid on and including 100 mm compacted sand bed; joints filled with mortar as specified. | 3639.46
| Boundary Walls including the Gates m' | 957.2
| ALUNIMUM HANDRAIL | 352

## GENERAL EXPENSES (2) (hidden)
A |  | ESTIMATED GENERAL EXPENSES |  |  | 12 | Month | ACTUAL GENERAL EXPENSES
1 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE |  |  |  |  | MONTHLY INSTALMENTS | [5 empty] | CONTRACT PRICE EVALUATION |  |  | No | İŞ GÜVENLİĞİ MALZEMELERİ ( 1 KİŞİLİK ) | BİRİM FİYAT | YIL/AD | TOPLAM FİYAT
|  | FINANCE | Commission % | AMOUNT | MONTH | COST | UNIT | AMOUNT | DURATION | PRICE | + | - |  | 1. AY | 2.AY | 3.AY | 4.AY | 5.AY | 6.AY |  |  | CONTRACT PRICE AS QAR | 14000000 |  |  | Yorgan
TIME | TURKISH BANK | Tender Bond |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | [9 empty] | RATE (QAR/$) | 3.65 |  |  | Dolap
|  | Advance Payment |  |  |  | 0 |  |  |  | 0 | #REF! | #REF! |  | 0 | [7 empty] | CONTRACT PRICE AS $ | 3835616.4384 |  |  | ARA TOPLAM |  | TOPLAM | 0
|  | Performance Bond |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | [11 empty] | Oturma takımı
|  | Murabaha Expenses | [19 empty] | LETTER OF GUARANTEE |  |  |  | Yatak ve karyola
| LOCAL BANK | Approval comission for Tender |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | [9 empty] | TURKISH BANK PERCENTAGES | Percentage of Tender Bond from Turkish Bank | 0% |  | Yatak takımı ( yastık,nevresim,yorgan )
|  | Approval comission for Advance | [7 empty] | 0 | 0 | 0 |  | 0 | [8 empty] | Percentage of Advance Payement from Turkish Bank | 15% |  | Dolap
|  | Approval comission for Performance | [7 empty] | 0 | 0 | 0 |  | 0 | [8 empty] | Percentage of Performance Bond | 10% |  | Klima veya ısıtıcı
|  | Tender Bond |  | 0 |  | 0 | [15 empty] | LOCAL BANK PERCENTAGES | Percentage of Tender Bond from Turkish Bank | 0% |  | Elektrikli eşya ( buzdolabı,çamaşır mak,TV,ütü,süpürge )
|  | Advance Payment |  | 0 |  | 0 | [16 empty] | Percentage of Advance Payement from Turkish Bank | 0% |  | ARA TOPLAM |  | TOPLAM | 0
|  | Performance Bond |  | 0 |  | 0 | [16 empty] | Percentage of Performance Bond | 0%
Murabaha Expenses
|  | Mudaraba Expenses | [19 empty] | INSURANCE EVALUATION
| INSURANCE | Construction All Risk C.A.R expenses | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Construction All Risk | Percentage of Contract to be insured | 50%
|  | Third party insurance expenses | [19 empty] | Third Party Insurance | Percentage of Contract to be insured | 20%
|  | Indemnity Insurance expenses | [19 empty] | Indemnity Insurance | Percentage of Contract to be insured | 30%
|  | SUB TOTAL |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
0
2 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE |  |  |  |  | MONTHLY INSTALMENTS
|  | CUSTOM CHARGES | CONTAINER | PRICE | RATE | COST | UNIT | AMOUNT | DURATION | PRICE | + | - |  | 1. AY | 2.AY | 3.AY | 4.AY | 5.AY | 6.AY
VALUE | CUSTOM | Custom Charges in Turkey |  | 250 | 100% | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Custom Charges in Local Country |  | 2500000 | 5% | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Transportation Insurance expenses |  | 250 | 100% | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Transportation Charges |  | 3000 | 100% | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Any legal Fees |  | 200 | 100% | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | SUB TOTAL |  |  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE |  |  |  |  | MONTHLY INSTALMENTS
|  | STAFF EXPENSES | UNIT | PRICE | MONTH | COST | UNIT | AMOUNT | DURATION | PRICE | + | - |  | 1. AY | 2.AY | 3.AY | 4.AY | 5.AY | 6.AY
TIME | TURKISH TECHNİCAL | Project Manager |  | 11058.1481 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 11058.1481 | 11058.1481 | 11058.1481 | 11058.1481 | 11058.1481 | 11058.1481
|  | Construction Manager | 1 | 4654.4444 | 10 | 46544.4444 |  |  | 12 | 0 | 46544.4444 | 0 |  | 4654.4444 | 4654.4444 | 4654.4444 | 4654.4444 | 4654.4444 | 4654.4444
|  | Finishing works Manager | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Site Engineers |  | 5530.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704
|  | Structural Engineer |  | 5030.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704
|  | Architects |  | 5530.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704
|  | Electrical Engineers | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Mechanical Engineers | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | QA/QC Engineers |  | 5030.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704
|  | Planning engineer |  | 5530.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704 | 5530.3704
|  | Cost Control Engineers |  | 5030.3704 | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704 | 5030.3704
|  | Health & Safety Engineer (HSE) | #REF! | 0 | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Land Surveyer | #REF! | 0 | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Technicians | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Draughtsman | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| LOCAL TECHNICAL | Project Manager | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Construction Manager | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Finishing works Manager | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Site Engineers |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Structural Engineer | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Architects | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Electrical Engineers | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Mechanical Engineers | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | QA/QC Engineers |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Planning engineer | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Cost Control Engineers | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Health & Safety Engineer (HSE) | 1 | 2654.4444 | 2 | 5308.8889 | [7 empty] | 2654.4444 | 2654.4444 | 2654.4444 | 2654.4444 | 2654.4444 | 2654.4444
|  | Land Surveyer |  | 1404.4444 | 0 | 0 | [7 empty] | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444
|  | Technicians |  | 1404.4444 | 0 | 0 | [7 empty] | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444
|  | Draughtsman |  | 1404.4444 | 0 | 0 | [7 empty] | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444 | 1404.4444
|  | SUB TOTAL |  |  |  | #REF! |  |  |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TIME | TURKISH ADMINISTRATIVE | Administrative Manager |  |  | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Accountant |  |  | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Purchase officer | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Translator |  |  | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Personel Chief | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Stock officer | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Secretary | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Tea man/Lady | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Health Officer(doctors) | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Lawyer | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
| LOCAL ADMINISTRATIVE | Administrative Manager | 0 | #REF! | 0 | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Accountant | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Purchase officer | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Translator | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Personel Chief | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Stock officer |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Secretary |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Tea man/Lady |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Health Officer(doctors) | #REF! |  | #REF! | #REF! | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Lawyer | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | SUB TOTAL |  |  |  | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TIME | GENERAL OFFICE EXPENSES | General Manager | 0.15 | 7558.1481 | 10 | 11337.2222 | [7 empty] | 7558.1481 | 7558.1481 | 7558.1481 | 7558.1481 | 7558.1481 | 7558.1481
|  | Accountant | 0.15 | 4030.3704 | 10 | 6045.5556 | [7 empty] | 4030.3704 | 4030.3704 | 4030.3704 | 4030.3704 | 4030.3704 | 4030.3704
|  | Purchase officer | 0.15 | 4762.5 | 10 | 7143.75 | [7 empty] | 4762.5 | 4762.5 | 4762.5 | 4762.5 | 4762.5 | 4762.5
|  | Technical Office Engineers | 0.15 | 3700 | 10 | 5550 | [7 empty] | 3700 | 3700 | 3700 | 3700 | 3700 | 3700
|  | Planning engineer | 0.15 | 4000 | 10 | 6000 | [7 empty] | 4000 | 4000 | 4000 | 4000 | 4000 | 4000
|  | Secretary | 0.15 | 562.5 | 10 | 843.75 | [7 empty] | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5
|  | Tea boy | 0.15 | 278.8889 | 10 | 418.3333 | [7 empty] | 278.8889 | 278.8889 | 278.8889 | 278.8889 | 278.8889 | 278.8889
|  | SUB TOTAL |  |  |  | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TIME | TURKISH CAMP STAFF | Site Chief | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Camp supervisor |  |  |  | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Securities |  |  |  | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Cooker& Kitchen Personnel |  |  |  | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Drivers | #REF! |  |  | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Crane operator |  |  |  | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Formen (Turkish) | 1 | 3173.8889 | 8 | 25391.1111 |  |  | 12 | 0 | 25391.1111 | 0 |  | 3173.8889 | 3173.8889 | 3173.8889 | 3173.8889 | 3173.8889 | 3173.8889
|  | Cleaning staff | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| LOCAL CAMP STAFF | Site Chief | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Camp supervisor | #REF! | #REF! | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Securities | #REF! |  | #REF! | #REF! |  |  | 12 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Cooker& Kitchen Personnel |  |  | 0 | 0 |  |  | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Drivers | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Crane operator |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Formen | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Cleaning staff |  |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | SUB TOTAL |  |  |  | #REF! | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TIME | TURKISH LABOR GROUP 1 | Skilled Labour Carpenter | 15 |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Steel fixer | 10 |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Blockwork | 10 |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Painter | 0 |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 4
|  | Un-Skilled Labour |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
| TURKISH LABOR GROUP 2 | Skilled Labour Carpenter | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Steel fixer | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Blockwork | #REF! |  | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Painter | #REF! | #REF! | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Un-Skilled Labour | 0 |  | 0 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SUB TOTAL
| LOCAL LABOR | Skilled Labour Carpenter | #REF! | 0 | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Steel fixer | #REF! | 0 | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Mason | #REF! | 0 | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Skilled Labour Painter | #REF! | 0 | #REF! | #REF! |  |  |  | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Un-Skilled Labour | 5 | 414.8889 | 10 | 20744.4444 |  |  |  | 0 | 20744.4444 | 0 |  | 414.8889 | 414.8889 | 414.8889 | 414.8889 | 414.8889 | 414.8889
|  | SUB TOTAL |  |  |  | #REF! |  |  |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | TOTAL |  |  |  | #REF! |  |  |  | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
[12 empty] | #REF! |  | MURABHA AY ADETİ |  | 12 |  | TAKSİT ADETİ
4 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE |  |  |  |  | MONTHLY INSTALMENTS
|  | EQUIPMENT & PLANT EXPENSES | UNIT | AMOUNT | AMORT. | COST | UNIT | AMOUNT | AMORT. | PRICE | + | - |  | 1. AY | 2.AY | 3.AY | 4.AY | 5.AY | 6.AY
FIXED | MACHINES | Tower Cranes purchase option |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Rent option
|  | Tower Cranes-transport rail |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Tower Cranes-Hydrolic climbing set |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Mobile Cranes |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | JCB |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Cylinder |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Alimak Hoist lift |  |  |  | 0
FIXED | SİTE EQUIPMENT | SUB TOTAL |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Genarator 50 KWA | 1 | 13000 | 0.25 | 3250 |  |  |  | 0 | 3250 | 0 |  | 812.5 | 812.5 | 812.5 | 812.5
|  | Generator 50 KWA | 1 | 13000 | 0.25 | 3250 |  |  |  | 0 | 3250 | 0 |  | 812.5 | 812.5 | 812.5 | 812.5
|  | Generator+Light tower |  | 14000 | 0.25 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Genarator izolated panel 250 KWA |  | 8250 | 0.25 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Generator isolated panel 150 KWA |  | 5250 | 0.25 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Compactor |  | 4000 | 0.25 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Vibrators 45 mm pipe | 1 | 1000 | 0.25 | 250 |  |  |  | 0 | 250 | 0 |  | 62.5 | 62.5 | 62.5 | 62.5
|  | Vibrators 60 mm pipe | 1 | 1000 | 0.25 | 250 |  |  |  | 0 | 250 | 0 |  | 62.5 | 62.5 | 62.5 | 62.5
|  | Vibratörs Conventor | 2 | 1500 | 0.25 | 750 |  |  |  | 0 | 750 | 0 |  | 187.5 | 187.5 | 187.5 | 187.5
|  | Bar Bending Machine 42 mm | 1 | 2500 | 0.25 | 625 |  |  |  | 0 | 625 | 0 |  | 156.25 | 156.25 | 156.25 | 156.25
|  | Bar Bending Machine 36 mm | 1 | 2500 | 0.25 | 625 |  |  |  | 0 | 625 | 0 |  | 156.25 | 156.25 | 156.25 | 156.25
|  | Welding tools |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Hidrafor 5 m3/h |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Water pumps |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | Katardan Alınan Şantiye Malzemelri
|  | Surveyor Level |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 2
|  | Total Station |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Surface Polishing(Perdah) Machine |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Surface Polishing(Perdah) Machine Tray |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Site Cars 4x4 | 1 | 30000 | 0.25 | 7500 |  |  |  | 0 | 7500 | 0 |  | 1875 | 1875 | 1875 | 1875
|  | Saloon type cars |  | 15000 | 0.25 | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Service Bus | 1 | 30000 | 0.15 | 4500 |  |  |  | 0 | 4500 | 0 |  | 1125 | 1125 | 1125 | 1125
|  | Pick up car | 1 | 15000 | 0.25 | 3750 |  |  |  | 0 | 3750 | 0 |  | 937.5 | 937.5 | 937.5 | 937.5
|  | Safety Tools & Equipment | 1 | 15000 | 1 | 15000 | [7 empty] | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
|  | Rental House Furnishing | 1 | 10000 | 0.25 | 2500 | [7 empty] | 625 | 625 | 625 | 625
|  | SUB TOTAL |  |  |  | 42250 |  |  |  | 0 | 24750 | 0 |  | 8062.5 | 8062.5 | 8062.5 | 8062.5 | 1250 | 1250
|  | TOTAL |  |  |  | 42250 |  |  |  | #REF! | #REF! | #REF! |  | 8062.5 | 8062.5 | 8062.5 | 8062.5 | 1250 | 1250
#REF!
5 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE |  |  |  |  | MONTHLY INSTALMENTS
|  | SITE & CAMPİNG EXPENSES | UNIT | AMOUNT | AMORT. | PRICE | UNIT | AMOUNT | AMORT. | PRICE | + | - |  | 1. AY | 2.AY | 3.AY | 4.AY | 5.AY | 6.AY
FIXED | SITE FACILITY & CAMP BUILDINGS | Refectory |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Laundry |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Management building | 1 | 5000 | 0.5 | 2500 |  |  |  | 0 | 2500 | 0 |  | 1250 | 1250
|  | Labour camping building (rent or construction) |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0
|  | Security building | [7 empty] | 0 | 0 | 0 |  | 0 | 0
|  | Toilets - showers const work | [7 empty] | 0 | 0 | 0
|  | Toilets - showers office | [7 empty] | 0 | 0 | 0 |  | 0 | 0
|  | Mobile floor toilets | 1 | 1000 | 1 | 1000 |  |  |  | 0 | 1000 | 0 |  | 500 | 500
|  | Stock buildings 500 M2 |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Workshop 500 M2 | [7 empty] | 0 | 0 | 0 |  | 0 | 0
|  | SUB TOTAL |  |  |  | 3500 |  |  |  | 0 | 3500 | 0 |  | 1750 | 1750 | 0 | 0 | 0 | 0
FIXED | INSTALLATIONS | Site camp building installation costs | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Site building decommisioning costs | [7 empty] | 0 | 0 | 0
|  | Site electrical expenses |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Site mechanic expenses |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0
|  | Site Concrete |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0
|  | SUB TOTAL |  |  |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
TIME | OPERATING COSTS | Fuel/Gas | 3 | 150 | 10 | 4500 |  |  |  | 0 | 4500 | 0 |  |  |  |  | 450 | 450 | 450 | #REF!
|  | Jenerator fuel consumption | 2 | 287 | 6 | 3444
|  | Water | 1 | 1000 | 8 | 8000 |  |  |  | 0 | 8000 | 0 |  |  |  |  | 1000 | 1000 | 1000
|  | Electricity | [7 empty] | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
|  | Communication & internet | 1 | 300 | 10 | 3000 |  |  |  | 0 | 3000 | 0 |  |  |  |  | 300 | 300 | 300
|  | Heating cost |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Other |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | SUB TOTAL |  |  |  | 18944 |  |  |  | 0 | 15500 | 0 |  | 0 | 0 | 0 | 1750 | 1750 | 1750
FIXED | CAMP FURNISHING | PC & Printer | 1 | 1000 | 0.2 | 200 |  |  |  | 0 | 200 | 0 |  | 50 | 50 | 50 | 50
|  | Office Furnitures | 1 | 10000 | 0.2 | 2000 |  |  |  | 0 | 2000 | 0 |  | 500 | 500 | 500 | 500
|  | TV & Satallite Etc. | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | A/C Site camps | [7 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | A/C Office | 1 | 1000 | 0.2 | 200 |  |  |  | 0 | 200 | 0 |  | 50 | 50 | 50 | 50
|  | Water Refrigerator | 1 | 1000 | 0.2 | 200 |  |  |  | 0 | 200 | 0 |  | 50 | 50 | 50 | 50
|  | Kitchen tools |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Dining table and chairs |  |  |  | 0 |  |  |  | 0 | 0 | 0
|  | SUB TOTAL |  |  |  | 2600 |  |  |  | 0 | 2600 | 0 |  | 650 | 650 | 650 | 650
|  | TOTAL |  |  |  | 25044 | [7 empty] | 2400 | 2400 | 650 | 2400 | 1750 | 1750
[14 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | TOTAL INITIAL GENERAL EXPENSES |  |  |  | #REF! |  |  |  | #REF! | #REF! | #REF!
6 |  |  | ESTIMATED |  |  |  | ACTUAL |  |  |  | DIFFERENCE
|  | UNFORSEEN | UNIT | AMOUNT | AMORT. | PRICE | UNIT | AMOUNT | AMORT. | PRICE | + | -
TIME | UNFORESEEN | Management Expenses | 2% | #REF! | 1 | #REF! |  |  |  | 0 | #REF! | #REF!
|  | Contingency | 2% | #REF! | 1 | #REF! |  |  |  | 0 | #REF! | #REF!
|  | Price Escallations |  |  |  | 0 |  |  |  | 0 | 0 | 0
[6 empty] | 0 |  |  |  | 0 | 0 | 0
[6 empty] | 0 |  |  |  | 0 | 0 | 0
|  | TOTAL |  |  |  | #REF! |  |  |  | #REF! | #REF! | #REF!
#REF!
7 |  | GENERAL EXPENSES TOTAL |  |  |  | #REF! |  |  |  | #REF! | #REF! | #REF! | #REF!
#REF!
B |  | GENERAL EXPENSES SUMMARY | ESTIMATED
1 |  | FINANCE | 0 | direct | indirect | #REF!
2 |  | CUSTOM | 0 |  | direct | #REF!
3 |  | STAFF EXPENSES | #REF! | indirect
4 |  | EQUIPMENT & PLANT EXPENSES | 42250 | direct
5 |  | SITE & CAMPİNG EXPENSES | 25044 | direct
6 |  | UNFORSEEN | #REF! | direct
7 |  | TOTAL | #REF!
GENERAL EXPENSES SEPARATION
|  | DESCRIPTION | TOTAL | EXPLANATION
|  | FIXED | 48350 | EQUIPMENTS, PLANTS, SITE INSTALLATION
|  | TIME | #REF! | BANKING EXPENSES, STAFF SALARIES, SITE OPERATING COSTS,SOCIAL SECURITY EXP, TRAVEL, ACCOMODATION
|  | VALUE | 0 | VISA, CUSTOM CHARGES, MANAGARIAL COST
|  | SUB TOTAL | #REF! | [5 empty] | 0
#REF!

## summary sheet (hidden)
Attached villas @ Sakhama Area
FOR MR. AHMED AL MUSLIH
Payment Certificate no (1 )
This payment for works & materials on site up to and including 30/01/2012
Amount of Contract |  | : | #REF! | Qrs.
Advance payment |  |  | 93000
1-Value of executed Contract works |  | : | #REF! | Qrs.
2-Value of variation order items |  | : | 0 | Qrs.
3-Total value of work done |  | : | #REF! | Qrs.
4-Less advance payment Recorery 10% of don work |  | : | #REF! | Qrs.
5-Less any other deductions |  | : | 0 | Qrs.
6-Total deductions |  | : | #REF! | Qrs.
7-Total net value to date |  | : | #REF! | Qrs.
8-Less previous payments |  | : | 0 | Qrs.
9-Total Due |  | : | #REF! | Qrs.
9-Net amount 0f this certificate |  | : | #REF! | Qrs.
Certified By: | Client Approval
Eng. Jamal Gassim Mohammed
Date:30/01/2012 |  |  | Date:

## LABOUR UNIT COST (hidden)
1.VISA EXPENSES |  |  | 2. ACCOMODATION |  |  | 3. LABOUR SALARIES |  |  |  |  | 4. SOCIAL SECURITY EXPENSES |  |  |  |  | 4.TRAVEL EXPENSES |  |  |  |  | 5. FOOD EXPENSES |  |  |  |  | 5. TOTAL COST PER LABOUR
[18 empty] | No of flights |  | 2 |  |  | PER DAY | 5 | USD
1. Year |  |  |  | PPRoom | 6 |  | TURKISH/month |  | INT./month |  |  | TURKISH/month |  | INT./month |  |  | TURKISH/month |  | INT./month |  |  | TURKISH/month |  | INT./month |  |  | TURKISH/month |  | INT./month |  | COST RATIO | per day
DESCRIPTION | QTR | USD | DESCRIPTION | QTR | USD | DESCRIPTION | QTR | USD | QTR | USD | DESCRIPTION | QTR | USD | QTR | USD | DESCRIPTION | QTR | USD | QTR | USD | DESCRIPTION | QTR | USD | QTR | USD | DESCRIPTION | QTR | USD | QTR | USD | TR / INT.
Immigration | 220 | 61.1111 | Room per month | 2500 | 694.4444 | SKILLED | 5400 | 1500 | 800 | 222.2222 | TURKEY | 838 | 232.7778 |  |  | FLIGHT | 2200 | 611.1111 |  |  | PER DAY | 25 | 6.9444 |  |  | SKILLED | 8182 | 2272.7778 | 1572.6667 | 436.8519 | 5.2026 | 56.1667
Medical Check | 150 | 41.6667 | Cost per person | 416.6667 | 115.7407 | UN SKILLED | 4320 | 1200 | 650 | 180.5556 | LOCAL* | 225 | 62.5 | 225 | 62.5 | TOTAL COST | 4400 | 1222.2222 | 0 | 0 | PER MONTH | 750 | 208.3333 |  |  | UN SKILLED | 7102 | 1972.7778 | 1422.6667 | 395.1852 | 4.992 | 50.8095
Labour Dept | 100 | 27.7778 |  |  |  | FORMAN | 8100 | 2250 | 1000 | 277.7778 | [5 empty] | COST PER MONTH | 366.6667 | 101.8519 | 0 | 0 | [5 empty] | FORMAN | 10882 | 3022.7778 | 1772.6667 | 492.4074 | 6.1388
Resident Permit | 1102 | 306.1111 |  |  |  | OPERATOR | 7200 | 2000 | 1200 | 333.3333 | * Analysis per month 500 qtr salary*30 days*12 months*0,015 ratio | [14 empty] | OPERATOR | 9982 | 2772.7778 | 1972.6667 | 547.963 | 5.0602
TOTAL | 1572 | 436.6667
Per Month | 131 | 36.3889 | [8 empty] | Per year | 2700
[11 empty] | Per month | 225
2nd and Following years
DESCRIPTION | QTR | USD
Resident Permit | 1102 | 306.1111
Labour Dept | 100 | 27.7778
TOTAL | 1202 | 333.8889
Per Month | 100.1667 | 27.8241
TURKISH LABOURS
DESCRIPTION | QTR | USD
Passport | 227 | 63.0556
Pass extension | 378 | 105
Labour Dept | 51 | 14.1667
TOTAL | 656 | 182.2222
Per Month | 54.6667 | 15.1852

## List Of Suppliers (hidden)
SUPPLIERS OF BUILDING MATERIAL
No. | Name | Tel. | Fax. | P.O Box | E-mail | Items
1 | Rashid A . Al Rashid & Sons. Co. | 4603111 | 4603777 | 24878 | qatar@rarbmd.com | Reinforcement Steel Bars , Normal formwork ( Plywood, white wood ) Scafolding , Prop Jaks, Black sheet steel , Steel Angles Steel tubes …etc.
4501958
4501959
2 | Arab Building Materials Co. of Qatar | 4600175 | 4600174 | 3221 | abmc@qatar.net.qa | Reinforcement Steel Bars , Normal formwork ( Plywood, white wood ) Scafolding , Prop Jaks, Black sheet steel , Steel Angles Steel tubes …etc.
3 |  | 4600176
6 |  | 4600037
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27