## BoQ DC Office -CEELDHEER
Project: 2522307
Donor: RNE/SDC
Title: | Cost Estimation for the Construction of DC office in Ceeldheer
Item | Description | Qty | Unit | Rate | Amount (USD)
DC OFFICE
1 | SUBSTRUCTURES (ALL PROVISIONAL)
2 | Clear site off all vegetation including small trees, scrubs and bushes: removal of any materials dumped it spread gravel on the surface level and compacte it | 1000 | Sm |  | 0
3 | EARTHWORKS
4 | Excavate foundation trench average depth of 0.8mm for offices and meeting hall | 54.8 | Cm |  | 0
5 | Excavate footings for column 0.8x0.8mm for 1.2m depth | 19.2 | Cm |  | 0
6 | CONCRETE
7 | Reinforced Concrete with a ratio of 1:2:4 mix in column footings (0.8m x0.8mx0.2m), with Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 4 | Cm |  | 0
8 | Insitu plain concrete class E (1:3:6): in
9 | 50 mm Thick blinding: under foundation wall and column bases | 3.54 | Cm |  | 0
10 | Insitu reinforced concrete class 25 (20): in
11 | Ground beam for offices and meeting Hall room size of beam 400mmx150mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 8.22 | Cm |  | 0
| RCC Slab of 100mm thick for the meeting hall stage | 2.7 | Cm |  | 0
12 | WALLS
13 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
14 | 400 mm Thick foundation walls 800mm below ground and 250 above the ground level for offices and meeting Hall | 57.54 | Cm |  | 0
15 | Construct stone wall for steps at the two entrances,and public toilets,Raised Stage, stage entrance) construct 450mm stone wall below ground and 450mm above the ground, build the steps from stone, each step to have 30mm thick flat stone step treat with 30mm nosing. Price includeds sand fill, 150mm hardcore base for capping ground slab Type jointed and bedded in gauged mortar (1:3 ) Combined area for front including disable ramp | 3.2 | Cm |  | 0
16 | HARDCORE
17 | 300 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for meeting hall,offices room and 200mm thick for the stage | 72.6 | Cm |  | 0
18 | WALLS
19 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
20 | 200 mm Thick walls offices & Meeting hall and gable wall | 357.68 | Sm |  | 0
21 | Super structure Concrete
22 | Insitu reinforced concrete class 25 (20): in
23 | Reinforced Concrete columns with a ratio of 1:2:4 mix for offices (0.2mx0.2m), with 4N0. Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 3.096 | Cm |  | 0
24 | Reinforced Concrete circular columns dia 200mm with a ratio of 1:2:4 mix with 6N0. Y12 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork for verandah of the DC office | 0.94514 | Cm |  | 0
25 | Reinforced Cement Concrete lintel beam of 200x200mm with 4 Y12 bars and linked with Y8 placed at 200 c/c distance for offices and meeting hall. The concrete mix is 1:2:4 ratio | 4.52 | Cm |  | 0
26 | Tie beam for upper and lower roof supporting having size of 200x200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 5.96 | Cm |  | 0
27 | RCC coping beam for verandah supporting columns having size of 200x150mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 0.48 | Cm |  | 0
28 | ROOF (PROVISIONAL)
29 | Galvanised mild steel sheet: 28 gauge
30 | Supply and constuct roof for offices and meeting hall including truss members, galvanised iron sheets gauge 28 complete with nails, straps and secured with iron bars embedded into tie beam. The truss members, common rafters, gusset plates, struts, purlins and ceiling joists are in hard wood and of the following sections: 15x5cm - Tie beam (double), Rafter, 15x5cm - struts 8x4cm purlin with alumunium headed roof nails. a flat metal sheet should be enchored where trusses an purlins meet before covering the roof sheets. All trusses should be anchored with 6 mm bars casted into the roof lintels. spacing trusses @1.2m c/c maximum. 5x5cm ceiling joists. including Gutters and pipes for draining the rain water pipes | 278.12 | M2 |  | 0
31 | Supply and fix rectangular white Amstrong ceiling boards, size 600x600x15mm on 15mm shadow gap white frame. Corridors must have acoustic ceiling boards including the fram holding | 230.06 | M2 |  | 0
32 | Construction of 20cm wide fascia board front face | 86.02 | LM |  | 0
33 | DOORS & WINDOWS
34 | Doors
35 | Supply and fix solid imported wood doors ,solid wood minimum 40mm thick size900mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. Doors must be fitted with self closing hydrolic piston all must be comply with secure vy design and international standard. | 6 | No. |  | 0
36 | Supply and fix solid imported wood doors ,solid wood minimum 40mm thick size 1200mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. Doors must be fitted with self closing hydrolic piston all must be comply with secure vy design and international standard. for the meeting hall | 1 | No. |  | 0
37 | Supply and fix pvc framed doors ,solid wood minimum 80mm thick size 800mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 2 hinges. For offices toilets | 3 | No. |  | 0
38 | WINDOWS
39 | Supply and fix 12 PVC framed windows, the PVC window to have 2 leafs opening inwards,.he windows must have 200mm vertical window handle.security grills for all windows- Window size 1500x1200mm, | 21.6 | Sm |  | 0
40 | Supply and fix 2 alumunium PVC framed windows, the alumunium window to have 2 leafs opening inwards,.he windows must have 200mm vertical window handle.security grills for all windows- Window size 600x600mm, for the toilets | 0.72 | Sm |  | 0
41 | FLOOR AND WALL FINISHES
42 | Cement and sand (1:4) screed: to hacked floors: in
43 | Cement sand (1:4) screeds on the floor
44 | 30mm thick finished to receive ceramic tiles | 255 | Sm |  | 0
45 | 400 x 400 x 8 mm Approved first grade coloured non-slip ceramic floor tiles as 'Saj Ceramics' or other equal approved: to regular pattern: colour to architect's scheme: grouting joints in matching cement: in
46 | To floors | 255 | Sm |  | 0
47 | Skirting | 150.3 | Lm |  | 0
48 | To walls of the Toilets of DC offices | 34.24 | Sm |  | 0
49 | WALL FINISHES
50 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
51 | 200 mm Thick walls offices and meeting hall | 715.36 | Sm |  | 0
52 | PAINTING
53 | All external and internal walls to be prepared for painting, walls must be filled, sanded before applying painting. Apply one undercoat white emulsion paint primer sealer, and 2 coats of finish coats on all internal walls and internal walls. Note: External walls should receive 3 coats of external use paint. All paint works if stained must be washable. | 715.36 | Sm |  | 0
54 | ELECRICAL WORKS
55 | Lighting - Lighting points wired in 3x2.5 mm2 PVC/SC CU cables drawn in 20 mm Ǿ concealed HG PVC conduits complete with all necessary accessories
56 | Energy Saving 120 w Grille Surface Mounted LED Light Panel (60x60cm, Warm White) | 18 | Pcs |  | 0
57 | Round LED surface mounting Light 36W Slim | 12 | Pcs |  | 0
| Round LED surface mounting Light 20W Slim | 8 | Pcs |  | 0
58 | 200W LED Flood Light,Super Bright Security Lights,6000K White Light IP66 Waterproof Outdoor Flood Light | 4 | Pcs |  | 0
59 | One gang one-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 15 | Pcs |  | 0
| One gang two-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 1 | Pcs |  | 0
60 | Two gang one-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 8 | Pcs |  | 0
61 | Receptacle- Socket outlet power points wired in 3 x 2.5mm2 PVC/SC copper cables drawn in 20mm Ø concealed HG PVC conduits including all conduit accessories
62 | Receptacle, 13 A Twin switched | 26 | Pcs |  | 0
| PEDROLLO water pump 0.75kW HF51A | 1 | Pcs |  | 0
63 | Ceiling fans - Ceiling fans points wired in 3 x 4 mm2 PVC/SC copper cables drawn in 20mm Ø concealed HG PVC conduits including all conduit accessories
64 | Ceiling fans to have separate switches, and grouped in 2 groups, fans must have minimum 3 blades, Fan airflow to be minimum 400-CFM, WHITE COLOUR, 5 Number of Speeds register | 9 | PCs |  | 0
65 | Cable Feeder
66 | Cu/PVC/FSWA/PVC Cable 3c x 2.5 sq.mm | 350 | m |  | 0
67 | Cu/PVC/FSWA/PVC Cable 3c x 4 sq.mm | 100 | m |  | 0
68 | Cu/PVC/FSWA/PVC Cable 4c x 4 sq.mm | 60 | m |  | 0
69 | Cu/PVC/FSWA/PVC Cable 4 x 16 sq.mm including energy meter and grid connection | 100 | m |  | 0
70 | Cu/PVC/FSWA/PVC Cable 4c x 10 sq.mm | 200 | m |  | 0
71 | Distribution Board
72 | Wall mounted LV panel with mild steel spray painted located at the switch room, constructed from HG,shall be complete & housing the following:- 380 V 3phase, 50 HZ with Volt meter, Hzmeter, Ampere meter and RST with 2A fuse MCCB 4x32A(1Pcs) RCCB 4x32(1Pcs) RCCB 4x25(3Pcs) MCB 2P 10 A (8 Pcs) MCB 2P 16 A (16 Pcs) | 1 | Unit |  | 0
73 | Data / Internet
74 | WIFI units for the dining hall and one for the employees. | 1 | PCs |  | 0
75 | WIFI units connecting cables | 1 | Meter |  | 0
76 | UTP CAT6 flush mounted single outlet T ( WITH RJ11 JACK ) | 1 | PCs |  | 0
77 | Cat.6 UTP 23AWG Cable, LSZH, (Grey) | 50 | Meter |  | 0
78 | 1 meter Cat.6 UTP LSZH Patch cord, (Grey) | 1 | Pcs |  | 0
79 | 8 port POE switch | 1 | Pcs |  | 0
80 | 4 CORE SM F/O (including fiber termination) | 100 | Meter |  | 0
| TOTAL FOR DC OFFICE |  |  |  | 0
BOUNDARY WALL
1 | SUBSTRUCTURES (ALL PROVISIONAL)
2 | EARTHWORKS
3 | Excavate foundation trench average depth of 0.8mm for boundary wall | 52 | Cm |  | 0
4 | Excavate column bases commencing from reduced level: not exceeding 1.5.m deep, 2 bases for boundary wall gate columns ,( 1*1)m2 | 2 | Cm |  | 0
5 | HARDCORE
6 | 150 mm Selected Murrum soil filling of approved inert material in making up levels under floors: spread, leveled, well rammed for the landscape area inside the compound | 83.082 | Cm |  | 0
7 | CONCRETE
8 | Insitu plain concrete class E (1:3:6): in
9 | Insitu reinforced concrete class 25 (20): in
10 | 50 mm Thick blinding: under column bases and foundation wall | 2.7 | Cm |  | 0
11 | Ground beam for boundary wall size of beam 400mmx200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 10.4 | Cm |  | 0
12 | RCC Columns for the boundary wall (0.2mx0.2m) resting on the ground beam with 4No. of Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 6.75 | Cm |  | 0
13 | RCC for Column bases as per drwaing specification of the gate | 0.6 | Cm |  | 0
14 | RCC Columns for Boundary wall gate | 1.28 | Cm |  | 0
15 | 400 x 250 x 50 mm thick RCC precast concrete weathered and throated column coping | 2.6 | Cm |  | 0
16 | WALLS
17 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
18 | 400 mm Thick foundation walls 800mm below ground level and 250mm above the ground level for boundary wall | 54.6 | Cm |  | 0
19 | WALLS
20 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
21 | 200 mm thick Hallow concrete block for boundary walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints the wall should be sealed from top with plain concrete. | 304.8 | SM |  | 0
22 | Plastering and Painting
23 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
24 | 200 mm Thick walls for Boundary wall =((130*2.5))m2 | 635 | M2 |  | 0
25 | Painting
26 | Prepare surfaces: apply three coats first grade 100% pure acrylic external paint as Dura coat or equal approved: to rendered surfaces
27 | Boundary wall.=((130*2.5*))m2 | 635 | M2 |  | 0
28 | ENTRANCE GATE
29 | Steel door: 50 x 50 x gauge 14 RHS edge frame: 40 x 40 x 3mm stiles: 40x 40 x gauge 14 RHS top, bottom and middle rail: 20 x 20 x gauge 14 RHS centre rails with and including glass and 16gauge black sheet pannel: one coat pre-fabrication primer and three coat gloss oil paint
30 | 3000 mm wide x 2400 mm high overall size double leafmild steel gate; 40 x 25 x 3 mm thick SHS internalmembers welded to 75 x 75 x 4 mm thick RHSframe;100 x 75 x 4mm RHS posts plugged on RCcolumn complete with fixing lugs and ironmongery andfixing accessories | 1 | No. |  | 0
31 | Supply and install 12 1/2 inche Gauge galvanized steel razor wire on top of 400mm diameter stretched firmly secured on top of the defensive barriers as per the details. | 127 | LM |  | 0
32 | Provide and Supply 60mm thick factory made cement concrete interlocking paver block of M-30 grade made by block making machine with strong vibratory compaction and of approved size and design/shape laid in required colour and pattern over and including 50 cm thick compacted of coarse sand, filling the joints with coarse sand etc.all complete as per direction of NIS Engineers. | 665.82 | M2 |  | 0
33 | Supply and fix central masonry flag post and two flag masts, as detailed on the architects drawings, flag mast must be made from rust proof metal size 120mm lower part and 80mm upper part, with sharp end finish. both Somali flag and State flag with white robe must included, 300x300 tiles on cement base with decorative insets. | 1 | item |  | 0
| TOTAL FOR BOUNDARY WALL |  |  |  | 0
TOILETS
1 | EARTHWORKS
2 | Excavate foundation trench average depth of 0.8mm for offices and meeting hall | 19.2 | Cm |  | 0
3 | CONCRETE |  |  |  | 0
4 | Insitu plain concrete class E (1:3:6): in |  |  |  | 0
5 | 50 mm Thick blinding: under foundation wall | 0.96 | Cm |  | 0
6 | Insitu reinforced concrete class 25 (20): in |  |  |  | 0
7 | 100 mm RCC with mesh fabric reinforcement A142 mesh Thick ground floor slab for the Toilets | 2.86 | Cm |  | 0
8 | Ground beam for toilet size of beam 400mmx150mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 2.88 | Cm |  | 0
9 | WALLS
10 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
11 | 400 mm Thick foundation walls 800mm below ground level and 250mm above the ground level for toilets | 20.16 | Cm |  | 0
12 | HARDCORE |  |  |  | 0
13 | 300 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for toilets | 8.58 | Cm |  | 0
14 | WALLS
15 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
16 | 200 mm Thick walls for toilets | 120.56 | Sm |  | 0
17 | SUPERSTRUCTURE Concrete
18 | Insitu reinforced concrete class 25 (20): in
19 | Reinforced Cement Concrete lintel beam of 200x100mm with 4 Y12 bars and linked with Y8 placed at 200 c/c distance for offices and meeting hall. The concrete mix is 1:2:4 ratio | 1.92 | Cm |  | 0
20 | Tie beam for roof supporting having size of 200x150mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 1.92 | Cm |  | 0
21 | ROOF (PROVISIONAL)
22 | Galvanised mild steel sheet: 28 gauge
23 | Supply and constuct roof for offices and meeting hall including truss members, galvanised iron sheets gauge 28 complete with nails, straps and secured with iron bars embedded into tie beam. The truss members, common rafters, gusset plates, struts, purlins and ceiling joists are in hard wood and of the following sections: 15x5cm - Tie beam (double), Rafter, 15x5cm - struts 8x4cm purlin with alumunium headed roof nails. a flat metal sheet should be enchored where trusses an purlins meet before covering the roof sheets. All trusses should be anchored with 6 mm bars casted into the roof lintels. spacing trusses @1.2m c/c maximum. 5x5cm ceiling joists. including Gutters and pipes for draining the rain water | 38.4744 | M2 |  | 0
24 | Construction of decorated ceiling board with a wooden frame with 5x5cm ceiling joists. | 28.6 | M2 |  | 0
25 | Construction of 20cm wide fascia board front face | 19.3 | LM |  | 0
26 | DOORS & WINDOWS |  |  |  | 0
27 | Wooden Doors |  |  |  | 0
28 | Supply and fix PVC framed doors , minimum 80mm thick size 800mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. For external toilets. | 6 | No. |  | 0
29 | Windows |  |  |  | 0
30 | Supply and fix PVC framed windows s, complete with shutters, fittings and wire mesh - Window size 800x800mm, apply two coats of anti-rust paint | 2.56 | No. |  | 0
31 | Ventallation blocks | 6 | M2 |  | 0
32 | FLOOR FINISHES |  |  |  | 0
33 | Cement and sand (1:4) screed: to hacked floors: in |  |  |  | 0
34 | 30mm thick finished to receive ceramic tiles | 37.72 | Sm |  | 0
35 | 400x400x8mm for floor,200 x 300 x 8 mm Approved first grade coloured non-slip ceramic floor tiles as 'Saj Ceramics' or other equal approved: to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
36 | To floors | 37.72 | Sm |  | 0
42 | To walls of the external toilets | 57.28 | Sm |  | 0
37 | WALL FINISHES |  |  |  | 0
38 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry |  |  |  | 0
39 | 200 mm Thick walls for toilets | 297.6 | Sm |  | 0
| Painting |  |  |  | 0
40 | Prepare surfaces: apply white wash and two finishing coats first grade silk vinyl emulsion paint: to as "Crown Solo" or other equal approved: to steel trowelled plastered surfaces |  |  |  | 0
41 | 200 mm Thick walls for all Toilets | 297.6 | Sm |  | 0
| sanitary appliances and plumbing works |  |  |  | 0
42 | Supply and a fix stand flush water closets having 5 liters flush and with all necessary fittings | 4 | Item |  | 0
43 | Supply and fix a flush water closets (Wc arab type) and with all necessary fittings | 2 | Item |  | 0
44 | Supply and fix wash hand basins with all necessary fittings | 6 | Item |  | 0
45 | Construct 600x600x600mm manhole for drainage, this include beddings and waste pipe connections with proper slope as per direction of site Engineer | 7 | Item |  | 0
46 | Supply and fix all Plumbing and Drainage Installations this Inclusive of all mechanical works like piping | 1 | Item |  | 0
47 | Septic Tanks (Two) |  |  |  | 0
48 | Excavation of septic tank hall 3m long, 3m wide and 2.5m depth. | 45 | Cm |  | 0
49 | Plain concrete in 50 mm thick blinding layer (1:3:6 mix) under the foundation wall. | 0.9 | Cm |  | 0
50 | Rubble stone wall in cement & sand mortar 1:4 of 40cm thick | 24 | Cm |  | 0
51 | R.C (1:2:4 mix) in ground beam (0.4m x0.20m ), with 6N0. Y14 re-bars & R6 links @ 250 mm c/c. | 1.92 | Cm |  | 0
52 | R.C (1:2:4 Mixing ratio) slab with two entering access of 0.20 m thick with Ø 12mm, 10mm and 8mm bars both ways at top and bottom and distanced 150mm each to other N.B The slab should be kept moist and watered for a period of minimum 3 weeks and protect from sun | 3.6 | Cm |  | 0
| TOTAL FOR TOILETS |  |  |  | 0
ELEVATED WATER TANK AND LOWER STORAGE
1 | EARTHWORKS
2 | Excavate column bases commencing from reduced level: not exceeding 1.5.m deep, for 4bases for water tank base ,( 1.2*1.2)m2 for the size of the base . | 8.64 | Cm |  | 0
3 | Return, fill and ram selected excavated material around foundations | 8.64 | Cm |  | 0
4 | CONCRETE |  |  |  | 0
5 | Insitu plain concrete class E (1:3:6): in |  |  |  | 0
6 | 50 mm Thick blinding: under column bases | 0.288 | Cm |  | 0
7 | Insitu reinforced concrete class 25 (20): in |  |  |  | 0
8 | RCC for Column bases as per drwaing specification | 3.456 | Cm |  | 0
9 | Columns below ground for water tannk | 0.576 | Cm |  | 0
| 300 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for toilets | 3.468 | Cm |  | 0
10 | SUPERSTRUCTURE |  |  |  | 0
11 | Insitu reinforced concrete class 25 (20): in |  |  |  | 0
12 | Columns for superstructure for water tannk((4*0.4*0.4*4))The concrete mix is 1:2:4 ratio | 2.56 | Cm |  | 0
13 | R.C.C. work (40*30)cm² for beam supporting the slab of the water tank with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including 3 numbers Y16mm dia at bottom and 3 y12 at top steel bars and 8mm stirrups @15cm centers including centering and shuttering complete. | 2.08 | Cm |  | 0
14 | 100 mm RCC with mesh fabric reinforcement A142 mesh Thick ground floor slab for thelower storage floor | 1.156 | Cm |  | 0
15 | R.C .C (1:2:4 Mixing ratio) slab for the water tank thickness of (0.15m*3.4m*3.4m) with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down,0.15 m thick with Ø 12mm bars both ways at top and bottom and c/c 150mm. | 1.734 | Cm |  | 0
16 | WALL FINISHES |  |  |  | 0
17 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry |  |  |  | 0
18 | Columns | 25.6 | Sm |  | 0
19 | beam of the water tank | 17.68 | Sm |  | 0
20 | Prepare surfaces: apply white wash and two finishing coats first grade silk vinyl emulsion paint: to as "Crown Solo" or other equal approved: to steel trowelled plastered surfaces |  |  |  | 0
21 | Columns | 25.6 | Sm |  | 0
22 | beam of the water tank | 17.68 | Sm |  | 0
23 | Plastic water tank of five Cubic meter capacity, inclusive of all required accessories and connections.including steel ladder for water tank | 1 | Item |  | 0
24 | LOWER STORAGE |  |  |  | 0
25 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints |  |  |  | 0
26 | Construct 200mm thick hallow concrete block wall of 1m high connecting the four columns of the tank | 1.6 | CM |  | 0
27 | Cement sand (1:4) screeds on the floor of storage tank | 4.84 | SM |  | 0
28 | Tie beam above hallow concrete wall of 200mmx150mm with 4 nos 10mm y-bars and 8mm dia sterrup 200mm c/c to hold bricks | 0.216 | CM |  | 0
29 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry |  |  |  | 0
30 | 200mm thick hallow concrete wall of lower storage | 16 | SM |  | 0
31 | Construct roof truss with 28 guage iron sheet over the lower storage, with observation opening on top | 37.674 | SM |  | 0
32 | Steel ladder for climbing the water tank | 1 | LS |  | 0
| TOTAL FOR WATER TANK |  |  |  | 0
DC office Furniture
No | Description | Quantity | Unit | Est price per unit | Est Total price
1 | Office Desks for DC office Lshape 1.5m | 4 | Pcs |  | 0
2 | Office filing shelves | 4 | Pcs |  | 0
3 | Office Roll-on chairs for DC office L shape | 4 | Pcs |  | 0
4 | Filing cabinet | 3 | Pcs |  | 0
5 | Office visitors chairs | 8 | Pcs |  | 0
7 | Round meeting table 2.4m long for DC office | 2 | Pcs |  | 0
8 | Meeting chairs | 50 | Pcs |  | 0
| Transportation Goods from Mogadishu to Ceeldher | 1 | Pcs |  | 0
| Grand Total |  |  |  | 0
Cost Estimation Of construction DC office Building in Ceeldheer District, Galmudug Somalia.
ITEM | SUMMARY -BILL OF QUANTITY |  |  |  | AMOUNT (USD)
1 | DC OFFICE |  |  |  | 0
2 | BOUNDARY WALL |  |  |  | 0
3 | TOILETS |  |  |  | 0
4 | ELEVATED WATER TANK AND LOWER STORAGE |  |  |  | 0
5 | DC office Furniture |  |  |  | 0
| GRAND TOTAL |  |  |  | 0

## Sheet1
31
12.5 | 14.4 | B.wall LM | Lm for offices |  | Toilets LM
45.6 | 5.8 | 130 | 24.4
13.6 | 20.2 |  | 30 |  | 13.8
7.6 |  |  | 13.8 |  | 8.2
6.8 |  |  | 15.2 |  | 2
11 |  |  | 5.2 |  | 48
13.8 |  |  | 1.8
|  |  | 9 |  | Area
|  |  | 7.6 |  | 6.3
4.8 |  |  | 6 |  | 8
1.8 |  |  | 113 | offices | 28.6
12 |  |  | 2
8.2 |  |  | 8.2
1.8 |  |  | 10
170.5 |  |  | 2
skirting | 150.3 |  | 1.8
|  |  | 24 | veranda
|  |  | 137 | Total Lm
Area
90.58
43.32
25.84
2.88
57
|  |  | 219.62 | offices
6.84
3.6
|  |  | 10.44 | internal toilets
|  |  | 230.06 | Total internal area
15.5
24.5
9.3
6.3
2
9.7
8.21
8.51
|  |  | 84.02 | apron slab