## BoQ DC Office -BUUHOODLE
Project: 2522307
Donor: RNE/SDC
Title: | Cost Estimation for the Construction of DC offices in Buuhoodle district
Item | Description | Qty | Unit | Rate | Amount (USD)
DC OFFICE
1 | SUBSTRUCTURES (ALL PROVISIONAL)
2 | Clear site off all vegetation including small trees, scrubs and bushes: removal of existing berked (5m long x 4m width x3m deep) and refill selected material up to surface level and compact it | 1 | LM |  | 0
3 | EARTHWORKS
4 | Excavate foundation trench strip footing average depth of 1m for offices and meeting hall | 109.6 | Cm |  | 0
5 | Excavate footings for column 1x1m for 1.2m depth | 30 | Cm |  | 0
6 | CONCRETE
7 | Reinforced Concrete with a ratio of 1:2:4 mix in column footings (0.8m x0.8mx0.2m), with Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 4 | Cm |  | 0
8 | Reinforced Concrete with a ratio of 1:2:4 mix for strip footing (0.6m x137mx0.25m), with Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 20.55 | Cm |  | 0
9 | Insitu plain concrete class E (1:3:6): in
10 | 50 mm Thick blinding: under foundation wall strip footing and column bases | 4.91 | Cm |  | 0
11 | Insitu reinforced concrete class 25 (20): in |  |  |  | 0
12 | Ground beam for offices and meeting Hall room size of beam 400mmx150mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 8.22 | Cm |  | 0
13 | RCC Slab of 100mm thick with mesh fabric reinforcement A142 mesh Thick ground floor slab and the meeting hall stage | 25.7 | Cm |  | 0
14 | WALLS
15 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
16 | 400 mm Thick foundation walls 750mm below ground and 450 above the ground level for offices and meeting Hall | 65.76 | Cm |  | 0
17 | Construct stone wall for steps at the two entrances,and public toilets,Raised Stage, stage entrance) construct 450mm stone wall below ground and 450mm above the ground, build the steps from stone, each step to have 30mm thick flat stone step treat with 30mm nosing. Price includeds sand fill, 150mm hardcore base for capping ground slab Type jointed and bedded in gauged mortar (1:3 ) Combined area for front including disable ramp | 3.2 | Cm |  | 0
18 | HARDCORE
19 | 500 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for meeting hall,offices room and 150mm thick for the stage | 117.7 | Cm |  | 0
20 | WALLS
21 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
22 | 200 mm Thick walls offices & Meeting hall and gable wall | 357.68 | Sm |  | 0
23 | Super structure Concrete
24 | Insitu reinforced concrete class 25 (20): in
25 | Reinforced Concrete columns with a ratio of 1:2:4 mix for offices (0.2mx0.2m), with 4N0. Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 3.096 | Cm |  | 0
26 | Reinforced Concrete circular columns dia 200mm with a ratio of 1:2:4 mix with 6N0. Y12 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork for verandah of the DC office | 0.94514 | Cm |  | 0
27 | Reinforced Cement Concrete lintel beam of 200x200mm with 4 Y12 bars and linked with Y8 placed at 200 c/c distance for offices and meeting hall. The concrete mix is 1:2:4 ratio including sunshad window concrete | 4.92 | Cm |  | 0
28 | Tie beam for upper and lower roof supporting having size of 200x200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 5.96 | Cm |  | 0
29 | RCC coping beam for verandah supporting columns having size of 200x200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c and | 0.96 | Cm |  | 0
30 | ROOF (PROVISIONAL)
31 | Galvanised mild steel sheet: 28 gauge
32 | Supply and constuct roof for offices and meeting hall including truss members, galvanised iron sheets gauge 28 complete with nails, straps and secured with iron bars embedded into tie beam. The truss members, common rafters, gusset plates, struts, purlins and ceiling joists are in hard wood and of the following sections: 15x5cm - Tie beam (double), Rafter, 15x5cm - struts 8x4cm purlin with alumunium headed roof nails. a flat metal sheet should be enchored where trusses an purlins meet before covering the roof sheets. All trusses should be anchored with 6 mm bars casted into the roof lintels. spacing trusses @1.2m c/c maximum. 5x5cm ceiling joists. including Gutters and pipes for draining the rain water pipes | 278.12 | M2 |  | 0
33 | Supply and fix rectangular white Amstrong ceiling boards, size 600x600x15mm on 15mm shadow gap white frame. Corridors must have acoustic ceiling boards including the fram holding | 230.06 | M2 |  | 0
34 | Construction of 20cm wide fascia board front face | 86.02 | LM |  | 0
35 | DOORS & WINDOWS
36 | Doors
37 | Supply and fix solid imported wood doors ,solid wood minimum 40mm thick size900mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. Doors must be fitted with self closing hydrolic piston all must be comply with secure vy design and international standard. | 7 | No. |  | 0
38 | Supply and fix solid imported wood doors ,solid wood minimum 40mm thick size 1200mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. Doors must be fitted with self closing hydrolic piston all must be comply with secure vy design and international standard. for the meeting hall | 2 | No. |  | 0
39 | Supply and fix pvc framed doors ,solid wood minimum 80mm thick size 800mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 2 hinges. For offices toilets | 1 | No. |  | 0
40 | WINDOWS
41 | Supply and fix 12 aluminum windows PVC framed windows, the window to have 2 leafs opening inwards,.he windows must have 200mm vertical window handle.security grills for all windows- Window size 1500x1200mm, | 21.6 | Sm |  | 0
42 | Supply and fix 2 aluminum windows PVC framed, the alumunium window to have 2 leafs opening inwards,.the windows must have 200mm vertical window handle.security grills for all windows- Window size 600x600mm, for the toilets | 0.72 | Sm |  | 0
43 | FLOOR AND WALL FINISHES
44 | Cement and sand (1:4) screed: to hacked floors: in
45 | Cement sand (1:4) screeds on the floor
46 | 30mm thick finished to receive ceramic tiles | 255 | Sm |  | 0
47 | 400 x 400 x 8 mm Approved first grade coloured non-slip ceramic floor tiles as 'Saj Ceramics' or other equal approved: to regular pattern: colour to architect's scheme: grouting joints in matching cement: in
48 | To floors | 255 | Sm |  | 0
49 | Skirting | 150.3 | Lm |  | 0
50 | To walls of the Toilets of DC offices | 34.24 | Sm |  | 0
51 | WALL FINISHES
52 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
53 | 200 mm Thick walls offices and meeting hall | 715.36 | Sm |  | 0
54 | PAINTING
55 | All external and internal walls to be prepared for painting, walls must be filled, sanded before applying painting. Apply one undercoat white emulsion paint primer sealer, and 2 coats of finish coats on all internal walls and internal walls. Note: External walls should receive 3 coats of external use paint. All paint works if stained must be washable. | 715.36 | Sm |  | 0
56 | ELECRICAL WORKS FOR MAIN BUILDING AND SCREENING ROOM
57 | Lighting - Lighting points wired in 3x2.5 mm2 PVC/SC CU cables drawn in 20 mm Ǿ concealed HG PVC conduits complete with all necessary accessories
58 | Energy Saving 120 w Grille Surface Mounted LED Light Panel (60x60cm, Warm White) | 19 | Pcs |  | 0
59 | Round LED surface mounting Light 36W Slim | 12 | Pcs |  | 0
60 | Round LED surface mounting Light 20W Slim | 8 | Pcs |  | 0
61 | 200W LED Flood Light,Super Bright Security Lights,6000K White Light IP66 Waterproof Outdoor Flood Light | 4 | Pcs |  | 0
62 | One gang one-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 15 | Pcs |  | 0
63 | One gang two-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 1 | Pcs |  | 0
64 | Two gang one-way switching 10 A, 250 V~, 300mm from edge of the door at 1350mm from finish floor | 8 | Pcs |  | 0
65 | Receptacle- Socket outlet power points wired in 3 x 2.5mm2 PVC/SC copper cables drawn in 20mm Ø concealed HG PVC conduits including all conduit accessories
66 | Receptacle, 13 A Twin switched | 27 | Pcs |  | 0
67 | PEDROLLO water pump 0.75kW HF51A | 1 | Pcs |  | 0
68 | Ceiling fans - Ceiling fans points wired in 3 x 4 mm2 PVC/SC copper cables drawn in 20mm Ø concealed HG PVC conduits including all conduit accessories
69 | Ceiling fans to have separate switches, and grouped in 2 groups, fans must have minimum 3 blades, Fan airflow to be minimum 400-CFM, WHITE COLOUR, 5 Number of Speeds register | 10 | PCs |  | 0
70 | Air-condition units each 18-BTU, units to be fitted on 450mm height base as indicated on the plans, all pipes and cable must be hidden in the wall, the Air-con switch must be flush with the wall | 1 | pcs |  | 0
71 | Supply and install wiring to Air con on the ceiling wired in 3 x 4 mm² PVC Single Core cables in ring circuit and drawn in wall mounted heavy gauge PVC or steel trunking for the main building | 1 | lms |  | 0
72 | Cable Feeder
73 | Cu/PVC/FSWA/PVC Cable 3c x 2.5 sq.mm | 350 | m |  | 0
74 | Cu/PVC/FSWA/PVC Cable 3c x 4 sq.mm | 100 | m |  | 0
75 | Cu/PVC/FSWA/PVC Cable 4c x 4 sq.mm | 60 | m |  | 0
76 | Cu/PVC/FSWA/PVC Cable 4 x 16 sq.mm including energy meter and grid connection | 100 | m |  | 0
77 | Cu/PVC/FSWA/PVC Cable 4c x 10 sq.mm | 200 | m |  | 0
78 | Distribution Board
79 | Wall mounted LV panel with mild steel spray painted located at the switch room, constructed from HG,shall be complete & housing the following:- 380 V 3phase, 50 HZ with Volt meter, Hzmeter, Ampere meter and RST with 2A fuse MCCB 4x32A(1Pcs) RCCB 4x32(1Pcs) RCCB 4x25(3Pcs) MCB 2P 10 A (8 Pcs) MCB 2P 16 A (16 Pcs) | 1 | Unit |  | 0
80 | Data / Internet
81 | WIFI units for the dining hall and one for the employees. | 1 | PCs |  | 0
82 | WIFI units connecting cables | 1 | Meter |  | 0
83 | UTP CAT6 flush mounted single outlet T ( WITH RJ11 JACK ) | 1 | PCs |  | 0
84 | Cat.6 UTP 23AWG Cable, LSZH, (Grey) | 50 | Meter |  | 0
85 | 1 meter Cat.6 UTP LSZH Patch cord, (Grey) | 1 | Pcs |  | 0
86 | 8 port POE switch | 1 | Pcs |  | 0
87 | 4 CORE SM F/O (including fiber termination) | 100 | Meter |  | 0
| TOTAL FOR DC OFFICE |  |  |  | 0
BOUNDARY WALL total length of 114m
1 | SUBSTRUCTURES (ALL PROVISIONAL)
2 | EARTHWORKS
3 | Excavate foundation trench average depth of 1m for boundary wall | 91.2 | Cm |  | 0
4 | Excavate column bases commencing from reduced level: not exceeding 1.5.m deep, 2 bases for boundary wall gate columns ,( 1*1)m2 | 3.38 | Cm |  | 0
5 | HARDCORE
6 | 3000mm thick Selected Murrum soil with stones filling under ground water tank size 5mx 4m x 3m of approved material in making up levels spread, well rammed | 60 | Cm |  | 0
7 | 150 mm Selected Murrum soil filling of approved inert material in making up spread, leveled, well rammed for the landscape area inside the compound | 82.5 | Cm |  | 0
8 | CONCRETE
9 | Insitu plain concrete class E (1:3:6): in
10 | Insitu reinforced concrete class 25 (20): in
11 | 50 mm Thick blinding: under column bases and foundation wall | 2.38 | Cm |  | 0
12 | Reinforced Concrete with a ratio of 1:2:4 mix for strip footing (0.6m x114mx0.25m), with Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 17.1 | Cm |  | 0
13 | Ground beam for boundary wall size of beam 400mmx200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 9.12 | Cm |  | 0
14 | RCC Columns for the boundary wall (0.2mx0.2m) resting on the ground beam with 4No. of Y14 bars & R8 links @ 200 mm c/c. including reinfocement bars and formwork | 6.75 | Cm |  | 0
15 | RCC for Column bases as per drwaing specification of the gate | 0.5 | Cm |  | 0
16 | RCC Columns for Boundary wall gate | 1.28 | Cm |  | 0
17 | RCC coping beam for boundary wall | 2.28 | Cm |  | 0
18 | WALLS |  |  |  | 0
19 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
20 | 400 mm Thick foundation walls 800mm below ground level and 250mm above the ground level for boundary wall | 47.88 | Cm |  | 0
21 | WALLS
22 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
23 | 200 mm thick Hallow concrete block for boundary walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints the wall should be sealed from top with plain concrete. | 285 | SM |  | 0
24 | Plastering and Painting
25 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
26 | 200 mm Thick walls for Boundary wall =((114*2.5))m2 | 570 | SM |  | 0
27 | Painting
28 | Prepare wall render and apply three coats of weather resistant external paint to
29 | Boundary wall.=((114*2.5*))m2 | 570 | SM |  | 0
30 | ENTRANCE GATE
31 | Steel door: 50 x 50 x gauge 14 RHS edge frame: 40 x 40 x 3mm stiles: 40x 40 x gauge 14 RHS top, bottom and middle rail: 20 x 20 x gauge 14 RHS centre rails with and including glass and 16gauge black sheet pannel: one coat pre-fabrication primer and three coat gloss oil paint
32 | 3000 mm wide x 2400 mm high overall size double leafmild steel gate; 40 x 25 x 3 mm thick SHS internalmembers welded to 75 x 75 x 4 mm thick RHSframe;100 x 75 x 4mm RHS posts plugged on RCcolumn complete with fixing lugs and ironmongery andfixing accessories | 1 | No. |  | 0
33 | Supply and install 12 1/2 inche Gauge galvanized steel razor wire on top of 400mm diameter stretched firmly secured on top of the defensive barriers as per the details. | 114 | LM |  | 0
34 | Provide and Supply 80mm thick factory made cement concrete interlocking paver block of M-30 grade made by block making machine with strong vibratory compaction and of approved size and design/shape laid in required colour and pattern over and including 5 cm thick compacted of coarse sand, filling the joints with coarse sand etc.all complete as per direction of NIS Engineers. | 516.04 | M2 |  | 0
35 | Supply and fix central masonry flag post and two flag masts, as detailed on the architects drawings, flag mast must be made from rust proof metal size 120mm lower part and 80mm upper part, with sharp end finish. both Somali flag and State flag with white robe must included, 300x300 tiles on cement base with decorative insets. | 1 | item |  | 0
| TOTAL FOR BOUNDARY WALL |  |  |  | 0
Screening Room
1 | EARTHWORKS
2 | Excavate foundation trench average depth of 0.8mm for Screening room | 5.04 | Cm |  | 0
3 | CONCRETE
4 | Insitu plain concrete class E (1:3:6): in
4.1 | 50 mm Thick blinding: under foundation wall | 0.18 | Cm |  | 0
5 | Insitu reinforced concrete class 25 (20): in
6 | 100 mm RCC with mesh fabric reinforcement A142 mesh Thick ground floor slab for the screening room | 0.9 | Cm |  | 0
7 | Ground beam size of beam 400mmx200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 0.72 | Cm |  | 0
8 | WALLS
9 | Natural stone walls as approved: irrugular shape : bedded and jointed in cement sand (1:3) mortar: to
10 | 400 mm Thick foundation walls 800mm below ground level and 250mm above the ground level | 3.78 | Cm |  | 0
11 | HARDCORE
12 | 350 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for screening room | 3.15 | Cm |  | 0
13 | WALLS
14 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
15 | 200 mm Thick walls | 27 | Sm |  | 0
16 | SUPERSTRUCTURE Concrete
17 | Insitu reinforced concrete class 25 (20): in
18 | Reinforced Cement Concrete lintel beam of 200x100mm with 4 Y12 bars and linked with Y8 placed at 200 c/c distance for screening room. The concrete mix is 1:2:4 ratio | 0.36 | Cm |  | 0
19 | Tie beam for roof supporting having size of 200x200mm with 4 nos 12mm y-bars and 8mm dia sterrup 200mm c/c | 0.36 | Cm |  | 0
20 | ROOF (PROVISIONAL)
21 | Galvanised mild steel sheet: 28 gauge
22 | Supply and constuct roof including truss members, galvanised iron sheets gauge 28 complete with nails, straps and secured with iron bars embedded into tie beam. The truss members, common rafters, gusset plates, struts, purlins and ceiling joists are in hard wood and of the following sections: 15x5cm - Tie beam (double), Rafter, 15x5cm - struts 8x4cm purlin with alumunium headed roof nails. a flat metal sheet should be enchored where trusses an purlins meet before covering the roof sheets. All trusses should be anchored with 6 mm bars casted into the roof lintels. spacing trusses @1.2m c/c maximum. 5x5cm ceiling joists. including Gutters and pipes for draining the rain water | 10.35 | M2 |  | 0
23 | Construction of decorated ceiling board with a wooden frame with 5x5cm ceiling joists. | 9 | M2 |  | 0
24 | Construction of 20cm wide fascia board front face | 9 | LM |  | 0
25 | DOORS & WINDOWS
26 | Wooden Doors
27 | Supply and fix solid imported wood doors ,solid wood minimum 40mm thick size900mm wide and 2.100mm height with stainless steel doorhandls locks and hinges, each door most have 3 hinges. Doors must be fitted with self closing hydrolic piston all must be comply with secure vy design and international standard. | 1 | No. |  | 0
Steel Door consisting of 1.2mm galvanized steel sheets on both sides, with corrosion resistance and primer paint, 40mm internal honeycomb or fire-rated mineral wool core for insulation, 1.5mm steel frame and subframe, with reinforcements at hardware locations, All necessary hardware: hinges, locks, handles, closers, as per specifications,
28 | Supply and install 900 x 2400 mm high pedestrian gate with rust proof black paint 3 coats of paint to be applied on all metal works complete with all fittings, hinges, locks and keys | 1 | No. |  | 0
29 | Windows |  |  |  | 0
30 | Supply and fix metal windows in metal frames, complete with shutters, fittings and wire mesh - Window size 800x800mm, apply two coats of anti-rust paint | 1 | No. |  | 0
31 | Ventallation blocks | 0.96 | M2 |  | 0
32 | FLOOR FINISHES |  |  |  | 0
33 | Cement and sand (1:4) screed: to hacked floors: in |  |  |  | 0
34 | 30mm thick finished to receive ceramic tiles | 9 | Sm |  | 0
35 | 400 x 400 x 8 mm Approved first grade coloured non-slip ceramic floor tiles as 'Saj Ceramics' or other equal approved: to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
36 | To floors | 9 | Sm |  | 0
37 | WALL FINISHES |  |  |  | 0
38 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry |  |  |  | 0
39 | 200 mm Thick walls for screening room | 54 | Sm |  | 0
40 | Prepare surfaces: apply white wash and two finishing coats first grade silk vinyl emulsion paint: to as "Crown Solo" or other equal approved: to steel trowelled plastered surfaces |  |  |  | 0
41 | 200 mm Thick walls for screening room | 54 | Sm |  | 0
| TOTAL FOR SCREENING ROOM |  |  |  | 0
TOILETS
SUBSTRUCTURES
(All provisional)
Site Preparation
A | Clear site of all bushes, shrubs and grub up roots and remove from site | 24.4 | SM |  | 0
Excavations & Earthworks
B | Excavation columns to reduce levels depth not exceeding 1200mm deep | 3.528 | CM |  | 0
C | Excavation for strip foundation commencing at reduced levels depth not exceeding 1.5M deep | 25.368 | CM |  | 0
Disposal of excavated material
E | Fillings aroundfdn: backfill and compact in 150 mm layers: selected excavated materials | 5.07 | CM |  | 0
F | Remove surplus spoil from site to an authorized dumping site | 20.298 | CM |  | 0
Planking and strutting
G | Planking and strutting to sides of all excavations: keep excavations free from all falling materials | 1 | ITEM |  | 0
Disposal of Water
H | Keep excavations free from all water including spring, underground and running water. | 1 | ITEM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
Hardcore Filling
A | 300mm thick fillings in making up levels: levelled and compacted in 150 mm layers | 3.696 | CM |  | 0
Murram
B | 50mm Thick murram blinding to surfaces of hardcore | 0.616 | CM |  | 0
Insecticide treatment
Chemical anti-termite treatment, executed complete by an approved specialist under a ten-year guarantee,to surfaces of hardcore and vertical sides of excavated surfaces
C | To murram surface | 12.32 | SM |  | 0
Concrete Work
Insitu concrete mix (1:4:8): in
D | 50 mm thick blinding under foundations | 0.863 | CM |  | 0
Insitu reinforced concrete: CLASS 25 vibrated in:-
| Strip footing | 4.53 | CM |  | 0
E | Ground Beam | 2.416 | CM |  | 0
F | Columns | 0.312 | CM |  | 0
G | Floor bed 125 mm thick | 17.34 | SM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
Reinforcement ( Provisional ) Supply and fix steel bar reinforcement including bending, hooking, tying wire, cutting, spacers and supporting all in position
A | BRC Fabric mesh reinforcement Ref. A193 with 200 mm laps (measured net ; no allowances made for laps) to basement floor bed | 17.34 | SM |  | 0
Marine board formwork: to
B | Edges: slab not exceeding 150 mm girth | 17 | LM |  | 0
C | Sides of foundation | 12.08 | SM |  | 0
D | Sides of columns | 3.84 | SM |  | 0
Damp proof membrane
E | 1000 gauge polythene laid under surface beds | 30.2 | SM |  | 0
Walling
Natural stone walling in cement and sand (1:3) mortar and including reinforcing with 20 x 3mm thick hoop iron in every alternate course.
F | 400mm Thick walling | 13.892 | CM |  | 0
Insitu Finishings
G | 14mm thick 2 No. coatwork cement sand (1:3) render; wood floated to concrete or blockwork base to walls; external | 5.7 | SM |  | 0
Painting and Decorations
Prepare and apply three coats bituminous paint to:
H | Wood floated rendered plinths over 300mm girth | 5.7 | SM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
SUBSTRUCTURES
| Brought Forward From Page TS/1 |  |  |  | 0
| Brought Forward From Page TS/2 |  |  |  | 0
| Brought Forward From Page TS /3 |  |  |  | 0
| TOTAL SUBSTRUCTURE CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.2
REINFORCED CONCRETE SUPERSTRUCTURES
Insitu reinforced concrete: grade 25 : vibrated including reinforcement bars and formwork:-
A | Beams | 2.416 | CM |  | 0
B | Columns | 0.72 | CM |  | 0
| TOTAL REINFORCED CONCRETE SUPERSTRUCTURES CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 3
EXTERNAL AND INTERNAL WALLING
Approved Hollow blocks; squared ; hand dressed one side to Zero joint; bedding, jointing in cement and sand mortar (1:4);including reinforcing with hoop iron in every alternative course
A | Walls 200 mm thick | 75.57 | SM |  | 0
Damp Proof Course
Damp proof course : bituminous felt : bedded in cement and sand mortar (1:3) : 300 mm laps ( measured net-no allowance for laps)
B | Horizontal: 200 mm wide | 25.8 | LM |  | 0
| TOTAL EXTERNAL WALLING CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4
ROOFING CONSTRUCTION, COVERING AND RAIN WATER DISPOSAL
Galvanised mild steel sheet: 28 gauge
A | Supply and constuct roof including truss members, galvanised iron sheets gauge 28 complete with nails, straps and secured with iron bars embedded into tie beam. The truss members, common rafters, gusset plates, struts, purlins and ceiling joists are in hard wood and of the following sections: 15x5cm - Tie beam (double), Rafter, 15x5cm - struts 8x4cm purlin with alumunium headed roof nails. a flat metal sheet should be enchored where trusses an purlins meet before covering the roof sheets. All trusses should be anchored with 6 mm bars casted into the roof lintels. spacing trusses @1.2m c/c maximum. 5x5cm ceiling joists. including Gutters and pipes for draining the rain water | 25.116 | SM |  | 0
Truss Type 1
Wrot cypress as described
H | 250X25mm fascia board & Burge board | 19 | LM |  | 0
RAINWATER DISPOSAL
PVC Fixtures
I | 150 x 100mm pvc gutter gutter including soldered joints in the running length fixed to fascia board with and including brackets at approved centers | 19 | LM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
A | 100mm dia. rainwater downpipe fixed with and including mild steel straps at 900mm centres, plugged and screwed to wall | 12.4 | LM |  | 0
B | Extra; swanneck bend with 1135mm projection | 4 | No. |  | 0
C | Extra; horse shoe bend | 4 | No. |  | 0
Painting and Decorations
On Woodwork
Prepare and apply one zinc plumbate primer and three coats of premium quality super gloss oil paint to:-
D | Fascias; 200 to 300mm girth; external | 19 | LM |  | 0
On Metal work
E | Gutters | 19 | SM |  | 0
F | Down pipes: 100mm diameter | 12.4 | LM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
COLLECTION
| From page TS / 08 |  |  |  | 0
| From page TS/ 09 |  |  |  | 0
| TOTAL FOR ROOF CONSTRUCTION. |  |  |  | 0
ELEMENT NO. 5
DOORS
A | Imported solid panel door leaf size 900 x 2100 mm overall (Mahogany Veneered) | 2 | NO. |  | 0
B | Imported solid panel door leaf size 1000 x 2100 mm overall (Mahogany Veneered) | 1 | NO. |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
COLLECTION
| From page TS / 11 |  |  |  | 0
| TOTAL FOR DOORS CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 6
WINDOWS
Standard windows casements complete with hinges, stays, fasteners, permanent vent with mosquito gauze ,net,and sheet metal hood etc assembled and fixed to opening including cutting and pinning lugs to concrete or blockwork surround and bedding frame in cement and sand mortar (1 :4) (Grille and Glazing included)
A | 3 Window, overall size 800 x 600mm high including Glazing(4mm Thick one way sheet glass panes over 0.1 but not exceeding 0.5 square meters; fixing with putty) | 1.44 | Sm |  | 0
B | 2 Window, overall size 600 x 600mm high including Glazing(4mm Thick one way sheet glass panes over 0.1 but not exceeding 0.5 square meters; fixing with putty) | 0.72 | Sm |  | 0
| CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 7
FINISHES
Wall finishes
Insitu finishes
Plaster; 18mm thick, 2 No. coatwork, 15mm first coat of cement sand (1:3); 3mm second coat of cement and lime putty (1:9); steel trowelled to concrete or blockwork base generally to walls
A | Walls | 151.14 | SM |  | 0
B | Ditto; beams and columns | 120.8 | SM |  | 0
Prepare and apply three coats of premium quality silk vinyl paint to:-
C | To wall, beam and column surfaces | 236.3 | SM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
Floor finishes
A | 6mm thick; butt joints straight both ways; to cement sand base (m/s) to floor | 20.74 | SM |  | 0
Floor Tiles.
Supply and fix approved 330x330x8mm ceramic floor tiles including approved adhesive, spacers and grouting:-
B | 330 x 330 x 8mm thick to floors. | 20.74 | SM |  | 0
C | Ditto to 100mm high skirtings | 14.8 | LM |  | 0
Wall tiles
Supply and fix approved 250x200 ceramic wall tiles fixed to rendered backing, including approved adhesive, grouting, spacers and edge strips internally as necessary to:-
D | 250 x 200 x 6mm thick to walls | 35.64 | SM |  | 0
Ceiling finishes
armstrong ceiling tiles
E | Supply and install 60x60cm PVC ceiling | 17.34 | SM |  | 0
| CARRIED TO COLLECTION |  |  |  | 0
COLLECTION
| From page TS / 15 |  |  |  | 0
| From above |  |  |  | 0
| TOTAL FOR FINISHES CARRIED TO SUMMARY |  |  |  | 0
8 | ElECTRICAL WORKS (WASHROOMS)
Distribution boards and Consumer Units
1 | 4 Way flush mounted Consumer unit at Washrooms complete with integral isolator as Schneider or equivalent and approved by the Engineer as per drawing. To contain to a minimum the following:- | No | 1 |  | 0
2 | 10A SP MCB | No | 1 |  | 0
3 | ii) 32A SP MCB | No | 3 |  | 0
POWER DISTRIBUTION CABLES AND CONTROLS
4 | b) 3C x 6 sq mm cable from meter board to Washrooms C.U | LM | 126 |  | 0
5 | a) Supply and install using 3 x 1.5mm2 single core PVC insulated Copper cables drawn in concealed 20mm diameter PVC heavy gauge for one way switching including fixing accessories. | No | 3 |  | 0
6 | b) Supply and install 16.5W, 1800lm,6500K, IP65 LED 4ft flourescent fitting c/w Drivers as Philips smartbright waterproof G3 WT068C | No | 3 |  | 0
7 | c) Supply and install 12W,1200lm, IP20, 4000k, 150mm diameter Recessed LED Ceiling Lamp, Cool White as Philips Essential smartbright | No | 3 |  | 0
8 | h) 10A flash plate switch as schneider or equivalent and approved by Engineer as following:-
9 | i) One gang One Way | No | 3 |  | 0
| TOTAL FOR ELECTRICAL CARRIED TO SUMMARY |  |  |  | 0
9 | Element 9 SANITARY FITTINGS & ACCESSORIES
1 | Supply, deliver, install, test and commission the following sanitary appliances complete with all the accessories including all connections to the services, waste, jointing to water supply overflows, supports and all plugging and screwing to walls and floors.
2 | Water Closet Duravit
3 | “DURAVIT D CODE" 'Vitreous China' floor standing, close coupled water closet. Pan to be in white, with horizontal outlet and with soft closing heavy-duty seat and cover, complete with metal hinges. Cistern to be a 9l ceramic cistern. or an approved equivalent. | No. | 2 |  | 0
4 | Supply and fix a flush water closets (Wc arab type) and with all necessary fittings | No | 2 |  | 0
5 | Wash Hand basin
6 | DURAVIT "D-CODE" COUNTERTOP VANITY BASIN in white vitreous china, with one tap hole No. #033754000. Complete with chrome plated waste outlet fittings; and chrome plated bottle P trap with extension piece to the wall, single lever 1/2"pillar tap or equal and approved. | No | 5 |  | 0
7 | Toilet Roll Holder
8 | Twyfords No. PB0205SI anti-theft toilet roll holder in satin aluminium SI, SCREWED to the wall or equal and approved. | No. | 5 |  | 0
9 | Mirrors
10 | 6mm thick polished plate glass silver backed mirror with bevelled edges, size 610 x 610mm, Plugged and screwed to wall with 4No. chrome plated dome capped screws. The mirror shall rest against a layer of 5mm thick foam. | No. | 5 |  | 0
11 | Arabic shower
12 | Hand shower (Arabian Shower) unit. Complete with flexible hose, angle valve, shower head and any other necessary fittings for complete installation, As Docol Or equal and approved. | No. | 2 |  | 0
13 | Disability (PWD) Washroom
12 | Supply and install twyford disable water closet set complete with wat closet pan, cistern, seat and cover, wash hand basin, lever tap as cobi and grab rails Ref.Doc.M plus park PK8174WF include Long neck tap Long neck quarter turn bib tap as Vado,Flexible Tubing (15mm diameter x 300mm long flexible connectors ),Angle Valve (Chrome plated angle valve. To be as Vado or equal and approved.) | No. | 1 |  | 0
13 | Construct 600x600x600mm manhole for drainage, this include beddings and waste pipe connections with proper slope as per direction of site Engineer | Item | 7 |  | 0
14 | PLUMBING - WATER SUPPLY SYSTEM-DRAINAGE INSTALLATION
15 | Supply and fix all Plumbing and Drainage Installations this Inclusive of all mechanical works for main offices and all washrooms | Item | 1 |  | 0
16 | Septic Tanks (Two)
17 | Excavation of septic tank hall 3m long, 3m wide and 2.5m depth. | Cm | 45 |  | 0
18 | Plain concrete in 50 mm thick blinding layer (1:3:6 mix) under the foundation wall. | Cm | 0.9 |  | 0
19 | Rubble stone wall in cement & sand mortar 1:4 of 40cm thick | Cm | 24 |  | 0
20 | R.C (1:2:4 mix) in ground beam (0.4m x0.20m ), with 6N0. Y14 re-bars & R6 links @ 250 mm c/c. | Cm | 1.92 |  | 0
21 | R.C (1:2:4 Mixing ratio) slab with two entering access of 0.20 m thick with Ø 12mm, 10mm and 8mm bars both ways at top and bottom and distanced 150mm each to other N.B The slab should be kept moist and watered for a period of minimum 3 weeks and protect from sun | Cm | 3.6 |  | 0
| TOTAL Sanitary appliances and plumbing works |  |  |  | 0
SUMMARY
ELEMENT NO. TITLE |  |  | PAGE NO.
1 | SUBSTRUCTURE (ALL PROVISIONAL) |  | WS/ 3 |  | 0
2 | REINFORCED CONCRETE SUPERSTRUCTURE |  | WS/ 4 |  | 0
3 | EXTERNAL WALLING |  | WS/ 5 |  | 0
4 | ROOF CONSTRUCTION. |  | WS/ 8 |  | 0
5 | DOORS |  | WS/ 10 |  | 0
6 | WINDOWS |  | WS/ 11 |  | 0
7 | FINISHES |  | WS/ 13 |  | 0
8 | ElECTRICAL WORKS (WASHROOMS) |  |  |  | 0
9 | SANITARY FITTINGS & ACCESSORIES |  |  |  | 0
| TOTAL FOR WASH ROOMS CARRIED TO SUMMARY |  |  |  | 0
ELEVATED WATER TANK AND LOWER STORAGE
1 | EARTHWORKS
2 | Excavate column bases commencing from reduced level: not exceeding 1.5.m deep, for 4bases for water tank base ,( 1.2*1.2)m2 for the size of the base . | 13.5 | Cm |  | 0
3 | Return, fill and ram selected excavated material around foundations | 13.5 | Cm |  | 0
4 | CONCRETE
5 | Insitu plain concrete class E (1:3:6): in
6 | 50 mm Thick blinding: under column bases | 0.288 | Cm |  | 0
7 | Insitu reinforced concrete class 25 (20): in
8 | RCC for Column bases as per drwaing specification | 3.456 | Cm |  | 0
9 | Columns below ground for water tannk | 0.576 | Cm |  | 0
| 300 mm Selected hardcore filling of approved inert material in making up levels under floors: spread, leveled, well rammed and consolidated in 150 mm thick (maximum) layers for toilets | 3.468 | Cm |  | 0
10 | SUPERSTRUCTURE
11 | Insitu reinforced concrete class 25 (20): in
12 | Columns for superstructure for water tannk((4*0.4*0.4*4))The concrete mix is 1:2:4 ratio | 2.56 | Cm |  | 0
13 | R.C.C. work (40*30)cm² for beam supporting the slab of the water tank with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down) , including 3 numbers Y16mm dia at bottom and 3 y12 at top steel bars and 8mm stirrups @15cm centers including centering and shuttering complete. | 2.08 | Cm |  | 0
14 | 100 mm RCC with mesh fabric reinforcement A142 mesh Thick ground floor slab for thelower storage floor | 1.156 | Cm |  | 0
15 | R.C .C (1:2:4 Mixing ratio) slab for the water tank thickness of (0.15m*3.4m*3.4m) with cement concrete 1:2:4 (1 cement : 2 clean coarse sand : 4 stone aggregate of 25mm down,0.15 m thick with Ø 12mm bars both ways at top and bottom and c/c 150mm. | 1.734 | Cm |  | 0
16 | WALL FINISHES
17 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
18 | Columns | 25.6 | Sm |  | 0
19 | beam of the water tank | 17.68 | Sm |  | 0
20 | Prepare surfaces: apply white wash and two finishing coats first grade silk vinyl emulsion paint: to as "Crown Solo" or other equal approved: to steel trowelled plastered surfaces
21 | Columns | 25.6 | Sm |  | 0
22 | beam of the water tank | 17.68 | Sm |  | 0
23 | Plastic water tank of five Cubic meter capacity, inclusive of all required accessories and connections.including steel ladder for water tank | 1 | Item |  | 0
24 | LOWER STORAGE
25 | Hallow concrete block walls bedded, jointed in cement sand (1:3) mortar: flush vertical and horizontal joints
26 | Construct 200mm thick hallow concrete block wall of 1m high connecting the four columns of the tank | 1.6 | CM |  | 0
27 | Cement sand (1:4) screeds on the floor of storage tank | 4.84 | SM |  | 0
28 | Tie beam above hallow concrete wall of 200mmx150mm with 4 nos 10mm y-bars and 8mm dia sterrup 200mm c/c to hold bricks | 0.216 | CM |  | 0
29 | Plaster: 15 mm first coat of cement, lime putty, and sand (1:2:9): 4 mm second coat of cement lime putty and sand (1:1:6): steel trowelled on masonry
30 | 200mm thick hallow concrete wall of lower storage | 16 | SM |  | 0
31 | Construct roof truss with 28 guage iron sheet over the lower storage, with observation opening on top | 37.674 | SM |  | 0
32 | Steel ladder for climbing the water tank | 1 | LS |  | 0
| TOTAL FOR WATER TANK |  |  |  | 0
DC office Furniture
No | Description | Quantity | Unit |  | Est Total price
1 | Office Desks L shape 1.5m | 3 | Pcs |  | 0
2 | Office filing shelves -double doors | 4 | Pcs |  | 0
3 | Executive chairs | 3 | Pcs |  | 0
4 | Office workstation for 4 person | 1 | Pcs |  | 0
5 | Office visitors chairs | 8 | Pcs |  | 0
7 | Long meeting tables each 2.4m long for DC office and meeting hall | 2 | Pcs |  | 0
8 | Standard good quality office chairs /meeting hall | 60 | Pcs |  | 0
9 | Podium for meeting hall | 1 | Pcs |  | 0
10 | All in one desktop computer Windows 11 Home 64; 7th Generation Intel® Core™ i7 processor; NVIDIA® GeForce® MX130 (2 GB GDDR5 dedicated); 12 GB memory; 500GB HDD storage; 16 GB Intel® Optane™ Memory for storage acceleration 23.8" diagonal Full HD touch display | 2 | Pcs |  | 0
11 | HP color laserjet pro MFP m283FDW | 2 | Pcs |  | 0
12 | Transportation and installation of Goods from Garowe to Buuhoodle | 1 | Pcs |  | 0
| Grand Total |  |  |  | 0
ITEM | SUMMARY -BILL OF QUANTITY |  |  |  | AMOUNT (USD)
1 | DC OFFICE |  |  |  | 0
2 | BOUNDARY WALL total length of 114m |  |  |  | 0
3 | Screening Room |  |  |  | 0
4 | TOILETS |  |  |  | 0
5 | ELEVATED WATER TANK AND LOWER STORAGE |  |  |  | 0
6 | DC office Furniture |  |  |  | 0
| GRAND TOTAL |  |  |  | 0