## Exemptions List
Annex -A - Low Risk Healthcare Commodities
Tim Code | Item Description | UoM | Quantity | Unit Price (Delivered to SCI Warehouse, Mogadishu) | Unit Price (Delivered to SCI Warehouse, Baidoa) | Unit Price (Delivered to SCI Warehouse, Beledweyne) | Unit Price (Delivered to SCI Warehouse, Kismayo) | Unit Price (Delivered to SCI Warehouse, Dhobley) | Unit Price (Delivered to SCI Warehouse, Adado) | Unit Price (Delivered to SCI Warehouse, Dhusamareb)
MED1290 | Airway, Guedel, size 0 [paediatric] [1 airway] | Piece | 1
MED1291 | Airway, Guedel, size 00 [neonate] [1 airway] | Piece | 1
MED1292 | Airway, Guedel, size 2 [child] [1 airway] | Piece | 1
MED1293 | Airway, Guedel, size 3 [adolescent] [1 airway] | Piece | 1
MED1294 | Airway, Guedel, size 4 [adult] [1 airway] | Piece | 1
MED1295 | Airway, Guedel, size 5 [adult, large] [1 airway] | Piece | 1
LAB162 | Applicator, wooden stick without cotton tip | Piece | 1
LAB316 | Applicator, wooden stick without cotton tip [1 each] | Each | 1
MED1297 | Apron, medical, plastic, disposable [1 pce] | Piece | 1
MED171 | Autoclave, paper, 120 x 120 cm | Roll | 1
MEC0003 | BAG, BODY, adult, any size with or without absorbant pad | Bag | 1
MEC0004 | BAG, BODY, child, any size with or without absorbant pad | Bag | 1
MED1045 | Bag, placenta, plastic, snap-lock, 18 x 28 cm (1 BAG) | Bag | 1
MED211 | Bag, tablets, resealable, no pictogram, 10 x 15 cm | Bag | 1
MED866 | Bag, tablets, resealable, no pictogram, 80 x 100 mm | Bag | 1
MED208 | Bag, tablets, resealable, with pictogram, 60 x 80 mm | Bag | 1
MED1121 | Bandage, crepe / elastic / gauze, hydrophilic, 10 cm x 10 m | Each | 1
MED1122 | Bandage, crepe / elastic / gauze, hydrophilic, 7.5 cm x 10 m | Each | 1
MED090 | Bandage, crepe / elastic / gauze, hydrophilic, 90 cm x 91 m | Each | 1
MED011 | Bandage, crepe / elastic / gauze, non-sterile, 10 cm x 4 m | Each | 1
MED014 | Bandage, crepe / elastic / gauze, non-sterile, 10 cm x 4.5 m | Each | 1
MED288 | Bandage, crepe / elastic / gauze, non-sterile, 5 cm x 7.5 cm | Each | 1
MED012 | Bandage, crepe / elastic / gauze, non-sterile, 6 cm x 4 m | Each | 1
MED015 | Bandage, crepe / elastic / gauze, non-sterile, 7.5 cm x 4.5 m | Each | 1
MED013 | Bandage, crepe / elastic / gauze, non-sterile, 8 cm x 4 m | Each | 1
MED1324 | Bandage, plaster of paris, 10 cm * 2.7 m | Roll | 1
MED018 | Bandage, triangular, 96 cm * 96 cm * 136 cm | Piece | 1
MED016 | Bandage, tubular, 10 cm * 25 m | Piece | 1
MED017 | Bandage, tubular, 5 cm * 25 m | Piece | 1
MED1329 | Bed, hospital, basic with springs [1 bed] | Piece | 1
MED1330 | Bed, hospital, with backrest and winding mechanism, adult, 195 x 85 x 50 cm [1 bed] | Each | 1
MED1331 | Bed, obstetric, with leg supports and stainless steel bowl [1 bed] | Each | 1
MED1339 | Blanket, survival, disposable [1 blanket] | Each | 1
MED1341 | Bowl, stainless steel, 180 ml [1 bowl] | Each | 1
MED1342 | Bowl, stainless steel, 500 ml [1 bowl] | Each | 1
MED1343 | Box, sharps disposal, 15 litre [1 box] | Box | 1
MED1344 | Box, sharps disposal, 5 litre [1 box] | Box | 1
MED1345 | Box, surgical instruments, stainless steel, with lid, 20 * 10 * 5 cm [1 box] | Box | 1
LAB101 | Burette Tubes, Glass (1 PIECE) | Piec | 1
LAB294 | Centrifuge, hand operated, bucket & 4 x 15 ml tubes [1 kit] | Kit | 1
MED1392 | Cleaning, alcohol wipes, general purpose [1 each] | Each | 1
MED1393 | Cleaning, brush, plastic, nylon bristles for hand washing [1 brush] | Each | 1
LAB322 | Cleaning, brush, plastic, nylon bristles for test tubes [1 tube] | Each | 1
LAB323 | Cleaning, disinfectant, isopropyl alcohol solution [500 ml bottle] | Bottle | 1
MED1397 | Cleaning, disinfectant, sodium hypochlorite 4% solution [1000 ml bottle] | Bottle | 1
MED242 | Cleaning, gloves, household, reusable | Pair | 1
MED078 | Clothing, glasses, safety, disposable [adult] | Piece | 1
MED1401 | Clothing, laboratory coat [1 coat] | Each | 1
MED911 | Clothing, protective hood | Each | 1
MED153 | Clothing, scrubs, top & bottom, large | Each | 1
MED1405 | Clothing, shoe cover, nylon, disposable [1 cover] | Each | 1
MED1406 | Clothing, surgical cap, disposable [1 cap] | Each | 1
MED1409 | Clothing, surgical mask, disposible | Each | 1
MED1413 | Cold chain, freezer, electric 220 V, 264 litre [1 each] | Each | 1
MED1414 | Cold chain, freezer, electric 220 V, 72 litre [1 each] | Each | 1
MED1072 | Cold chain, generator, 3 x 80W solar panels w cables & accessories (1 EACH) | Each | 1
MED1416 | Cold chain, refrigerator, electric 220 V, 137 litre [1 each] | Each | 1
MED1417 | Cold Chain, refrigerator, electric 230V, 250 litre [1 each] | Each | 1
MED1418 | Cold chain, refrigerator, solar, 40 l [1 each] | Each | 1
MED1419 | Cold chain, thermometer, electronic, min/max, external sensor | Each | 1
MED1420 | Cold chain, thermometer, mercury, vertical, -30 +50 | Each | 1
MED1423 | Cold chain, vaccine carrier, 1700 ml [1 each] | Each | 1
MED1424 | Cold chain, vaccine carrier, 300 ml [1 each] | Each | 1
MED096 | Cold chain, vaccine carrier, 3000 ml, with 1 set of ice bricks [1 each] | Each | 1
MED723 | Collars, Cuff, Roll (1 PIECE) | Piece | 1
MED1427 | Compress, gauze, non-sterile, 12 ply, 10 cm x 20 cm [1 compress] | Each | 1
MED1223 | Compress, gauze, non-sterile, 4 ply, 10 x 10 cm [1 compress] | Each | 1
MED1227 | Concentrator, oxygen [1 concentrator] | Each | 1
LAB025 | Container, faeces, with lid/spoon, 125 ml | Piece | 1
LAB325 | Container, faeces, with lid/spoon, 15 ml [1 container] | Piece | 1
LAB326 | Container, faeces, with lid/spoon, 60 ml [1 container] | Piece | 1
MED1134 | Container, sputum, lid, 30 ml (1 SET) | Piece | 1
MED1435 | Container, urine, screw lid, 60 ml [1 container] | Piece | 1
MED1438 | Cotton wool roll (10 cm width) | Roll | 1
MED045 | Cotton wool, absorbent, roll, 1 kg | Roll | 1
MED243 | Cotton wool, absorbent, roll, 300 g | Roll | 1
MED266 | Cotton wool, absorbent, roll, 400 g | Roll | 1
LAB329 | Cover slip, Haemocytometer, optical plane [1 each] | Each | 1
MED1441 | Cup, plastic, graduated, 250 ml [1 each] | Each | 1
MED3512 | Cylinder Oxygen, Size D (2.3L Water) | Each | 1
MED3513 | Cylinder Oxygen, Size E (4.7L Water) | Each | 1
MED3514 | Cylinder Oxygen, Size F (9.4L Water) | Each | 1
MED3515 | Cylinder Oxygen, Size G (23.6L Water) | Each | 1
MED3516 | Cylinder Oxygen, Size J (47.2 Water) | Each | 1
MED1447 | Depressor, tongue, wood, 15 cm x 18 mm [1 depressor] | Each | 1
MED103 | Dish, forceps, stainless steel, 5 cm x 180 mm | Each | 1
MED1086 | Dish, gallipot, ss, w/o lid, 300 ml (1 GALLIPOT) | Each | 1
MED069 | Dish, gallipot, stainless steel, w/o lid, 500 ml | Each | 1
MED1451 | Dish, kidney, stainless steel, 25 cm [1 dish] | Each | 1
MED1137 | Draw sheet, plastic, 100 x 100 cm | Each | 1
MED1138 | Draw sheet, plastic, 90 x 180 cm | Each | 1
MED673 | Dressing Set. 3 instruments, incl. box w/lid (20 x 10 x 15cm) | Each | 1
LAB078 | Ethanol 70%, denatured (1 liter bottle) | Each | 1
MED1235 | Extractor, mucus, manual suction | Each | 1
MED1464 | Eye patch / shield [1 each] | Each | 1
MED1890 | Face shield, plastic | Each | 1
LAB328 | Filter paper, Whatman type 1, round, 9 cm | Each | 1
MED1085 | Filter, water, candle, 10 - 80 l per day | Each | 1
MED3160 | Flow meter, Oxygen, Thorpe tube, 0-15L/min | Each | 1
MED3517 | Flow meter, Oxygen, Thorpe tube, pead., low output | Each | 1
MED3518 | Flow splitter, for O2 concentrator | Each | 1
MED950 | Forceps, dressing, Cheron, 25 cm | Each | 1
MED1467 | Forceps, dressing, straight, spring-type, 1 x 2 teeth, 14.5 cm | Each | 1
MED1468 | Forceps, dressing, straight, spring-type, 1 x 2 teeth, 18 cm | Each | 1
MED1469 | Forceps, dressing, straight, spring-type, 1 x 2 teeth, 20 cm | Each | 1
MED1471 | Forceps, dressing, straight, spring-type, serrated, 15.5 cm | Each | 1
MED1473 | Forceps, dressing, straight, spring-type, serrated, 25 cm | Each | 1
MED1474 | Forceps, haemostatic, Bengolea, curved, serrated, 20 cm | Each | 1
MED1475 | Forceps, haemostatic, Crafoord (Coller), curved, 24 cm | Each | 1
MED1476 | Forceps, haemostatic, Halsted-Mosquito, curved, 12.5 cm | Each | 1
MED1477 | Forceps, haemostatic, Kelly, curved, 14 cm | Each | 1
MED1479 | Forceps, haemostatic, Kocher, curved, 1 x 2 teeth, 14 cm | Each | 1
MED1480 | Forceps, haemostatic, Kocher, straight, 1 x 2 teeth, 14 cm | Each | 1
MED1481 | Forceps, haemostatic, Kocher, straight, 1 x 2 teeth, 18 cm | Each | 1
MED1482 | Forceps, haemostatic, Mixter, 14 cm | Each | 1
MED1483 | Forceps, haemostatic, Mixter, 23 cm | Each | 1
MED1484 | Forceps, haemostatic, Rochester-Pean, straight, 18 cm | Each | 1
MED1485 | Forceps, haemostatic, Rochester-Pean, straight, 22 cm | Each | 1
MED1486 | Forceps, intestinal, Doyen, curved, 23 cm | Each | 1
MED1487 | Forceps, intestinal, Doyen, straight, 23 cm | Each | 1
MED1488 | Forceps, peritoneal, Faures, curved, 21 cm | Each | 1
MED1839 | Forceps, sponge, foerster, 24cm, serrated jaws, straight | Each | 1
MED1490 | Forceps, tissue, Duval, 23 cm | Each | 1
MED1491 | Forceps, tissue, Pozzi, tenaculum, 25.5 cm | Each | 1
MED1492 | Forceps, uterine, Duplay, curved, 28 cm | Each | 1
MED1493 | Forceps, uterine, Museux vulsellum, curved, 24 cm | Each | 1
MEC0005 | Gloves, examination, nitrile, powder-free, non-sterile, large | Box of 100 | 1
MEC0006 | Gloves, examination, nitrile, powder-free, non-sterile, medium | Box of 100 | 1
MED1891 | Goggles, protective, wraparound, plastic | Each | 1
MEC0009 | Gown, disposable, mid-calf length, single use, medium | Each | 1
MED676 | Handwash, alcohol based | Bottle | 1
MED1240 | Holder, needle, Baby-Crile-Wood, 15 cm [1 each] | Each | 1
MED1241 | Holder, needle, Mayo-Hegar, 18 cm [1 each] | Each | 1
MED1513 | Hook, amniotic, stainless steel, 20 cm | Each | 1
MED1514 | Hook, decapitation, 310 mm | Each | 1
MED3519 | Humidifier, non-heated, oxygen bubble, reusable | Each | 1
MED1827 | Ice Packs 0.4 ltrs [1 piece] | Each | 1
MED1828 | Ice Packs 0.6 ltrs [1 piece] | Each | 1
MED1519 | Identity bracelet [adult] [1 bracelet] | Each | 1
MED1520 | Identity bracelet [infant] [1 bracelet] | Each | 1
MED1074 | Instrument stand, Mayo, height adjustable (82 - 142 cm), with tray 48x33x2 cm | Each | 1
MED1040 | IV Stand (1 EACH) | Each | 1
HEA081 | kit, cholera, central, Module Documents and Stationary | Kit | 1
HEA080 | kit, cholera, central, Module Logistic (1.4) | Kit | 1
HEA089 | kit, cholera, community, Module Documents and Stationary (3.3) | Kit | 1
HEA086 | kit, cholera, periphery, Module Documents and Stationary (2.5) | Kit | 1
HEA085 | kit, cholera, periphery, Module Logistic (2.4) | Kit | 1
HEA061 | Kit, menstrual cycle beads | Kit | 1
HEA042 | Kit, newborn baby (with no sterile items) | Kit | 1
HEA022 | Kit, Reproductive Health, Kit 2A – Individual Delivery | Kit | 1
HEA072 | Kit, Reproductive Health, Kit 2B – For use by Birth Attendants | Kit | 1
MED1524 | Lamp, examination, gynaecological [1 each] | Each | 1
MED106 | Light, operating theater, electric 24V, 5 halogen bulbs, 60,000 lux | Each | 1
DRU1226 | Lubricant, clinical, gel [5 g Tube] | Tube | 1
MED1251 | Mask, oxygen, high concentration w/ 2.1 m tube paeds | Each | 1
MED1250 | Mask, oxygen, high concentration w/ 2.1 m tube, adult | Each | 1
MED3682 | Mask, Oxygen, non-rebreather, adult | Each | 1
MED3683 | Mask, Oxygen, non-rebreather, paediatric | Each | 1
MEC0011 | Mask, oxygen, venturi, adult | Each | 1
MEC0012 | Mask, oxygen, venturi, paeds | Each | 1
MED1250 | Mask, oxygen, with concentration tube [adult] | Each | 1
MED1251 | Mask, oxygen, with concentration tube [paediatric] | Each | 1
MEC0013 | MASK, SURGICAL, IIR type, single use [1 pce] | Piec | 1
MED1530 | Mattress, hospital bed, adult | Each | 1
MED1531 | Measurement, height board, child, 0 - 120 cm [1 each] | Each | 1
MED109 | Measurement, mid-upper arm circumference | Each | 1
MED212 | Measurement, tape, 150 cm | Each | 1
HEA061 | Menstrual Cycle Beads Kit | Kit | 1
LAB335 | Microscope, binocular, in case, halogen lamp (4 obj) [1 microscope] | Each | 1
MED1536 | Microscope, box for slides, wooden [1 box] | Box | 1
LAB336 | Microscope, coverslips, glass, 22 mm * 22 mm [1 microscope] | box | 1
LAB337 | Microscope, glass slides, tropical packaging, 76 * 26 mm [1 slide] | box | 1
LAB338 | Microscope, immersion oil, RI 1.510-1.521 [1 bottle] | Bottle | 1
MED912 | Mosquito net | Each | 1
MED1550 | Otoscope/ophthalmoscope, battery, R6 alkaline AA, 1.5V [1 each] | Each | 1
MED1000 | Oxygen Cylinder, Medical, 10L (1 pce) | Piece | 1
MED3158 | Oxygen Face Mask, With Tubing, Adult Size | Each | 1
MED3159 | Oxygen Face Mask, With Tubing, Paediatric | Each | 1
MED107 | Pads, maternity | Each | 1
MED1556 | Petroleum jelly ointment ["Vaseline"] [200 g jar] | Jar | 1
MED1558 | Photometer, battery, dry cell, AA, 1.5V [1 each] | Each | 1
LAB344 | Pipette, pasteur, glass, 230 mm, 3 ml [1 pipette] | Each | 1
LAB345 | Pipette, pasteur, plastic, 150 mm, 3 ml [1 pipette] | Each | 1
LAB346 | Pipette, Westergren, ESR, 2.5 x 300 mm [1 pipette] | Each | 1
MED1559 | Plaster, adhesive, "bandaid", various sizes [1 each] | Each | 1
MED792 | Plaster, Perforated, Zinc Oxide (1 PIECE) | Piece | 1
MED1044 | Plastic Bed Cover, Maternity (1 EACH) | Each | 1
LAB349 | Rack, extendable, microscope slides [1 each] | Each | 1
MED1567 | Razor, disposable [1 blade] | Each | 1
MED1829 | RCW 25 Cold box (20.7 L) [1 box] | Each | 1
MEC0001 | Respirator (mask), FFP2 or N95, medium | Each | 1
MED1570 | Retractor, abdominal, Gosset, 57 x 60 mm [1 each] | Each | 1
MED1571 | Retractor, Farabeuf, double-ended, pair, 15 cm [1 each] | Each | 1
HYG003 | Sanitary Pad | Each | 1
MED1576 | Scissors, bandage, blunt/blunt, straight, 14.5 cm | Each | 1
MED1578 | Scissors, bandage, Lister, curved, 16 cm | Each | 1
MED1260 | Scissors, delicate, Deaver, sharp/blunt, curved, 14 cm | Each | 1
MED1581 | Scissors, dissection, Mayo, blunt/blunt, curved, 14 cm | Each | 1
MED1582 | Scissors, dissection, Mayo, blunt/blunt, curved, 17 cm | Each | 1
MED1583 | Scissors, dissection, Mayo, blunt/blunt, curved, 23 cm | Each | 1
MED1584 | Scissors, dissection, Mayo, blunt/blunt, straight, 15.5 cm | Each | 1
MED1261 | Scissors, dissection, Mayo, blunt/blunt, straight, 17 cm | Each | 1
MED1585 | Scissors, dissection, Metzenbaum, blunt/blunt, curved, 18 cm | Each | 1
MED1586 | Scissors, dissection, Metzenbaum, blunt/blunt, curved, 23 cm | Each | 1
MED1587 | Scissors, dissection, Metzenbaum, blunt/blunt, straight, 14 cm | Each | 1
MED1588 | Scissors, episiotomy, Braun Stadler, curved, 21 cm | Each | 1
MED1589 | Scissors, episiotomy, Waldman, serrated, curved, 18 cm | Each | 1
MED1262 | Scissors, gynaecological, blunt/blunt, curved, 20 cm | Each | 1
MED1591 | Scissors, surgical, sharp/blunt, 14.5 cm | Each | 1
MED1592 | Scoop, uterine, Simon, 6 mm, sharp [1 each] | Each | 1
MED1593 | Screen, examination, 3 folded, on wheels [1 each] | Each | 1
MED1596 | Sling, hand, cloth, small [child] [1 each] | Each | 1
MED1597 | Soap, hand, bar [1 bar] | Each | 1
MED1838 | Spacer for metered dose inhaler | Each | 1
MEC3137 | Spatula, ribbon retractor, malleable, 27 mm x 250 mm [1 each] | Each | 1
MED1599 | Speculum, nasal, Hartmann, large [1 each] | Each | 1
MED1600 | Speculum, nasal, Hartmann, small [1 each] | Each | 1
MED1601 | Speculum, otoscope, reusable [1 each] | Each | 1
MED1603 | Speculum, vaginal, disposable, large [1 each] | Each | 1
MED1604 | Speculum, vaginal, disposable, medium [1 each] | Each | 1
MED1605 | Speculum, vaginal, disposable, small [1 each] | Each | 1
MED1606 | Speculum, vaginal, Doyen, 45 mm x 85 mm [1 each] | Each | 1
MED1607 | Speculum, vaginal, Graves, extra small [1 each] | Each | 1
MED1608 | Speculum, vaginal, Graves, large [1 each] | Each | 1
MED1609 | Speculum, vaginal, Graves, medium [1 each] | Each | 1
MED1610 | Speculum, vaginal, Graves, small [1 each] | Each | 1
MED1888 | Sphygmomanometer adult, digital | Each | 1
MED1206 | Sphygmomanometer, anaeroid, 300 mm Hg, with cuff [child] | Each | 1
MED1611 | Sphygmomanometer, aneroid, basic [adult] [1 each] | Each | 1
MED319 | Splint Kramer (1 PIECE) | Piec | 1
MED1804 | Splint, Rolled [1 Roll] | Each | 1
MEC3138 | Sponge, gelatin, absorbable | Each | 1
MED1618 | Stand, infusion, 5 legs on wheels [1 each] | Each | 1
MED169 | Stand, infusion, foldable | Each | 1
MED654 | Stationery, adhesive label, small | Each | 1
MED1623 | Stationery, antenatal care card [1 card] | Each | 1
MED125 | Stationery, observation form | Each | 1
MED1626 | Stationery, patient information card [1 card] | Each | 1
MED837 | Stationery, printing paper, thermal | Each | 1
MED1894 | Stethoscope, dual head, adult | Each | 1
MED1895 | Stethoscope, dual head, paediatric | Each | 1
MED1639 | Stethoscope, foetal / obstetric, Pinard [1 each] | Each | 1
MED1640 | Stethoscope, littman, binaural [1 each] | Each | 1
MED1641 | Stop watch, hand grip, 60 min [1 each] | Each | 1
MED1638 | Stove, burner, single, kerosene [1 each] | Each | 1
MED1642 | Stretcher, army-type, folding [1 each] | Each | 1
MED1643 | Stretcher, side rail, on wheels [adult] [1 each] | Each | 1
MED1834 | Suture Set, 7 instruments, incl box w.lid (20 x 10 x 5cm) | Each | 1
LAB374 | Swab, alcohol (isopropyl) impregnated [1 each] | Each | 1
LAB488 | Swab, Cary-Blair agar, viscose tip and pouch [1 each] | Each | 1
MEC0014 | Syringe, oral, non-sterile, for oral liquids (various sizes), pce | Each | 1
MED1700 | Table, examination, portable, 3 part, foldable with nosehole [1 each] | Each | 1
MED1702 | Table, gynaecological, 3-part, washable mattress with leg holders [1 each] | Each | 1
MED1704 | Table, operating theatre, hydraulic, L180-195 cm, W50 cm, Lift 22 cm [1 each] | Each | 1
MED1274 | Tablet counting triangle [1 each] | Each | 1
MED1275 | Tablet cutter [1 each] | Each | 1
MED002 | Tape, adhesive, 7.5 cm * 10 m | Roll | 1
MED1123 | Tape, adhesive, 7.5 cm * 5 m | Roll | 1
MED003 | Tape, adhesive, plastic, perforated, 10 cm * 5 m | Roll | 1
MED1124 | Tape, adhesive, plastic, perforated, 18 cm * 5 m | Roll | 1
MED001 | Tape, adhesive, zinc oxide, 2.5 cm * 5 m | Roll | 1
MED1075 | Tape, masking, 2cm * 50 m roll | Roll | 1
MED937 | Teaching aid, Mannequin | Each | 1
HEA070 | Teaching aid, model, baby [1 model] | Each | 1
MED869 | Teaching aid, model, breast self-examination | Each | 1
MED1808 | Teaching aid, neonatal resuscitation, set [1 set] | Each | 1
MED1809 | Teaching aid, preterm simulator, set [1 set] | Each | 1
LAB192 | Test Tube (1 PIECE) | Piece | 1
MED1720 | Thermometer, clinical, digital | Piece | 1
MED1896 | Thermometer, infrared, non-contact | Each | 1
LAB204 | Timer, acute respiratory infection | Each | 1
LAB402 | Tissues, lens cleaning, 10 * 15 cm [1 each] | Each | 1
MED1188 | Torch, LED, re-chargable | Each | 1
MED1725 | Torch, penlight | Each | 1
MED844 | Tourniquet, Latex Rubber (1 PIECE) | Piec | 1
MED218 | Tourniquet, synthetic fabric, with velcro and windlass, width 25 mm | Each | 1
MED1728 | Transducer, ultrasound machine, electric [1 each] | Each | 1
MED1729 | Tray, instruments, stainless steel, 30 x 20 x 2 cm [1 each] | Each | 1
MED1730 | Tray, instruments, stainless steel, with cover, 225 x 125 x 50 mm [1 each] | Each | 1
MED1731 | Tray, instruments, stainless steel, with cover, 32 x 20 x 8 cm [1 each] | Each | 1
MED1732 | Trolley, dressing, basin on wheels [1 each] | Each | 1
MED1733 | Trolley, instruments, with wheels, 70 x 50 x 80 cm [1 each] | Each | 1
MED1734 | Trolley, patient, with siderail and IV stand, 183 x 69 x 87 cm [1 bed] | Each | 1
MEC3196 | Tube, capillary, haemaglobin (1 TUBE) | Tube | 1
LAB405 | Tube, capillary, haematocrit, with heparin, 75 mm | Tube | 1
LAB138 | Tube, laboratory | Tube | 1
MEC3386 | Tubing, medical gases, int. Ø 5 mm, 25 m | Tube | 1
MED227 | Umbilical cord tie, non-sterile, 3 mm x 100 m | Each | 1
MED1771 | Walking aid, cane or stick [1 each] | Each | 1
MED1772 | Walking aid, crutches [1 each] | Each | 1
MED1773 | Walking aid, frame [1 each] | Each | 1
MED232 | Water filter, Berkefeld, with candles, 10 litres | Each | 1
LAB200 | Water purification tablets | tablet | 1
MED1288 | Weighing scale, calibration weights [1 each] | Each | 1
MED1776 | Weighing scale, electronic, adult [1 each] | Each | 1
MED1777 | Weighing scale, electronic, baby [1 each] | Each | 1
LAB407 | Weighing scale, electronic, laboratory, 3 kg * 100 mg [1 each] | Each | 1
MED1778 | Weighing scale, electronic, mother and baby [1 each] | Each | 1
MED1779 | Weighing scale, mechanical, adult [1 each] | Each | 1
MED1780 | Weighing scale, mechanical, hanging, with 5 trousers, baby, 25 kg * 100g [1 each] | Each | 1
MED1781 | Weighing scale, mechanical, hanging, with sling, baby [1 each] | Each | 1
MED1782 | Weighing scale, mechanical, mother and baby, 150 kg * 100 g [1 each] | Each | 1
MED1783 | Weighing scale, mechanical, with pan, baby [1 each] | Each | 1
MED1784 | Weighing scale, mechanical, without trousers or sling, baby, 25 kg * 100 g [1 each] | Each | 1
MED233 | Weighing scale, set for triple beam balance | Each | 1
MED223 | Weighing, trousers, for baby, set of 5 | Set | 1
MED1289 | Weiging scale, set for triple beam balance [1 each] | Each | 1
MED1787 | Wheelchair, foldable, basic, adult [1 each] | Each | 1
MED907 | Wheelchair, RoughRider [1 wheelchair] | Each | 1