June 1, 2025

Centre for Research and integrated Development (CeRID) is a non-governmental organization and an agent of change for peaceful and self-reliant communities founded in 2005. Our approach is grounded in the Theory of Change (ToC), enabling us to identify the desired outcomes and transformative changes that will strengthen CeRID in terms of institutional sustainability, strong partnership with both our target communities and our partners to tackle the root causes of poverty and vulnerability.

Our Strategic Focus Are these five Areas (SFAs):

(1)	Climate Change Adaptation

(2)	Knowledge and Skill Development

(3)	Humanitarian, Development & Peace Nexus (HDPN)

(4)	Partnership & Collaboration

(5)	Organizational Capacity Development (OCD)

CeRID invites you to submit a proposal for Water System Rehabilitation and construction of 20 latrines for IDPs (5% for People with Disabilities) with handwashing facilities In Luuq District Gedo Region Jubaland State of Somalia.

We invite reputable and financially stable contractors who have the capacity to implement this activity to submit their quotations. The selected contactor will be responsible for ensuring timely completion of the work.

Therefore, all interested contractors and companies are invited to submit their quotations by bring a hard copy of completed quotations at CeRID main office in Belet-Hawa district Gedo region Jubbaland state of Somalia not later than June 15, 2025.

It shall remain the responsibility of the bidder to ensure that their bid documents reach CeRID Main Office Belet-Hawo District Gedo Region Jubaland State of Somalia before the deadline. Bids that are received by CeRID after the deadline indicated above, for whatever reason, shall not be considered for evaluation.

Table 1: Tender Information

| Tender Notice Date | 1st June 2025 |
| --- | --- |
| Tender Closing Date: | 15th June 2025 |
| Works Location: | Luuq District, |
| General Bid Requirements: | - This tender will be governed by a tender committee. - Your bidding document shall include quotations to be filled by the bidders and information of the bidder at the bottom of the last page. The information of the bidder is such as full name of the bidder, address, contact person’s name, his/her signature, and the official stamp of the bidder. - Time of completion of works is required urgently, therefore please quote your best pricing using the price quotation sheets given in appendixes of this tender as soon as possible. - Purchase order/contract will be issued to the qualified contractor as soon as the tender committee announces the results of the tender. |
| Special requirements and Conditions: | - Bid results will not be made public. - Upon payment, the qualified contractor will be paid strictly only against the completed work and services and retention of 10% of total contract value as it will be indicated in the contract terms and conditions. |

Mandatory Documents to be submitted with the quotation

- Detailed Company Profile.

- Company Account Number.

- Valid Certificate of registration from Ministry of Commerce of Jubaland state of Somalia

- Valid Tax Clearance Certificate.

- List of the previous similar work experiences/ sample contracts/LPO.

- Original copy of Bank statement – for the last 6 months with a proof of financial capability.

- Quotation/RFQ price showing the price and stamped with the company seal.

- The tender envelope should be sealed and stamped.

- CV of the Engineer (s) who would be supervising the construction works.

Other Information to bidders:

- Currency: USD Dollars.

- CeRID reserves the right to accept the whole or part of your offer.

- Incomplete offers or offers which do not comply with any or our tender conditions will not be considered.

- Language: English.

Thank you and regards.

Annex 1:   Quotation

| Water System Rehabilitation and construction of 20 latrines for IDPs (5% for People with Disabilities) with handwashing facilities. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Water System Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 1: Well Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No. | Description |  |  |  | Quantity |  |  | Unit |  |  |  |  |  | Unit Price |  |  |  |  |  |  | Total Amount |  |  |
|  | Opening the Well Structure Removal of Old Pump System and wires (Remove damaged parts, access the interior for cleaning and disconnect and dismantle existing pump and accessories) |  |  |  | 1 |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cleaning & Debris Removal inside well (Cleaning & Debris Removal inside well) |  |  |  | 1 |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Deepening the Well (Excavation to increase depth by 5 meters for improved water flow) |  |  |  | 5 |  |  | Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Reinforcement Rings (Install five concrete rings to strengthen the structure) |  |  |  | 5 |  |  | Rings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Foundation Repair (Reinforce the existing base and Deeping 1 mitre down for flood) |  |  |  | 1 |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Construction of Well Mouth (Build 2 meters above ground for flood protection) |  |  |  | 1 |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Well Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 2: Water Pump & Accessories Replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchasing off New Water Pump Grundfos SQF 5A-7 Solar Submersible Pump (High-efficiency submersible pump designed for solar-powered water supply) |  |  |  |  | 1 |  | Pc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchase Grundfos CU 200 Control Unit (intelligent control unit for monitoring and managing SQFlex pump operation, including system status indicators, dry-run protection, and interface for water level sensors) |  |  |  |  | 1 |  | Pc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchase PVC Pump Pipes (pieces of high-quality PVC pump pipes, ensuring durability) |  |  |  |  | 4 |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchasing Electrical System (Pump Cable (solar-rated, 6mm² or similar) |  |  |  |  | 50 |  | Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchasing of Water Level Sensors low & high level (Sensor set used to monitor water levels in the well and/or storage tank, enabling automatic pump start/stop to prevent dry running and overflow) |  |  |  |  | 1 |  | set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | System installation Testing & Calibration (Ensure proper installation and functionality) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Pump Replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 3: Solar Energy System Replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Removal of damaged Solar Panels including Caples (Dismantling 14 damaged solar panels) |  |  |  |  | 14 |  | Panels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchase 14 New Solar Panels (545W high-efficiency solar panels, ensuring reliable energy supply) |  |  |  |  | 14 |  | Panels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Wiring & Electrical Connections (Upgrading cables for improved power transmission) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Purchase and Erecting Solar Mounting Structure (Securing new panels for optimal positioning and durability) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control box Systematising & Calibration (Verifying functionality and optimizing energy output) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Solar System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 4: Pipeline Replacement (Well to Tank – 1,000m) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Site Inspection & Assessment (Evaluate current pipeline condition, identify leaks, corrosion, and structural weaknesses) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Excavation & Trenching Backfilling (Digging trenches to access and replace damaged pipeline sections) |  |  |  |  | 500 |  | Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pipes Procurement (Supply of high-pressure PVC pipes 110mm for replacement) |  |  |  |  | 83 |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pipes Connection & Fittings from well to tank (Secure pipeline joints, valves, and junctions for water flow optimization Ensure proper integration of the pipeline with the main storage tank) |  |  |  |  | 1 |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Pipeline (Well to Tank) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 5: Pipeline Replacement (Tank to Water Points – 600m) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Site Inspection & Leak Assessment (Identify pipe condition, blockages, and damage points and remomove damage piples ) |  | 1 |  |  |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Excavation & Trenching Backfilling (Dig trenches to replace and lay 300m of pipeline) |  | 300 |  |  |  |  | Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Pipeline Procurement (Supply of high-pressure PVC pipes for durability) |  | 50 |  |  |  |  | pcs |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Pipe Connection & Fittings (Install junction points, valves, and secure connections) |  | 1 |  |  |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Pipeline (Tank to Water Points) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Category 6: Communal Water Points Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Site Inspection & Assessment (Evaluate existing communal water points, identify damage and assess usability) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Repair of Water Collection Areas (Restore worn-out structures ensuring safe access) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Reconnection of Inlets & Outlets (Ensure proper water flow between storage tank and taps) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Replacement of Taps & Valves (Upgrade damaged taps and valves for efficient water distribution) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Drainage & Spillway Improvement (Install or repair drainage to prevent stagnation) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cleaning & Debris Removal (Remove obstructions and restore hygiene standards) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Structural Reinforcement (Strengthen foundations and walls to withstand heavy usage) |  |  |  | 2 |  |  |  | Water Points |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subtotal for Communal Water Points Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total For Water Rehabilitation System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - construction of 20 latrines for IDPs (5% for People with Disabilities) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No. |  | Description |  |  | Quantity |  |  |  |  |  |  | Unit |  |  |  |  |  | Unit Price |  |  |  |  | Total Amount |
| Sub-Structure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Excavation of the pit 1.5*1.5*3.5 |  |  | 7 |  |  |  |  |  |  | m3 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Iron bar, Ø 10mm |  |  | 3 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Binding Wire |  |  | 1 |  |  |  |  |  |  | kg |  |  |  |  |  |  |  |  |  |  |  |
|  |  | local Timber for covering pit and supports the concert. |  |  | 10 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 10 cm/4 inch diameter PVC pipe for ventilations |  |  | 1 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Cement |  |  | 4 |  |  |  |  |  |  | bags |  |  |  |  |  |  |  |  |  |  |  |
| Sub-total for sub-structure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Super-Structure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sawn wood Timber columns (2x3" -4m length) |  |  | 6 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sawn wood Timber (1x2"- 4m length) |  |  | 7 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Corrugated Iron sheets,G34 |  |  | 11 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ordinary nails-no 6-7 |  |  | 4 |  |  |  |  |  |  | kg |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Iron-sheet Door |  |  | 2 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Door locks, Hinges |  |  | 2 |  |  |  |  |  |  | Pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sand-Garvel |  |  | 1 |  |  |  |  |  |  | m3 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Water |  |  | 5 |  |  |  |  |  |  | drums |  |  |  |  |  |  |  |  |  |  |  |
| Sub-total for super-structure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Labor cost |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Labour |  |  | 1 |  |  |  |  |  |  | Ls |  |  |  |  |  |  |  |  |  |  |  |
| Sub-total for labor cost |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total for one latrine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total for 20 Latrines |  |  |  | 20 |  |  |  |  |  |  | Latrine |  |  |  |  |  |  |  |  |  |  |  |  |
| - Installation of hand washing facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Plastic water Container |  |  | 1 |  |  |  |  |  |  | pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Metal/Plastic Stand for Water Container |  |  | 1 |  |  |  |  |  |  | pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Basin/Bucket for Wastewater Collection |  |  | 1 |  |  |  |  |  |  | pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Liquid Soap Dispense |  |  | 1 |  |  |  |  |  |  | pcs |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Installation & Miscellaneous Items (PVC Pipes, Hose, Clips, etc.) |  |  | 1 |  |  |  |  |  |  | set |  |  |  |  |  |  |  |  |  |  |  |
| Total for one handwashing facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total for 20 handwashing facilities |  |  |  |  |  |  | 20 |  |  |  |  |  | Handwashing facilities |  |  |  |  |  |  |  |  |  |  |
| Grand Total (Water System Rehabilitation + Construction of Latrines + Handwashing Facilities) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Company Name: |  |
| --- | --- |
| Company Account Number (Dahabshiil Bank) |  |
| Contact Person |  |
| Sign & stamp |  |
| Date |  |
| Contact Number |  |
| Email Address |  |

Annex 2: Company Details