## Essa Elmi Askar
CLIENT MANE: ESSA ELMI ASKAR
SOLAR WATER PUMP FOR IRRIGATION SYATEM
No | Descriptions | Unit | Quantity | Rate | Amount
1 | Mobilization of staff , equipment and materials to site | LS | 1
Main equipment (Supply and install)
2 | Supply and fix Submersible pump Grundfos ( 2.2 KW,) with all accessories including motor, controller and water level sensor for dry run protection. Flow rate: flow rate around 10- 15 m³/h with an elavation head of minimum 40m. | pcs | 1
3 | Supply of high-efficiency mono-crystalline solar PV modules rated at 600 Wp each, selected based on local solar irradiance, system efficiency, and available installation space. Modules shall comply with IEC standards, ensuring high energy yield, low degradation, and suitable performance under site climatic conditions, with layout designed to minimize shading and optimize space utilization. | Pcs | 6
4 | Supply solar photovoltaic (PV) modules together with all necessary mounting structures designed to ensure optimal orientation toward solar irradiation and secure installation under environmental conditions, including wind speeds up to 40 km/h. The mounting system shall be corrosion-resistant or suitably coated for durability. The scope shall include excavation and construction of column foundations with a depth of up to 0.6 m and dimensions of 0.5 m × 0.5 m. The support columns shall extend at least 1.0 m above ground level. All structural works and installations shall be subject to approval by the supervising engineer prior to the connection and commissioning of the solar panels. | LS | 1
5 | Supply, installation, testing, and commissioning of HDPE PN10 Class B pipeline network for a solar irrigation system, including transmission from shallow well to a 2 m³ fiberglass storage tank (Gamuur type) and onward distribution to irrigation fields. The system shall consist of Ø 3" HDPE pipe for main transmission and Ø 2" HDPE pipe for distribution, with a total length of approximately 600 m. Works shall include excavation, pipe laying, jointing, backfilling, and reinstatement. All required fittings such as elbows, tees, reducers, couplers, and valves shall be included for a complete installation. Pipes shall be UV-resistant, corrosion-free, and suitable for the design pressure and flow rate of the system, ensuring efficient and reliable water delivery. | M | 300
6 | Supply and installation of a 2 m³ cylindrical fiberglass water storage tank (Gamuur type), designed for safe water storage and use during periods of low solar radiation, including low temperature conditions, cloudy weather, and non-sunlight hours, ensuring reliable and secure water availability for irrigation use. | pcs | 1
7 | Construction of a rubble stone elevation base, raised to a minimum height of 1.2 m above ground level, providing a stable and durable support foundation.. | cum | 3.072
Accessories (supply and install)
8 | All these accessories depends on the requirements of the sites. 6.0mm2 Flat Submersible Drop Cable, 4.0mm2 x 4Core U/G Cable, 3” rubber Pan/cachment pipes – complete with adopters, Gate valve,3'' non return valve, Float switch, 1.5mm2x 2core Underground cable, Splicing Kit, 4'' x 6" Pan Cover, 4mm2 x 1 Core Earth Cable, Earth Rod c/w Clamp, B Meters DN40 water meter, adaptor metal box. | LS | 1
9 | Installation sundries and miscellaneous accessories required for the complete and satisfactory installation, testing, and commissioning of the solar water pumping system, including all minor fittings, consumables, hardware, sealing materials, clamps, and connection accessories not specifically listed elsewhere in the Bill of Quantities, but necessary for full system functionality and safe operation. | LS | 1
10 | Provide and fix visibility signboard with these specifications (1.2 Mx1M ), 2.2 M above the Ground floor indicating the project information such as logos, project name, organizational name, donar name, date of starting, date of completion. Further, a written visibility should be provided on water tank. | LS | 1
Sub-Total
Tax 3%
Grant Total

## Sa,ada Ismail Abdilahi
CLIENT MANE: Sa,ada Ismail Abdilahi
SOLAR WATER PUMP FOR IRRIGATION SYATEM
No | Descriptions | Unit | Quantity | Rate | Amount
1 | Mobilization of staff , equipment and materials to site | LS | 1
Main equipment (Supply and install)
2 | Supply and fix Submersible pump Grundfos ( 2.2 KW,) with all accessories including motor, controller and water level sensor for dry run protection. Flow rate: flow rate around 10- 15 m³/h with an elavation head of minimum 40m. | pcs | 1
3 | Supply of high-efficiency mono-crystalline solar PV modules rated at 600 Wp each, selected based on local solar irradiance, system efficiency, and available installation space. Modules shall comply with IEC standards, ensuring high energy yield, low degradation, and suitable performance under site climatic conditions, with layout designed to minimize shading and optimize space utilization. | Pcs | 6
4 | Supply solar photovoltaic (PV) modules together with all necessary mounting structures designed to ensure optimal orientation toward solar irradiation and secure installation under environmental conditions, including wind speeds up to 40 km/h. The mounting system shall be corrosion-resistant or suitably coated for durability. The scope shall include excavation and construction of column foundations with a depth of up to 0.6 m and dimensions of 0.5 m × 0.5 m. The support columns shall extend at least 1.0 m above ground level. All structural works and installations shall be subject to approval by the supervising engineer prior to the connection and commissioning of the solar panels. | LS | 1
5 | Supply, installation, testing, and commissioning of HDPE PN10 Class B pipeline network for a solar irrigation system, including transmission from shallow well to a 2 m³ fiberglass storage tank (Gamuur type) and onward distribution to irrigation fields. The system shall consist of Ø 3" HDPE pipe for main transmission and Ø 2" HDPE pipe for distribution, with a total length of approximately 600 m. Works shall include excavation, pipe laying, jointing, backfilling, and reinstatement. All required fittings such as elbows, tees, reducers, couplers, and valves shall be included for a complete installation. Pipes shall be UV-resistant, corrosion-free, and suitable for the design pressure and flow rate of the system, ensuring efficient and reliable water delivery. | M | 300
6 | Supply and installation of a 2 m³ cylindrical fiberglass water storage tank (Gamuur type), designed for safe water storage and use during periods of low solar radiation, including low temperature conditions, cloudy weather, and non-sunlight hours, ensuring reliable and secure water availability for irrigation use. | pcs | 1
7 | Construction of a rubble stone elevation base, raised to a minimum height of 1.2 m above ground level, providing a stable and durable support foundation.. | cum | 3.072
Accessories (supply and install)
8 | All these accessories depends on the requirements of the sites. 6.0mm2 Flat Submersible Drop Cable, 4.0mm2 x 4Core U/G Cable, 3” rubber Pan/cachment pipes – complete with adopters, Gate valve,3'' non return valve, Float switch, 1.5mm2x 2core Underground cable, Splicing Kit, 4'' x 6" Pan Cover, 4mm2 x 1 Core Earth Cable, Earth Rod c/w Clamp, B Meters DN40 water meter, adaptor metal box. | LS | 1
9 | Installation sundries and miscellaneous accessories required for the complete and satisfactory installation, testing, and commissioning of the solar water pumping system, including all minor fittings, consumables, hardware, sealing materials, clamps, and connection accessories not specifically listed elsewhere in the Bill of Quantities, but necessary for full system functionality and safe operation. | LS | 1
10 | Provide and fix visibility signboard with these specifications (1.2 Mx1M ), 2.2 M above the Ground floor indicating the project information such as logos, project name, organizational name, donar name, date of starting, date of completion. Further, a written visibility should be provided on water tank. | LS | 1
Sub-Total
Tax 3%
Grant Total

## Fadumo Jama
CLIENT MANE: Fadumo Jama
SOLAR WATER PUMP FOR IRRIGATION SYATEM
No | Descriptions | Unit | Quantity | Rate | Amount
1 | Mobilization of staff , equipment and materials to site | LS | 1
Main equipment (Supply and install)
2 | Supply and fix Submersible pump Grundfos ( 2.2 KW,) with all accessories including motor, controller and water level sensor for dry run protection. Flow rate: flow rate around 10- 15 m³/h with an elavation head of minimum 40m. | pcs | 1
3 | Supply of high-efficiency mono-crystalline solar PV modules rated at 600 Wp each, selected based on local solar irradiance, system efficiency, and available installation space. Modules shall comply with IEC standards, ensuring high energy yield, low degradation, and suitable performance under site climatic conditions, with layout designed to minimize shading and optimize space utilization. | Pcs | 6
4 | Supply solar photovoltaic (PV) modules together with all necessary mounting structures designed to ensure optimal orientation toward solar irradiation and secure installation under environmental conditions, including wind speeds up to 40 km/h. The mounting system shall be corrosion-resistant or suitably coated for durability. The scope shall include excavation and construction of column foundations with a depth of up to 0.6 m and dimensions of 0.5 m × 0.5 m. The support columns shall extend at least 1.0 m above ground level. All structural works and installations shall be subject to approval by the supervising engineer prior to the connection and commissioning of the solar panels. | LS | 1
5 | Supply, installation, testing, and commissioning of HDPE PN10 Class B pipeline network for a solar irrigation system, including transmission from shallow well to a 2 m³ fiberglass storage tank (Gamuur type) and onward distribution to irrigation fields. The system shall consist of Ø 3" HDPE pipe for main transmission and Ø 2" HDPE pipe for distribution, with a total length of approximately 600 m. Works shall include excavation, pipe laying, jointing, backfilling, and reinstatement. All required fittings such as elbows, tees, reducers, couplers, and valves shall be included for a complete installation. Pipes shall be UV-resistant, corrosion-free, and suitable for the design pressure and flow rate of the system, ensuring efficient and reliable water delivery. | M | 300
6 | Supply and installation of a 2 m³ cylindrical fiberglass water storage tank (Gamuur type), designed for safe water storage and use during periods of low solar radiation, including low temperature conditions, cloudy weather, and non-sunlight hours, ensuring reliable and secure water availability for irrigation use. | pcs | 1
7 | Construction of a rubble stone elevation base, raised to a minimum height of 1.2 m above ground level, providing a stable and durable support foundation.. | cum | 3.072
Accessories (supply and install)
8 | All these accessories depends on the requirements of the sites. 6.0mm2 Flat Submersible Drop Cable, 4.0mm2 x 4Core U/G Cable, 3” rubber Pan/cachment pipes – complete with adopters, Gate valve,3'' non return valve, Float switch, 1.5mm2x 2core Underground cable, Splicing Kit, 4'' x 6" Pan Cover, 4mm2 x 1 Core Earth Cable, Earth Rod c/w Clamp, B Meters DN40 water meter, adaptor metal box. | LS | 1
9 | Installation sundries and miscellaneous accessories required for the complete and satisfactory installation, testing, and commissioning of the solar water pumping system, including all minor fittings, consumables, hardware, sealing materials, clamps, and connection accessories not specifically listed elsewhere in the Bill of Quantities, but necessary for full system functionality and safe operation. | LS | 1
10 | Provide and fix visibility signboard with these specifications (1.2 Mx1M ), 2.2 M above the Ground floor indicating the project information such as logos, project name, organizational name, donar name, date of starting, date of completion. Further, a written visibility should be provided on water tank. | LS | 1
Sub-Total
Tax 3%
Grant Total