## Sheet1
Rehibilitation of Shallow well in Fadhi xun
III | Rehibilitation for shallow well (2 dia*9m deep)
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) | AMOUNT (USD)
| Clearing and setting up of the working area, and remove all un-wanted material | 1 | 1
2 | Well lining with RCC rings.
B | Place 8cm thick mass concrete on top of the masonry wall at the above area. | CUM | 3.768
Well Development
1 | Well disinfection and cleaning this includes dewatering of the well by using centrifugal water pump | Ls | 1
BOQ FOR ONE SHALLOW WELL REHIBILITATION
Rehibilitation for Concrete elevator water Tank
1 | Plaster with 12mm thick mortar mix ratio of 1:2 on the wall troughs with smooth metal float finish in internal and external surfaces for water Tank. | mq | 25.2
2 | Installation for Water Gi Pipes and all neccery Fiting | pcs | 6
3 | Whitewhasing and Painting | mq | 25.2
General Total
700 HDPE Pipe and Fittings and installation for Pipe from Water Tanks to the water Kiosks .
No Items | Description of items | unit | Quantiyy | Rate | Total Amount
1 | HDPE Pipe 63mm and Fittings | Roll | 7
5 | GI pipe 2 inch | pcs | 7
6 | GI stop cock 2" | pcs | 4
7 | HDPE niple 2" | pcs | 3
8 | HDPE union 2" | pcs | 2
9 | HDPETees 2" | pcs | 7
12 | HDPE Soccet 2" | pcs | 4
13 | HDPE Stop cock 2" | pcs | 4
14 | Earth excavation 700 m long pipe trench , 0.30cm width x 0.60 cm depth , lay 5cm of soil under the pipe to protect pipe from damage including all backfilling, Because of the hard geological formation consider deploying a jack hammer for excavation | cum | 126
17 | Transporation Cost | Lm
Total Cost
Standard for solar powered Pump driven for Shallow well
No of Items | DESCRIPTION OF GOODS | QTY | UNIT OF MEASURE | UNIT PRICE | TOTAL PRICE (USD)
3 | LC325-P72, PV-Module Photo Voltaic Module, polycrystalline, junction box, cable, 250 each pannel | 4 | Watt
4 | PV Disconnect 440-40-6 (PV disconnect switch 440VDC/40A, max. 6 strings, plastic box, IP54, Grandfos | 1 | Unit
6 | Well Probe Sensor | 1 | Unit
7 | Well Probe Cable 2.5mm and 6m in Length | 40 | M
8 | Supply and install the solar support mounting structure made of steel frame as per design (square tube 80mm x 80mmx5mm) mounting poles, diagonal support poles (square tube 50mmx 50mmx5mm) welded to the 3 mounting poles in each series and purlins (square tubes 50mmx50mmx3mm) with gentle slopping as required. The mounting poles should be concreted in a foundation footing 400mm below ground level and 250mm above ground level or as guided by Candlelight Engineer. The works includes cost for welding, frame work, man power and painting with silver metallic paint | 16 | Lm
9 | Surge protector | 1 | Unit
10 | GI pipes 1.5" | 7 | Pc
11 | Solar fencing including Metalic Door with dimension of 7m by 8m | sqm | 80
11 | Installation accessories, including Controller Protection Box, Conncection cables, cable connectors, surge protector(Lorentz), lightning arrestor, earthing rod inc. | 1 | Lot
12 | TOTAL MATERIAL COST
13 | Installation, Testing and Commissioning | 1 | Lot
14 | Transportation | 1 | Lot |  |  | 1
GRAND TOTAL
OPERATION AND MAINTENANCE TOOL KIT
no | Item | Quantity require | unit | Price | Total
1 | Wrench set 14 to 24 | 1 | set
2 | Pioneering light pipe Clamp | 1 | Pcs
3 | Hack saw | 1 | Pcs
4 | Crow bar | 1 | Pcs
5 | screw driver varies size | 1 | set
6 | split level | 1 | Pcs
7 | Manson hammer | 1 | Pcs
8 | Electric tester | 1 | Pcs
| Pick Axe | 1 | Pcs
9 | Trowel | 1 | Pcs
10 | shovel | 1 | Pcs
11 | Plain sheet sccissor | 1 | Pcs
12 | padlocks with key | 1 | Pcs
13 | Wheel Barrow | 1 | Pcs
14 | Gi pipe Hand Wrench for Varouse Size | 1 | Set
16 | Digging Bar | Pcs | 1
13 | Measure Tap 10m | Pcs | 1
14 | Gi Pipe 2 Icnh | Pcs | 1
16 | Gi Pipe 1.5 Inch | Pcs | 1
17 | Tried Tap | pcs | 5
| Gi pipes cuting cost | lm | 1
Total of O & M Tool Kit
| General Total Cost |  |  |  | 0