Tender Notice: Construction of 1 new surface water reservoir (Barkad) in Dagaar village, Sanaag, Somaliland.

Project: SOM Joint Response 2024-2026; :

Project code: SOMJR2024-26

Sector: Water Hygiene and Sanitation “WASH”.

1. Organization Background

Taakulo Somaliland Community Commonly known by the acronym “TAAKULO”. Taakulo is a multifaceted non-governmental, non-profit making, non-political and non-partisan development and humanitarian aid organization established in 2007 and headquartered in Hargeisa, Somaliland. Taakulo is a Somali word meaning “helping/aiding”. Working in partnership with UN, international, and National organizations, Taakulo is dedicated to helping the disadvantaged people and communities throughout Somaliland by engaging in development and related activities and providing relief support and assistance, facilitating, and promoting participatory local community activities and programs that emphasize human dignity and self-reliance.

Taakulo Organization was established to assist the Somali community, to whom time has tested their resilience to the tipping point, drought and famine scavenging their livelihood, war and conflict avenging their economy on the other hand. The projects are basically based on the needs of the communities in which they are implemented where the beneficiaries always take part in the planning process. Taakulo engages on a long-term commitment, partnership approach with the beneficiaries in implementing the Projects. The objective is to set up a regional program concentrating on a particular sector, such as Health, education, water and sanitation, Income Generation, Orphan sponsorship program, disability and people with special needs, emergency respond or improving food security in the country among others.

2. Project Background

As recurrent droughts, poor natural resource management, population increase and inadequate early warning systems weaken the livelihoods of pastoralists and agro-pastoralists in Somaliland. Severe droughts in 2011, 2016-18 and 2022 resulted in crop failures and high livestock mortality. In favourable years, flash floods, desert locusts and cyclones damaged the farms and pastureland, destroying livelihood assets beyond a sustainable level. Consequently, herders and farmers have to give up traditional livelihood systems and move to IDP camps in and around the big towns such Burao, Ainabo, and Hargeisa (e.g. Burao town is home to 22 IDP camps). Somalis living in protracted displacement rely mostly on kinship support and relief programs.

Displaced communities (predominantly women and children) live in crowded IDP camps  with limited amenities for WASH (water, latrines, sanitation), health, shelter, security and education. Food insecurity and malnutrition are present as a consequence of reduced milk production and consumption, low food stocks, unfavourable economic conditions after successive failed rains; inadequate quality of care for infants and young children, and insufficient health services. Displaced households find it difficult to move out of the IDP camps in the foreseeable future because of uncertainty about access to land/property at the place of origin, access to services incl. education and networks providing a degree of security. To this, TAAKULO will impliment the: Construction of sustainable rainwater-harvesting infrastructure for pastoralists in rural villages in Ceel Afweyn distirct, Sanaag region. To support rural pastoralists to access a sustainable mechanism to restore rainwater effeicient through the construction of two new strategic underground water reservoirs (Barkad) in rural villages in Ceel-afwayn district-Sanaag region, successively in 2024 and 2025.

3. Tender Objective

Improving access to safe drinking water through utalization of rainwater for rural pastoralists in Somaliland.

- Summary Sheet of Activities.

| No | Activity | Qty | District |
| --- | --- | --- | --- |
| 1 | Construction of one (1) Berkad with 16m*8m*4m with silt trap and intake canal. | 1 | Ceelafwayne district. |

- Advert note:

Taakulo Somali Community is inviting to a bid for the construction of one (1) sustainable surface water reserboir (Barkad) in Sanaag region of Somaliland as per below Billing Quantity. The deadline of the submission is the Tuesday, 9th  July 2024 to Taakulo office, Buurta Kalajeexan area, behind Ilyes Secondary School, Hargeisa Somaliland. Bid documents should be sealed, and hereinafter submitted as hardcopy.

NB: Documents must be stamped Early submission is highly acknowledged.

- Supplier Eligibility

Competent bidders who have similar activities in Sanaag region. The bidders must have the necessary technical and financial capabilities in association with the bid requirements. The bidders must have the following documents.

- Quoted billing quantity BoQ, which is stamped and signed.

- Company profile

- Bank statement; of the last 6 months.

- Prove of experience of water infrastructure.

- A valid company license from any of ministry of housing, tender committee i.e. (Outdated license will not be accepted).

- Updated tax clearance certificates and documents

- Certificate of experience / signed contracts. (Experience in thematic area is highly acknowledged)

ANNEX: BILL OF QUANTITIES OF COSTRUCTION ACTIVITEIS

| Area / Location: Ceel-afwayn-Sanaag regionl |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bill of Quantity for Construction of Underground water Tank (Berked), 16m * 8m * 4.5m |  |  |  |  |  |
| No | DESCRIPTION | UNIT | QTY | Rate in US $ | Total Amount US $ |
| A | Earthwork (Excavation and backfilling) |  |  |  |  |
| 1 | Excavation of the main Berked champer with dimensions of ( 16*8*4.5mdeep) and cart away the surplus excavated materials to where directed by Taakulo Engineer. | M3 | 576 |  |  |
| 2 | Excavation of, Silt trap (3*3*3m), feeding channels and footing of columns(0.8*0.8*0.5m deep *11 colmn) | M3 | 30 |  |  |
| 3 | Supply and lay 20cm thick high quality hardcore, well compacted, watered and graded to contain sufficient small pieces to fill all voids for entire excaved area of Berked including silt trap and back fill area of footings. | M3 | 40 |  |  |
|  | Subtotal A |  |  |  |  |
| B | Concrete works |  |  |  |  |
| 1 | Supply and cast 15cm thick RCC concrete slab in the main berket floor slab, silt trap floor and feeding channels with ratio 1:2:4, and Y12mm & Y10mm @25cm c/c in both ways. The mix proportions should well vibrated and cured minimum 7 days.. | M3 | 20.00 |  |  |
| 2 | Supply and cast 11 (0.8m*0.8*0.2m) reinforced cement concrete footings of M15 concrete grade (1:2:4) and Y12mm @ 20cm c./c for both ways. | M3 | 1.50 |  |  |
| 3 | Supply and cast 11 (0.4m*0.4m) reinforced cement concrete columns of M15 concrete grade (1:2:4) and 4Y14mm main reinforcement with R6mm links @ 25cm c/c. | M3 | 6.70 |  |  |
| 4 | Supply and cast 48m*(0.4m*0.2m) reinforced cement concrete beams of M15 (1:2:4) concrete grade and 4Y12mm main reinforcement with 6mm links @ 25cm c/c. N:B there is two main lintel beams as shown in drawing. | M3 | 7.70 |  |  |
|  | Subtotal B |  |  |  |  |
| C | Masonry works |  |  |  |  |
| 1 | Construction of random rubble stone masonry wall of 40cm thick bedded and jointed with cement sand mortar of 1:4 proportions for the berkat walls of 5.2m in height, note= minimum 1.2m above the ground level. | M3 | 96.00 |  |  |
| 2 | Construct random rubble stone masonry stairs for the berkat with cement/sand mortar mix of 1:4 as per the drawings | M3 | 6.00 |  |  |
| 3 | Construction of random rubble stone masonry wall of 40cm thick bedded and jointed with cement sand mortar of 1:4 proportions for the silt trap and feeding channel walls of 1.5m in height, minimum 1m above the ground level. | M3 | 12.60 |  |  |
|  | Subtotal C |  |  |  |  |
| D | Waterproofing works |  |  |  |  |
| 1 | Apply 5cm thick cement/sand floor screed of (1:2 Mix) on the berkat floor slab, slit trap and feeding channels. Make sure to provide curved molding in corners and joints between wall and concrete base. This includes final cement slurry finish | m3 | 5.0 |  |  |
| 2 | Apply three coats of 60mm thick cement and sand plaster (1:2 mix) on the internal walls of the berket, silt trap and water channels. Make sure to provide curved molding in corners and joints between wall and concrete base. This includes final cement slurry finish | M2 | 270.00 |  |  |
|  | Subtotal D |  |  |  |  |
| E | Roofing and miscellaneous works |  |  |  |  |
| 1 | Roofing as in design kingpost roof with pre painted CGI sheet 28 gauge. Tie beams and king post should not be less than (0.15mx0.05m) purling not less than (0.075mx0.05m), bracings and rafters not less than (0.1mx0.05m). Truss spacing should not be exceeded 2.5m. | M2 | 128.00 |  |  |
| 2 | Filling the berket with 30 cubic meter of water for curing and testing leackage of the berked. | M3 | 30.00 |  |  |
| 3 | Supply and fix iron door of 1.1 m by 1 m should be installed in the inlet of the main underground water tank.1m*1.1m metal door, fabricated by fully welding 3cm*3cm SHC, 12mm diameter mesh and expanded metal wire mesh. Complete with hinges and lockable aldrop. | pcs | 1.00 |  |  |
| 4 | Provision of stone and rubbish trap made of 8mm bars of 3cm/cc welded with iron bar frame of 1m by 0.5m size of 10mm iron bar should be installed in front of the silt trap. | pcs | 1.00 |  |  |
| 5 | Supply and install water abstraction wooden doors on the two sides (0.6m X0.6M) with standing platform for lifting the water and metal frame door as instructed by the engineer. | pcs | 2.00 |  |  |
| 6 | Supply and fix 12 Guage barbed wire strips at 30cm spacing and fixe U-shaped 12mm iron bar embeded in to the siltrap wall to cover the siltrap for protection. | Lum | 1.00 |  |  |
| 7 | Construction animal trought Of 2.5mx0.6m*0.3m high beside the Berked out side of fence and connect drain channel from abstraction platform -to Animal trought. | Lum | 1.00 |  |  |
| 8 | supply and install hand water pumb on the Barked, | pcs | 1.00 |  |  |
| 9 | Supply and erect the visibility signboard as instructed by the Engineer. | pcs | 1.00 |  |  |
|  | Subtotal E |  |  |  |  |
| F | Construction of Mesh Fence around the Berket (14mx24m) |  |  |  |  |
| 1 | Supply and fix angluar metalic bars (50mmx50mmx5mm) for fence post with spacing of 2.5m c/c, and 2.5m height (2m above the ground level and 0.5m under the ground level). | No | 40 |  |  |
| 2 | Supply and install galvanised Chain link Wire mesh (Gabion wire mesh) fence, Mesh opening 50mmx50mm, wire dai : 2mm, length= 20m , height: 2m each roll. Supply and fix 3 Line of Berber wire around the fence. | Rolls | 5 |  |  |
| 3 | Excavation of footing trenches and pouring Concrete to the footing for the angle bars having dimensions of (0.3x0.3x0.5)m. Each footing will be installed 5cm of galvonized wire mesh together with angular bar to hold on the ground rigidly. | cu.m | 1.8 |  |  |
| 4 | Supply and fix lockable double gate made of steel frame and weld mesh fill 3m wide 2m hght. The gate has to be fixed on concrete column which has a dimension of (0.4mx0.4mx3m) | pcs | 1 |  |  |
|  | Sub total F |  |  |  |  |
|  | Grand Total Amount |  |  |  |  |