Tender Notice: Rehabilitation of 1 existing borehole in Gadhka village, Caynabo district, Somaliland.

Project: Climate-adaptive WASH and Livelihoods ‘package’ for Resilient Somali ‘Landscape; :

Project code: SOM1065-22

Sector: Water Hygiene and Sanitation WASH.

1. Organization Background

Taakulo Somaliland Community Commonly known by the acronym “TAAKULO”. Taakulo is a multifaceted non-governmental, non-profit making, non-political and non-partisan development and humanitarian aid organization established in 2007 and headquartered in Hargeisa, Somaliland. Taakulo is a Somali word meaning “helping/aiding”. Working in partnership with UN, international, and National organizations, Taakulo is dedicated to helping the disadvantaged people and communities throughout Somaliland by engaging in development and related activities and providing relief support and assistance, facilitating, and promoting participatory local community activities and programs that emphasize human dignity and self-reliance.

Taakulo Organization was established to assist the Somali community, to whom time has tested their resilience to the tipping point, drought and famine scavenging their livelihood, war and conflict avenging their economy on the other hand. The projects are basically based on the needs of the communities in which they are implemented where the beneficiaries always take part in the planning process. Taakulo engages on a long-term commitment, partnership approach with the beneficiaries in implementing the Projects. The objective is to set up a regional program concentrating on a particular sector, such as Health, education, water and sanitation, Income Generation, Orphan sponsorship program, disability and people with special needs, emergency respond or improving food security in the country among others.

2. Project Background

While Togdheer Region is relatively secure, political conflict in Laas Caanood, Sool Region, has displaced an estimated 163,000 people and caused unknown casualties. Intermittent conflict between the FGS and AS in Galgaduud and Hiiraan Regions undermines livelihood resilience in target areas and increases displacement; indeed, conflict and displacement are expected to expand in these areas. According to a May 2023 peace and conflict analysis by WHH, community-based clan militias in both Galgaduud and Hiiraan Regions actively resist AS. Local conflicts over land and resources in Galgaduud occur regularly and are exacerbated by resource scarcity, religious extremism, and non-inclusive decision-making processes.

Local conflict over scarce resources frequently erupts in Hiiraan among IDPs and rural pastoralists. The project will adopt a conflict-sensitive approach to implementation. In addition to identified need, project areas were selected to operationalise the central methodology of this proposal; parallel contexts in Somaliland and SCS will serve as piloting and implementation areas, respectively. Target areas in Somaliland (Sool and Togdheer Regions).

The target groups were selected by all project partners based on their socio-economic vulnerability and location in areas of deteriorating natural resources. Of the 87,744 project participants, 10% are expected to be PWDs while 50% are expected to be women (of which 20% will be heads of HH) through purposeful targeting for equitable impact. The project will strive to include HHs from all clans and sub-clans in target areas, on the basis of need, to ensure equitable distribution of support and to reduce the likelihood of creating clan-related conflict.

Target groups who are part of formal and informal institutions were selected based on their pivotal roles in the localization, effectiveness, and sustainability of the project. Customary legal structures in SCS and district-level officials from the Somaliland Ministry of Environment & Climate Change will be linked to newly established water management committees (WMCs) and protected area management committees (PAMCs). The project will work with and through the Somali NGO Consortium Resilience Working Group to increase NGO coordination around the humanitarian-development nexus. Key WASH institutional stakeholders will participate in workshops to strengthen their knowledge and capacities to engage in sustainable WASH systems (SWS).

3. Tender Objective

Improving access to safe drinking water through reestablishment of abandoned water sources.

- Summary Sheet of Activities.

| No | Activity | Qty | Village |
| --- | --- | --- | --- |
| 1 | Rehabilitation of existing borehole to increase in functionality to serve drought prone pastoralists and their livestock. | 1 | Gadhka village |

- Advert note:

Taakulo Somali Community is inviting to a bid for rehabilitation of water supply systems through provision of water facilities and construction of elevated reservoirs for utilities in Dila, Baki and Boon villages/districts in Awdal region of Somaliland as per below Billing Quantity. The deadline of the submission is the Sunday, 24 March 2024 to Taakulo office, Buurta Kalajeexan area, behind Ilyes Secondary School, Hargeisa Somaliland. Bid documents should be sealed, and hereinafter submitted as hardcopy.

NB: Documents must be stamped Early submission is highly acknowledged.

- Supplier Eligibility

Competent bidders who have similar activities in Sool region. The bidders must have the necessary technical and financial capabilities in association with the bid requirements. The bidders must have the following documents.

- Quoted billing quantity BoQ, which is stamped and signed.

- Company profile

- Bank statement; of

- the last 6 months.

- Prove of past experience.

- A valid company license from ministry of commerce (Outdated license will not be accepted).

- Updated tax clearance certificates and documents

- Certificate of experience. (Experience in thematic area is highly acknowledged)

ANNEX: BILL OF QUANTITIES OF COSTRUCTION ACTIVITEIS

| BOQ for Rehabilitation of 1 borehole. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Target location/village: Gadhka- Caynabo District. Saraar region-Somaliland |  |  |  |  |  |
| NO. | Activity Description | Unit | QTY | Unit cost | Total |
| A | Solar power system. |  |  |  |  |
| 1 | Supply and fix 10mm2 thick Solar Cable for interconnections and install it to the invertor | m | 100 |  |  |
| 2 | Supply and install Solar lighting and charging kitt for lightening guard room. | Pcs | 1 |  |  |
| 3 | Supply and fix Inomax pumping invertor of 15kw | Pcs | 1 |  |  |
| 4 | Supply and install charge over switch 4 pole, 380-440V, 100Amp. | Pcs | 1 |  |  |
| 5 | Plastic conduit pipes for wires accommodation | rolls | 3 |  |  |
|  | Sub-Total. |  |  |  |  |
| B. | Rehabilitation of concrete elevated water tank [20cum] |  |  |  |  |
| 6 | Apply 12mm thick cement plastering 1:4 for internal and external wall of the circular concrete gound water tank including base massonary wall. | M2 | 60 |  |  |
| 7 | Cast 100mm thick plain concrete 1:2:4 at the bed slab of the tank. | M3 | 1.9 |  |  |
| 8 | Apply finishing distemper and white wash two layers. | M2 | 40 |  |  |
| 9 | Apply cementitious waterproofing-Polyflex for only internal walls and bottom slab, two coats of minimum thickness of 2mm. The second coat shall be applied after the first coat dries off completely. | M2 | 25 |  |  |
| 10 | Supply and install ladder for external tank access, made from 1. inch GI pipe welded as Engineer's directions and approval. | L/sum | 1 |  |  |
| 11 | Supply and install ladder for internal tank access, made from aluminum, approximately 2.2m overall height, | L/sum | 1 |  |  |
|  | Sub-Total. |  |  |  |  |
| C | Water supply. |  |  |  |  |
| 12 | supply and fix Gi 2" pipe for inlet and oute pipes of the tank including fitting, stop cocks. | pipes | 3 |  |  |
| 13 | Supply and fix Gi 2" pipe for connecting the animal troughs and kiosks including fittings | pipes | 3 |  |  |
| 14 | Supply and fix High Pressure PVC pipe of 2" par 10 from the water tank reservior including fittings (elbew, T connections and reducer to connected to kiosk, and 3 animal troughs) . Distance of 100m. | M | 100 |  |  |
| 15 | Construct Water point of 2.2mx1.2mx0.7m with 3 taps on each side. the size of the taps should be 1inch and six 3/4 stop cocks. with drainage soak pit, including painting & visibility | No. | 1.00 |  |  |
|  | Sub-Total. |  |  |  |  |
| D | Rehabilitations of Animal troughs, guard room and generator room. |  |  |  |  |
| 16 | supply and instal new CGI 28 roof and cealing sheets of 4mm thick in the watchman room. | m2 | 20 |  |  |
| 17 | Apply 2 coats of internal and external disptempering and white-wash to entire guard room and generator room | m2 | 250 |  |  |
| 18 | Apply plastering to plinth founation wall of the guard room and generator room | m2 | 25 |  |  |
| 19 | Supply and fix new stell double leaf window with dimensio of 1.2m*1m each. Apply painting new painting to the current steel door in the room. | pcss | 2 |  |  |
| 20 | Apply new cement slurry plater finishing in the floor area of the guard room and generator room, | m2 | 32 |  |  |
| 21 | Fix the old X-bin windows and insert new X-bin window with steel box frame in generator room. Apply new painting the current steel door in the generator room. | m2 | 4 |  |  |
| 22 | Repair cracking areas of the troughs and applying plastering and cement slarry finish for bed and side walls of the troughs as anti-leakage control. this will be done as directed by engineer. | Lums | 1 |  |  |
| 23 | Construct new RCC animal trough for shoots /goats with dimensions fo 8m long* 0.8m wide and 0.3m high, the thickness of the wall is 15cm. Mixing ration 1:2:4 @ bar 12mm @ 20cmc/c. the bed concrete will 5cm thick slab. | m3 | 1 |  |  |
| 24 | Remove all scattered unused or leftover materials including stone, plywood, reinforcement bars, small trees and sharbs or any other item from site, level all fence yard area inside fence and around fence. | L/sum | 1 |  |  |
|  | Sub total D |  |  |  |  |
|  | Grand Total |  |  |  |  |

SUMMARY SHEET

| No | Description | TOTAL |
| --- | --- | --- |
| 1 | Total of one (1) borehole |  |
|  | Gran total with tax and transportation costs. |  |

UNICEF Somalia Humanitarian Situation Report No. 3, 31 March 2023.